Personal Healthcare Monitoring Report 1.2

February 26

Table of Contents

Update this field to generate TOC

Table of Figures

Update this field to generate TOF

Table of Tables

Update this field to generate TOT

# Personal Healthcare Monitoring Report

The PHMR is a document that carries personal healthcare monitoring information.  The information is transmitted as notes and as raw data. Notes may be supplied by a disease management service provider. The information may have multiple characteristics, including:

**Representation of measurements captured by** devices.

**Representation of notes, summaries, and other kinds of narrative information that may be added by caregivers or by the users** themselves.

**Representation of graphs that may be added by intermediary devices that represent trends of users’** health.

One use case that is anticipated to become more significant as the population ages is the reporting of patient measurements taken in a home environment.

Personal Healthcare Monitoring Report 1.2 - Draft

[ClinicalDocument: identifier urn:oid:2.16.840.1.113883.10.20.36 (open)]

Table 1: Personal Healthcare Monitoring Report 1.2 Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| ClinicalDocument (identifier: urn:oid:2.16.840.1.113883.10.20.36) |
|  realmCode | 1..\* | SHALL |  | [1141-72](#C_1141-72) |  |
|  @code | 1..1 | SHALL |  | [1141-280](#C_1141-280) | urn:oid:2.16.840.1.113883.5.1124 (HL7Realm) |
|  templateId | 1..1 | SHALL |  | [1141-15](#C_1141-15) |  |
|  @root | 1..1 | SHALL |  | [1141-2](#C_1141-2) | 2.16.840.1.113883.10.20.36 |
|  templateId | 0..\* | MAY |  | [1141-270](#C_1141-270) |  |
|  code | 1..1 | SHALL |  | [1141-66](#C_1141-66) |  |
|  @code | 1..1 | SHALL |  | [1141-67](#C_1141-67) | 53576-5 |
|  @codeSystem | 1..1 | SHALL |  | [1141-68](#C_1141-68) | urn:oid:2.16.840.1.113883.6.1 (LOINC) |
|  documentationOf | 1..1 | SHALL |  | [1141-17](#C_1141-17) |  |
|  serviceEvent | 1..1 | SHALL |  | [1141-20](#C_1141-20) |  |
|  @classCode | 1..1 | SHALL |  | [1141-382](#C_1141-382) | urn:oid:2.16.840.1.113883.5.6 (HL7ActClass) = MPROT |
|  effectiveTime | 1..1 | SHALL |  | [1141-21](#C_1141-21) |  |
|  low | 1..1 | SHALL |  | [1141-383](#C_1141-383) |  |
|  high | 0..1 | MAY |  | [1141-384](#C_1141-384) |  |
|  component | 1..1 | SHALL |  | [1141-3](#C_1141-3) |  |

Properties

1. Conforms to [Universal Realm Header](#D_Universal_Realm_Header) template (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.1.1:2014-10-11).
2. SHALL contain at least one [1..\*] realmCode (CONF:1141-72) such that it
	1. SHALL contain exactly one [1..1] @code, which SHOULD be selected from CodeSystem HL7Realm (urn:oid:2.16.840.1.113883.5.1124) DYNAMIC (CONF:1141-280).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-15) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36" (CONF:1141-2).
4. MAY contain zero or more [0..\*] templateId (CONF:1141-270).
	1. Additional header templates may be specified if the document supports headers designed to additional realms that are a subset of the universal realm (CONF:1141-647).
5. SHALL contain exactly one [1..1] code (CONF:1141-66).
	1. This code SHALL contain exactly one [1..1] @code="53576-5" Personal Healthcare Monitoring Report (CONF:1141-67).
	2. This code SHALL contain exactly one [1..1] @codeSystem (CodeSystem: LOINC urn:oid:2.16.840.1.113883.6.1) (CONF:1141-68).

documentationOf

1. SHALL contain exactly one [1..1] documentationOf (CONF:1141-17).
	1. This documentationOf SHALL contain exactly one [1..1] serviceEvent (CONF:1141-20).
		1. This serviceEvent SHALL contain exactly one [1..1] @classCode="MPROT" (CodeSystem: HL7ActClass urn:oid:2.16.840.1.113883.5.6) (CONF:1141-382).
		2. This serviceEvent SHALL contain exactly one [1..1] effectiveTime (CONF:1141-21).
			1. This effectiveTime SHALL contain exactly one [1..1] low (CONF:1141-383).
			2. This effectiveTime MAY contain zero or one [0..1] high (CONF:1141-384).

component

1. SHALL contain exactly one [1..1] component (CONF:1141-3).
	1. The component shall contain a structuredBody element (CONF:1141-916).

Universal Realm Header - Draft

[ClinicalDocument: identifier urn:hl7ii:2.16.840.1.113883.10.20.22.1.1:2014-10-11 (open)]

This section describes constraints that apply to the header for all documents within the scope of this implementation guide. Header constraints specific to each document type are described in the appropriate document-specific section below.

Table 2: Universal Realm Header Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| ClinicalDocument (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.1.1:2014-10-11) |
|  realmCode | 1..1 | SHALL |  | [1141-574](#C_1141-574) |  |
|  @code | 1..1 | SHALL |  | [1141-579](#C_1141-579) | urn:oid:2.16.840.1.113883.5.1124 (HL7Realm) |
|  typeId | 1..1 | SHALL |  | [1141-413](#C_1141-413) |  |
|  @root | 1..1 | SHALL |  | [1141-521](#C_1141-521) | 2.16.840.1.113883.1.3 |
|  @extension | 1..1 | SHALL |  | [1141-522](#C_1141-522) | POCD\_HD000040 |
|  templateId | 1..1 | SHALL |  | [1141-387](#C_1141-387) |  |
|  @root | 1..1 | SHALL |  | [1141-487](#C_1141-487) | 2.16.840.1.113883.10.20.29 |
|  id | 1..1 | SHALL |  | [1141-414](#C_1141-414) |  |
|  code | 1..1 | SHALL |  | [1141-388](#C_1141-388) |  |
|  title | 1..1 | SHALL |  | [1141-389](#C_1141-389) |  |
|  effectiveTime | 1..1 | SHALL |  | [1141-390](#C_1141-390) |  |
|  confidentialityCode | 1..1 | SHALL |  | [1141-491](#C_1141-491) | urn:oid:2.16.840.1.113883.1.11.16926 (HL7 BasicConfidentialityKind) |
|  languageCode | 1..1 | SHALL |  | [1141-524](#C_1141-524) | urn:oid:2.16.840.1.113883.1.11.11526 (Language) |
|  setId | 0..1 | MAY |  | [1141-391](#C_1141-391) |  |
|  versionNumber | 0..1 | MAY |  | [1141-392](#C_1141-392) |  |
|  recordTarget | 1..\* | SHALL |  | [1141-393](#C_1141-393) |  |
|  patientRole | 1..1 | SHALL |  | [1141-394](#C_1141-394) |  |
|  id | 1..\* | SHALL |  | [1141-494](#C_1141-494) |  |
|  addr | 1..\* | SHALL |  | [1141-395](#C_1141-395) |  |
|  telecom | 1..\* | SHALL |  | [1141-396](#C_1141-396) |  |
|  patient | 1..1 | SHALL |  | [1141-397](#C_1141-397) |  |
|  name | 1..\* | SHALL |  | [1141-398](#C_1141-398) |  |
|  administrativeGenderCode | 1..1 | SHALL |  | [1141-515](#C_1141-515) | urn:oid:2.16.840.1.113883.1.11.1 (Administrative Gender (HL7 V3)) |
|  birthTime | 1..1 | SHALL |  | [1141-399](#C_1141-399) |  |
|  maritalStatusCode | 0..1 | SHOULD |  | [1141-500](#C_1141-500) | urn:oid:2.16.840.1.113883.1.11.12212 (Marital Status) |
|  religiousAffiliationCode | 0..1 | MAY |  | [1141-501](#C_1141-501) | urn:oid:2.16.840.1.113883.1.11.19185 (Religious Affiliation) |
|  raceCode | 0..1 | MAY |  | [1141-502](#C_1141-502) | urn:oid:2.16.840.1.113883.1.11.14914 (Race) |
|  sdtc:raceCode | 0..\* | MAY |  | [1141-516](#C_1141-516) | urn:oid:2.16.840.1.113883.1.11.14914 (Race) |
|  ethnicGroupCode | 0..1 | MAY |  | [1141-503](#C_1141-503) | urn:oid:2.16.840.1.114222.4.11.837 (EthnicityGroup) |
|  guardian | 0..\* | MAY |  | [1141-400](#C_1141-400) |  |
|  code | 0..1 | SHOULD |  | [1141-504](#C_1141-504) | urn:oid:2.16.840.1.113883.1.11.19830 (ResponsibleParty) |
|  addr | 0..\* | SHOULD |  | [1141-401](#C_1141-401) |  |
|  telecom | 0..\* | MAY |  | [1141-402](#C_1141-402) |  |
|  guardianPerson | 1..1 | SHALL |  | [1141-403](#C_1141-403) |  |
|  name | 1..\* | SHALL |  | [1141-404](#C_1141-404) |  |
|  birthplace | 0..1 | MAY |  | [1141-405](#C_1141-405) |  |
|  place | 1..1 | SHALL |  | [1141-406](#C_1141-406) |  |
|  addr | 1..1 | SHALL |  | [1141-407](#C_1141-407) |  |
|  country | 0..1 | SHOULD |  | [1141-510](#C_1141-510) | urn:oid:2.16.840.1.113883.3.88.12.80.63 (Country) |
|  languageCommunication | 0..\* | SHOULD |  | [1141-408](#C_1141-408) |  |
|  languageCode | 1..1 | SHALL |  | [1141-511](#C_1141-511) | urn:oid:2.16.840.1.113883.1.11.11526 (Language) |
|  modeCode | 0..1 | MAY |  | [1141-512](#C_1141-512) | urn:oid:2.16.840.1.113883.1.11.12249 (LanguageAbilityMode) |
|  proficiencyLevelCode | 0..1 | MAY |  | [1141-514](#C_1141-514) | urn:oid:2.16.840.1.113883.1.11.12199 (LanguageAbilityProficiency) |
|  preferenceInd | 0..1 | MAY |  | [1141-513](#C_1141-513) |  |
|  providerOrganization | 0..1 | MAY |  | [1141-409](#C_1141-409) |  |
|  id | 1..\* | SHALL |  | [1141-410](#C_1141-410) |  |
|  name | 1..\* | SHALL |  | [1141-518](#C_1141-518) |  |
|  telecom | 1..\* | SHALL |  | [1141-411](#C_1141-411) |  |
|  addr | 1..\* | SHALL |  | [1141-412](#C_1141-412) |  |
|  country | 1..1 | MAY |  | [1141-580](#C_1141-580) | urn:oid:2.16.840.1.113883.3.88.12.80.63 (Country) |
|  author | 1..\* | SHALL |  | [1141-422](#C_1141-422) |  |
|  time | 1..1 | SHALL |  | [1141-423](#C_1141-423) |  |
|  assignedAuthor | 1..1 | SHALL |  | [1141-424](#C_1141-424) |  |
|  id | 1..\* | SHALL |  | [1141-428](#C_1141-428) |  |
|  code | 0..1 | SHOULD |  | [1141-431](#C_1141-431) |  |
|  addr | 1..\* | SHALL |  | [1141-429](#C_1141-429) |  |
|  telecom | 1..\* | SHALL |  | [1141-425](#C_1141-425) |  |
|  assignedPerson | 0..1 | SHOULD |  | [1141-426](#C_1141-426) |  |
|  name | 1..\* | SHALL |  | [1141-427](#C_1141-427) |  |
|  assignedAuthoringDevice | 0..1 | SHOULD |  | [1141-430](#C_1141-430) |  |
|  manufacturerModelName | 1..1 | SHALL |  | [1141-535](#C_1141-535) |  |
|  softwareName | 1..1 | SHALL |  | [1141-536](#C_1141-536) |  |
|  dataEnterer | 0..1 | MAY |  | [1141-415](#C_1141-415) |  |
|  assignedEntity | 1..1 | SHALL |  | [1141-416](#C_1141-416) |  |
|  id | 1..\* | SHALL |  | [1141-417](#C_1141-417) |  |
|  @root | 0..1 | SHOULD |  | [1141-525](#C_1141-525) | 2.16.840.1.113883.4.6 |
|  addr | 1..\* | SHALL |  | [1141-418](#C_1141-418) |  |
|  telecom | 1..\* | SHALL |  | [1141-419](#C_1141-419) |  |
|  assignedPerson | 1..1 | SHALL |  | [1141-420](#C_1141-420) |  |
|  name | 1..\* | SHALL |  | [1141-421](#C_1141-421) |  |
|  informant | 0..\* | MAY |  | [1141-462](#C_1141-462) |  |
|  assignedEntity | 1..1 | SHALL |  | [1141-463](#C_1141-463) |  |
|  id | 0..\* | SHOULD |  | [1141-467](#C_1141-467) |  |
|  code | 0..1 | MAY |  | [1141-582](#C_1141-582) |  |
|  addr | 1..\* | SHALL |  | [1141-464](#C_1141-464) |  |
|  assignedPerson | 1..1 | SHALL |  | [1141-465](#C_1141-465) |  |
|  name | 1..\* | SHALL |  | [1141-466](#C_1141-466) |  |
|  informant | 0..\* | MAY |  | [1141-486](#C_1141-486) |  |
|  relatedEntity | 1..1 | SHALL |  | [1141-578](#C_1141-578) |  |
|  relatedPerson | 0..1 | MAY |  | [1141-583](#C_1141-583) |  |
|  name | 1..\* | SHALL |  | [1141-584](#C_1141-584) |  |
|  custodian | 1..1 | SHALL |  | [1141-432](#C_1141-432) |  |
|  assignedCustodian | 1..1 | SHALL |  | [1141-433](#C_1141-433) |  |
|  representedCustodianOrganization | 1..1 | SHALL |  | [1141-434](#C_1141-434) |  |
|  id | 1..\* | SHALL |  | [1141-435](#C_1141-435) |  |
|  name | 1..1 | SHALL |  | [1141-540](#C_1141-540) |  |
|  telecom | 1..1 | SHALL |  | [1141-436](#C_1141-436) |  |
|  @use | 0..1 | SHOULD |  | [1141-541](#C_1141-541) |  |
|  addr | 1..1 | SHALL |  | [1141-437](#C_1141-437) |  |
|  informationRecipient | 0..\* | MAY |  | [1141-438](#C_1141-438) |  |
|  intendedRecipient | 1..1 | SHALL |  | [1141-439](#C_1141-439) |  |
|  id | 0..\* | MAY |  | [1141-585](#C_1141-585) |  |
|  informationRecipient | 0..1 | MAY |  | [1141-440](#C_1141-440) |  |
|  name | 1..\* | SHALL |  | [1141-441](#C_1141-441) |  |
|  receivedOrganization | 0..1 | MAY |  | [1141-442](#C_1141-442) |  |
|  name | 1..1 | SHALL |  | [1141-544](#C_1141-544) |  |
|  legalAuthenticator | 0..1 | SHOULD |  | [1141-443](#C_1141-443) |  |
|  time | 1..1 | SHALL |  | [1141-444](#C_1141-444) |  |
|  signatureCode | 1..1 | SHALL |  | [1141-445](#C_1141-445) |  |
|  @code | 1..1 | SHALL |  | [1141-546](#C_1141-546) | urn:oid:2.16.840.1.113883.5.89 (Participationsignature) = S |
|  assignedEntity | 1..1 | SHALL |  | [1141-446](#C_1141-446) |  |
|  id | 1..\* | SHALL |  | [1141-447](#C_1141-447) |  |
|  code | 0..1 | MAY |  | [1141-649](#C_1141-649) |  |
|  addr | 1..\* | SHALL |  | [1141-448](#C_1141-448) |  |
|  telecom | 1..\* | SHALL |  | [1141-449](#C_1141-449) |  |
|  assignedPerson | 1..1 | SHALL |  | [1141-450](#C_1141-450) |  |
|  name | 1..\* | SHALL |  | [1141-451](#C_1141-451) |  |
|  representedOrganization | 0..1 | MAY |  | [1141-587](#C_1141-587) |  |
|  name | 1..\* | SHOULD |  | [1141-588](#C_1141-588) |  |
|  telecom | 0..\* | SHOULD |  | [1141-589](#C_1141-589) |  |
|  addr | 0..\* | SHOULD |  | [1141-590](#C_1141-590) |  |
|  authenticator | 0..\* | MAY |  | [1141-452](#C_1141-452) |  |
|  time | 1..1 | SHALL |  | [1141-453](#C_1141-453) |  |
|  signatureCode | 1..1 | SHALL |  | [1141-454](#C_1141-454) |  |
|  @code | 1..1 | SHALL |  | [1141-553](#C_1141-553) | urn:oid:2.16.840.1.113883.5.89 (Participationsignature) = S |
|  assignedEntity | 1..1 | SHALL |  | [1141-455](#C_1141-455) |  |
|  id | 1..\* | SHALL |  | [1141-456](#C_1141-456) |  |
|  code | 0..1 | MAY |  | [1141-461](#C_1141-461) |  |
|  addr | 1..\* | SHALL |  | [1141-457](#C_1141-457) |  |
|  telecom | 1..\* | SHALL |  | [1141-458](#C_1141-458) |  |
|  @use | 0..1 | SHOULD |  | [1141-648](#C_1141-648) |  |
|  assignedPerson | 1..1 | SHALL |  | [1141-459](#C_1141-459) |  |
|  name | 1..\* | SHALL |  | [1141-460](#C_1141-460) |  |
|  participant | 0..\* | MAY |  | [1141-472](#C_1141-472) |  |
|  time | 0..1 | MAY |  | [1141-566](#C_1141-566) |  |
|  inFulfillmentOf | 0..\* | MAY |  | [1141-468](#C_1141-468) |  |
|  order | 1..1 | SHALL |  | [1141-469](#C_1141-469) |  |
|  id | 1..\* | SHALL |  | [1141-563](#C_1141-563) |  |
|  documentationOf | 0..\* | MAY |  | [1141-473](#C_1141-473) |  |
|  serviceEvent | 1..1 | SHALL |  | [1141-474](#C_1141-474) |  |
|  code | 0..1 | MAY |  | [1141-593](#C_1141-593) |  |
|  @code | 1..1 | SHALL |  | [1141-594](#C_1141-594) |  |
|  effectiveTime | 1..1 | SHALL |  | [1141-475](#C_1141-475) |  |
|  low | 1..1 | SHALL |  | [1141-569](#C_1141-569) |  |
|  performer | 0..\* | SHOULD |  | [1141-476](#C_1141-476) |  |
|  assignedEntity | 1..1 | SHALL |  | [1141-478](#C_1141-478) |  |
|  id | 1..\* | SHALL |  | [1141-480](#C_1141-480) |  |
|  code | 0..1 | SHOULD |  | [1141-479](#C_1141-479) |  |
|  authorization | 0..\* | MAY |  | [1141-482](#C_1141-482) |  |
|  consent | 1..1 | SHALL |  | [1141-483](#C_1141-483) |  |
|  id | 0..\* | MAY |  | [1141-575](#C_1141-575) |  |
|  code | 0..1 | MAY |  | [1141-484](#C_1141-484) |  |
|  statusCode | 1..1 | SHALL |  | [1141-485](#C_1141-485) |  |
|  @code | 1..1 | SHALL |  | [1141-577](#C_1141-577) | urn:oid:2.16.840.1.113883.5.6 (HL7ActClass) = completed |
|  componentOf | 0..1 | MAY |  | [1141-470](#C_1141-470) |  |
|  encompassingEncounter | 1..1 | SHALL |  | [1141-471](#C_1141-471) |  |
|  id | 1..\* | SHALL |  | [1141-565](#C_1141-565) |  |
|  effectiveTime | 1..1 | SHALL |  | [1141-564](#C_1141-564) |  |

1. SHALL contain exactly one [1..1] realmCode (CONF:1141-574).
	1. This realmCode SHALL contain exactly one [1..1] @code, which SHOULD be selected from CodeSystem HL7Realm (urn:oid:2.16.840.1.113883.5.1124) (CONF:1141-579).
2. SHALL contain exactly one [1..1] typeId (CONF:1141-413).
	1. This typeId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.1.3" (CONF:1141-521).
	2. This typeId SHALL contain exactly one [1..1] @extension="POCD\_HD000040" (CONF:1141-522).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-387) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.29" (CONF:1141-487).
4. SHALL contain exactly one [1..1] id (CONF:1141-414).
	1. This id SHALL be a globally unique identifier for the document (CONF:1141-523).
5. SHALL contain exactly one [1..1] code (CONF:1141-388).
	1. This code SHALL specify the particular kind of document (e.g. Personal Healthcare Monitoring Report, Patient Generated Document, etc.) (CONF:1141-488).
6. SHALL contain exactly one [1..1] title (CONF:1141-389).
	1. Can either be a locally defined name or the display name corresponding to clinicalDocument/code (CONF:1141-489).
7. SHALL contain exactly one [1..1] effectiveTime (CONF:1141-390).
8. SHALL contain exactly one [1..1] confidentialityCode, which SHOULD be selected from ValueSet [HL7 BasicConfidentialityKind](#HL7_BasicConfidentialityKind) urn:oid:2.16.840.1.113883.1.11.16926 STATIC (CONF:1141-491).
9. SHALL contain exactly one [1..1] languageCode, which SHALL be selected from ValueSet [Language](#Language) urn:oid:2.16.840.1.113883.1.11.11526 DYNAMIC (CONF:1141-524).
10. MAY contain zero or one [0..1] setId (CONF:1141-391).
	1. If  setId is present versionNumber SHALL be present (CONF:1141-492).
11. MAY contain zero or one [0..1] versionNumber (CONF:1141-392).
	1. If versionNumber is present setId SHALL be present (CONF:1141-493).
12. SHALL contain at least one [1..\*] recordTarget (CONF:1141-393).
	1. Such recordTargets SHALL contain exactly one [1..1] patientRole (CONF:1141-394).
		1. This patientRole SHALL contain at least one [1..\*] id (CONF:1141-494).
		2. This patientRole SHALL contain at least one [1..\*] addr (CONF:1141-395).
		3. This patientRole SHALL contain at least one [1..\*] telecom (CONF:1141-396).
		4. This patientRole SHALL contain exactly one [1..1] patient (CONF:1141-397).

This version of the UV header is allowing more than one name. The PGUV header allows only one

* + - 1. This patient SHALL contain at least one [1..\*] name (CONF:1141-398).
			2. This patient SHALL contain exactly one [1..1] administrativeGenderCode, which SHALL be selected from ValueSet [Administrative Gender (HL7 V3)](#Administrative_Gender_HL7_V3) urn:oid:2.16.840.1.113883.1.11.1 DYNAMIC (CONF:1141-515).
			3. This patient SHALL contain exactly one [1..1] birthTime (CONF:1141-399).
				1. SHALL be precise to year (CONF:1141-498).
				2. SHOULD be precise to day (CONF:1141-499).
			4. This patient SHOULD contain zero or one [0..1] maritalStatusCode, which SHALL be selected from ValueSet [Marital Status](#Marital_Status) urn:oid:2.16.840.1.113883.1.11.12212 DYNAMIC (CONF:1141-500).
			5. This patient MAY contain zero or one [0..1] religiousAffiliationCode, which SHALL be selected from ValueSet [Religious Affiliation](#Religious_Affiliation) urn:oid:2.16.840.1.113883.1.11.19185 DYNAMIC (CONF:1141-501).
			6. This patient MAY contain zero or one [0..1] raceCode, which SHALL be selected from ValueSet [Race](#Race) urn:oid:2.16.840.1.113883.1.11.14914 DYNAMIC (CONF:1141-502).
			Note: To record additional raceCode, use the extension element sdtc:raceCode.
			7. This patient MAY contain zero or more [0..\*] sdtc:raceCode, which SHALL be selected from ValueSet [Race](#Race) urn:oid:2.16.840.1.113883.1.11.14914 DYNAMIC (CONF:1141-516).
			8. This patient MAY contain zero or one [0..1] ethnicGroupCode, which SHALL be selected from ValueSet [EthnicityGroup](#EthnicityGroup) urn:oid:2.16.840.1.114222.4.11.837 DYNAMIC (CONF:1141-503).
			9. This patient MAY contain zero or more [0..\*] guardian (CONF:1141-400).
				1. The guardian, if present, SHOULD contain zero or one [0..1] code, which SHALL be selected from ValueSet [ResponsibleParty](#ResponsibleParty) urn:oid:2.16.840.1.113883.1.11.19830 DYNAMIC (CONF:1141-504).
				2. The guardian, if present, SHOULD contain zero or more [0..\*] addr (CONF:1141-401).
				3. The guardian, if present, MAY contain zero or more [0..\*] telecom (CONF:1141-402).
				4. The guardian, if present, SHALL contain exactly one [1..1] guardianPerson (CONF:1141-403).

This guardianPerson SHALL contain at least one [1..\*] name (CONF:1141-404).

* + - 1. This patient MAY contain zero or one [0..1] birthplace (CONF:1141-405).
				1. The birthplace, if present, SHALL contain exactly one [1..1] place (CONF:1141-406).

This place SHALL contain exactly one [1..1] addr (CONF:1141-407).

This addr SHOULD contain zero or one [0..1] country, which SHALL be selected from ValueSet [Country](#Country) urn:oid:2.16.840.1.113883.3.88.12.80.63 DYNAMIC (CONF:1141-510).

* + - 1. This patient SHOULD contain zero or more [0..\*] languageCommunication (CONF:1141-408).
				1. The languageCommunication, if present, SHALL contain exactly one [1..1] languageCode, which SHALL be selected from ValueSet [Language](#Language) urn:oid:2.16.840.1.113883.1.11.11526 DYNAMIC (CONF:1141-511).
				2. The languageCommunication, if present, MAY contain zero or one [0..1] modeCode, which SHALL be selected from ValueSet [LanguageAbilityMode](#LanguageAbilityMode) urn:oid:2.16.840.1.113883.1.11.12249 DYNAMIC (CONF:1141-512).
				3. The languageCommunication, if present, MAY contain zero or one [0..1] proficiencyLevelCode, which SHALL be selected from ValueSet [LanguageAbilityProficiency](#LanguageAbilityProficiency) urn:oid:2.16.840.1.113883.1.11.12199 DYNAMIC (CONF:1141-514).
				4. The languageCommunication, if present, MAY contain zero or one [0..1] preferenceInd (CONF:1141-513).
		1. This patientRole MAY contain zero or one [0..1] providerOrganization (CONF:1141-409).
			1. The providerOrganization, if present, SHALL contain at least one [1..\*] id (CONF:1141-410).
			2. The providerOrganization, if present, SHALL contain at least one [1..\*] name (CONF:1141-518).
			3. The providerOrganization, if present, SHALL contain at least one [1..\*] telecom (CONF:1141-411).
			4. The providerOrganization, if present, SHALL contain at least one [1..\*] addr (CONF:1141-412).
				1. Such addrs MAY contain exactly one [1..1] country, which SHALL be selected from CodeSystem Country (urn:oid:2.16.840.1.113883.3.88.12.80.63) (CONF:1141-580).
1. SHALL contain at least one [1..\*] author (CONF:1141-422).
	1. Such authors SHALL contain exactly one [1..1] time (CONF:1141-423).
	2. Such authors SHALL contain exactly one [1..1] assignedAuthor (CONF:1141-424).
		1. This assignedAuthor SHALL contain at least one [1..\*] id (CONF:1141-428).
			1. The id SHOULD utilize the combined @root and @extension attributes to record the person’s or the device’s identity in a trusted, and unique way (CONF:1141-533).
		2. This assignedAuthor SHOULD contain zero or one [0..1] code (CONF:1141-431).
			1. If the assigned author is an assignedPerson, the code, SHALL contain exactly one 1..1] @code, which SHOULD be selected from the Personal And Legal Relationship Role Type 2.16.840.1.113883.11.20.12.1 (CONF:1141-581).
		3. This assignedAuthor SHALL contain at least one [1..\*] addr (CONF:1141-429).
		4. This assignedAuthor SHALL contain at least one [1..\*] telecom (CONF:1141-425).
		5. This assignedAuthor SHOULD contain zero or one [0..1] assignedPerson (CONF:1141-426).
			1. The assignedPerson, if present, SHALL contain at least one [1..\*] name (CONF:1141-427).
		6. This assignedAuthor SHOULD contain zero or one [0..1] assignedAuthoringDevice (CONF:1141-430).
			1. The assignedAuthoringDevice, if present, SHALL contain exactly one [1..1] manufacturerModelName (CONF:1141-535).
			2. The assignedAuthoringDevice, if present, SHALL contain exactly one [1..1] softwareName (CONF:1141-536).
		7. There SHALL be exactly one assignedAuthor/assignedPerson or exactly one assignedAuthor/assignedAuthoringDevice (CONF:1141-538).
2. MAY contain zero or one [0..1] dataEnterer (CONF:1141-415).
	1. The dataEnterer, if present, SHALL contain exactly one [1..1] assignedEntity (CONF:1141-416).
		1. This assignedEntity SHALL contain at least one [1..\*] id (CONF:1141-417).
			1. Such ids SHOULD contain zero or one [0..1] @root="2.16.840.1.113883.4.6" National Provider Identifier (CONF:1141-525).
		2. This assignedEntity SHALL contain at least one [1..\*] addr (CONF:1141-418).
		3. This assignedEntity SHALL contain at least one [1..\*] telecom (CONF:1141-419).
		4. This assignedEntity SHALL contain exactly one [1..1] assignedPerson (CONF:1141-420).
			1. This assignedPerson SHALL contain at least one [1..\*] name (CONF:1141-421).
		5. This assignedEntity MAY contain zero or one 0..1] code to encode the relationship of the person to the recordTarget (CONF:1141-529).

An informant can contain either an assignedEntity or a relatedEntity. The constraints here apply to assignedEntity.

1. MAY contain zero or more [0..\*] informant (CONF:1141-462) such that it
	1. SHALL contain exactly one [1..1] assignedEntity (CONF:1141-463).
		1. This assignedEntity SHOULD contain zero or more [0..\*] id (CONF:1141-467).
			1. If assignedEntity/id is a provider then this id, SHOULD include zero or one 0..1] id where id/@root ="2.16.840.1.113883.4.6" National Provider Identifier (CONF:1141-561).
		2. This assignedEntity MAY contain zero or one [0..1] code (CONF:1141-582).
		3. This assignedEntity SHALL contain at least one [1..\*] addr (CONF:1141-464).
			1. The content of addr SHALL be a conformant US Realm Address (AD.US.FIELDED) (2.16.840.1.113883.10.20.22.5.2) (CONF:1141-559).
		4. This assignedEntity SHALL contain exactly one [1..1] assignedPerson (CONF:1141-465).
			1. This assignedPerson SHALL contain at least one [1..\*] name (CONF:1141-466).

An informant can contain either an assignedEntity or a relatedEntity. This template does not place any constraints on a relatedEntity.

1. MAY contain zero or more [0..\*] informant (CONF:1141-486) such that it
	1. SHALL contain exactly one [1..1] relatedEntity (CONF:1141-578).

This was SHALL in the PCUV header

* + 1. This relatedEntity MAY contain zero or one [0..1] relatedPerson (CONF:1141-583).
			1. The relatedPerson, if present, SHALL contain at least one [1..\*] name (CONF:1141-584).
1. SHALL contain exactly one [1..1] custodian (CONF:1141-432).
	1. This custodian SHALL contain exactly one [1..1] assignedCustodian (CONF:1141-433).
		1. This assignedCustodian SHALL contain exactly one [1..1] representedCustodianOrganization (CONF:1141-434).
			1. This representedCustodianOrganization SHALL contain at least one [1..\*] id (CONF:1141-435).
			2. This representedCustodianOrganization SHALL contain exactly one [1..1] name (CONF:1141-540).
			3. This representedCustodianOrganization SHALL contain exactly one [1..1] telecom (CONF:1141-436).
				1. This telecom SHOULD contain zero or one [0..1] @use (CONF:1141-541).
			4. This representedCustodianOrganization SHALL contain exactly one [1..1] addr (CONF:1141-437).
2. MAY contain zero or more [0..\*] informationRecipient (CONF:1141-438).
	1. The informationRecipient, if present, SHALL contain exactly one [1..1] intendedRecipient (CONF:1141-439).
		1. This intendedRecipient MAY contain zero or more [0..\*] id (CONF:1141-585).
			1. Such ids MAY reference the id of a person or organization entity specified elsewhere in the document (CONF:1141-586).
		2. This intendedRecipient MAY contain zero or one [0..1] informationRecipient (CONF:1141-440).
			1. The informationRecipient, if present, SHALL contain at least one [1..\*] name (CONF:1141-441).
				1. The content of name SHALL be a conformant US Realm Person Name (PN.US.FIELDED) (2.16.840.1.113883.10.20.22.5.1.1) (CONF:1141-543).
		3. This intendedRecipient MAY contain zero or one [0..1] receivedOrganization (CONF:1141-442).
			1. The receivedOrganization, if present, SHALL contain exactly one [1..1] name (CONF:1141-544).
3. SHOULD contain zero or one [0..1] legalAuthenticator (CONF:1141-443).
	1. The legalAuthenticator, if present, SHALL contain exactly one [1..1] time (CONF:1141-444).
	2. The legalAuthenticator, if present, SHALL contain exactly one [1..1] signatureCode (CONF:1141-445).
		1. This signatureCode SHALL contain exactly one [1..1] @code="S" (CodeSystem: Participationsignature urn:oid:2.16.840.1.113883.5.89 STATIC) (CONF:1141-546).
	3. The legalAuthenticator, if present, SHALL contain exactly one [1..1] assignedEntity (CONF:1141-446).
		1. This assignedEntity SHALL contain at least one [1..\*] id (CONF:1141-447).
		2. This assignedEntity MAY contain zero or one [0..1] code (CONF:1141-649).
		3. This assignedEntity SHALL contain at least one [1..\*] addr (CONF:1141-448).
		4. This assignedEntity SHALL contain at least one [1..\*] telecom (CONF:1141-449).
		5. This assignedEntity SHALL contain exactly one [1..1] assignedPerson (CONF:1141-450).
			1. This assignedPerson SHALL contain at least one [1..\*] name (CONF:1141-451).
		6. This assignedEntity MAY contain zero or one [0..1] representedOrganization (CONF:1141-587).
			1. The representedOrganization, if present, SHOULD contain at least one [1..\*] name (CONF:1141-588).
			2. The representedOrganization, if present, SHOULD contain zero or more [0..\*] telecom (CONF:1141-589).
			3. The representedOrganization, if present, SHOULD contain zero or more [0..\*] addr (CONF:1141-590).
4. MAY contain zero or more [0..\*] authenticator (CONF:1141-452).
	1. The authenticator, if present, SHALL contain exactly one [1..1] time (CONF:1141-453).
		1. The content SHALL be a conformant US Realm Date and Time (DTM.US.FIELDED) (2.16.840.1.113883.10.20.22.5.4) (CONF:1141-552).
	2. The authenticator, if present, SHALL contain exactly one [1..1] signatureCode (CONF:1141-454).
		1. This signatureCode SHALL contain exactly one [1..1] @code="S" (CodeSystem: Participationsignature urn:oid:2.16.840.1.113883.5.89 STATIC) (CONF:1141-553).
	3. The authenticator, if present, SHALL contain exactly one [1..1] assignedEntity (CONF:1141-455).
		1. This assignedEntity SHALL contain at least one [1..\*] id (CONF:1141-456).
		2. This assignedEntity MAY contain zero or one [0..1] code (CONF:1141-461).
		3. This assignedEntity SHALL contain at least one [1..\*] addr (CONF:1141-457).
		4. This assignedEntity SHALL contain at least one [1..\*] telecom (CONF:1141-458).
			1. Such telecoms SHOULD contain zero or one [0..1] @use (CONF:1141-648).
		5. This assignedEntity SHALL contain exactly one [1..1] assignedPerson (CONF:1141-459).
			1. This assignedPerson SHALL contain at least one [1..\*] name (CONF:1141-460).

In general, many types of participant are possible. When participant/@typeCode is IND (individual), associatedEntity/@classCode must be from the specified value set, unless this requirement is overridden by the document type's header.

1. MAY contain zero or more [0..\*] participant (CONF:1141-472) such that it
	1. MAY contain zero or one [0..1] time (CONF:1141-566).
	2. Such participants, if present, SHALL contain associatedEntity/associatedPerson or associatedEntity/scopingOrganization (CONF:1141-567).
		1. Unless otherwise specified by the document specific header constraints, when participant/@typeCode is IND, associatedEntity/@classCode SHALL be selected from ValueSet 2.16.840.1.113883.11.20.9.33 (CONF:1141-591).
	3. Unless otherwise specified by the document specific header constraints, when participant/@typeCode is IND, associatedEntity/@classCode SHALL be selected from ValueSet 2.16.840.1.113883.11.20.9.33 INDRoleclassCodes STATIC 2011-09-30 (CONF:1141-568).
2. MAY contain zero or more [0..\*] inFulfillmentOf (CONF:1141-468).
	1. The inFulfillmentOf, if present, SHALL contain exactly one [1..1] order (CONF:1141-469).
		1. This order SHALL contain at least one [1..\*] id (CONF:1141-563).
			1. Such ids MAY represent a scheduled appointment or service event in a practice management system (CONF:1141-592).
3. MAY contain zero or more [0..\*] documentationOf (CONF:1141-473).
	1. The documentationOf, if present, SHALL contain exactly one [1..1] serviceEvent (CONF:1141-474).
		1. This serviceEvent MAY contain zero or one [0..1] code (CONF:1141-593).
			1. The code, if present, SHALL contain exactly one [1..1] @code (CONF:1141-594).
				1. The code SHOULD be selected from a value set established by the document-level template (CONF:1141-595).
		2. This serviceEvent SHALL contain exactly one [1..1] effectiveTime (CONF:1141-475).
			1. This effectiveTime SHALL contain exactly one [1..1] low (CONF:1141-569).
		3. This serviceEvent SHOULD contain zero or more [0..\*] performer (CONF:1141-476).
			1. The performer, if present, SHALL contain exactly one [1..1] assignedEntity (CONF:1141-478).
				1. This assignedEntity SHALL contain at least one [1..\*] id (CONF:1141-480).
				2. This assignedEntity SHOULD contain zero or one [0..1] code (CONF:1141-479).
4. MAY contain zero or more [0..\*] authorization (CONF:1141-482) such that it
	1. SHALL contain exactly one [1..1] consent (CONF:1141-483).
		1. This consent MAY contain zero or more [0..\*] id (CONF:1141-575).
		2. This consent MAY contain zero or one [0..1] code (CONF:1141-484).
			1. The type of consent (e.g., a consent to perform the related serviceEvent) is conveyed in consent/code (CONF:1141-576).
		3. This consent SHALL contain exactly one [1..1] statusCode (CONF:1141-485).
			1. This statusCode SHALL contain exactly one [1..1] @code="completed" Completed (CodeSystem: HL7ActClass urn:oid:2.16.840.1.113883.5.6 STATIC) (CONF:1141-577).
5. MAY contain zero or one [0..1] componentOf (CONF:1141-470).
	1. The componentOf, if present, SHALL contain exactly one [1..1] encompassingEncounter (CONF:1141-471).
		1. This encompassingEncounter SHALL contain at least one [1..\*] id (CONF:1141-565).
		2. This encompassingEncounter SHALL contain exactly one [1..1] effectiveTime (CONF:1141-564).

# section

Medical Equipment Section (Entries Optional) - Draft

[section: identifier urn:hl7ii:2.16.840.1.113883.10.20.22.2.23:2015-01-11 (open)]

Table 3: Medical Equipment Section (Entries Optional) Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
|  | [Device Definition Organizer](#E_Device_Definition_Organizer) |

This section defines and gives the properties of a patient's medical devices.

Table 4: Medical Equipment Section (Entries Optional) Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| section (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.2.23:2015-01-11) |
|  templateId | 1..1 | SHALL |  | [1141-1363](#C_1141-1363) |  |
|  @root | 1..1 | SHALL |  | [1141-1368](#C_1141-1368) | 2.16.840.1.113883.10.20.22.2.23 |
|  @extension | 1..1 | SHALL |  | [1141-1369](#C_1141-1369) | 2014-06-09 |
|  templateId | 1..1 | SHALL |  | [1141-1374](#C_1141-1374) |  |
|  @root | 0..1 | SHALL |  | [1141-1376](#C_1141-1376) | 2.16.840.1.113883.10.20.36.1 |
|  code | 1..1 | SHALL |  | [1141-1364](#C_1141-1364) |  |
|  @code | 1..1 | SHALL |  | [1141-1370](#C_1141-1370) | 46264-8 |
|  @codeSystem | 1..1 | SHALL |  | [1141-1371](#C_1141-1371) | urn:oid:2.16.840.1.113883.6.1 (LOINC) = 2.16.840.1.113883.6.1 |
|  title | 1..1 | SHALL |  | [1141-1372](#C_1141-1372) |  |
|  text | 1..1 | SHALL |  | [1141-1373](#C_1141-1373) |  |
|  entry | 1..\* | SHOULD |  | [1141-1375](#C_1141-1375) |  |
|  organizer | 1..1 | SHALL |  | [1141-1377](#C_1141-1377) | [Device Definition Organizer (identifier: urn:oid:2.16.840.1.113883.10.20.36.4](#E_Device_Definition_Organizer) |

1. SHALL contain exactly one [1..1] templateId (CONF:1141-1363) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.22.2.23" (CONF:1141-1368).
	2. SHALL contain exactly one [1..1] @extension="2014-06-09" (CONF:1141-1369).
2. SHALL contain exactly one [1..1] templateId (CONF:1141-1374) such that it
	1. SHALL contain zero or one [0..1] @root="2.16.840.1.113883.10.20.36.1" This template id indicates that this section conforms to the constraints specified by the PHMR (CONF:1141-1376).
3. SHALL contain exactly one [1..1] code (CONF:1141-1364).
	1. This code SHALL contain exactly one [1..1] @code="46264-8" Medical Equipment (CONF:1141-1370).
	2. This code SHALL contain exactly one [1..1] @codeSystem="2.16.840.1.113883.6.1" (CodeSystem: LOINC urn:oid:2.16.840.1.113883.6.1) (CONF:1141-1371).
4. SHALL contain exactly one [1..1] title (CONF:1141-1372).
5. SHALL contain exactly one [1..1] text (CONF:1141-1373).
6. SHOULD contain at least one [1..\*] entry (CONF:1141-1375).
	1. Such entries SHALL contain exactly one [1..1] [Device Definition Organizer](#E_Device_Definition_Organizer) (identifier: urn:oid:2.16.840.1.113883.10.20.36.4) (CONF:1141-1377).
7. If no medical devices are defined, this section's text element shall note this fact (CONF:1141-1378).

Results Section (entries optional) (V2) - Draft

[section: identifier urn:hl7ii:2.16.840.1.113883.10.20.22.2.3:2015-02-12 (open)]

Table 5: Results Section (entries optional) (V2) Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
|  | [Result Organizer (V2)](#Result_Organizer_V2) |

This section contains the results of observations generated by laboratories, imaging and other procedures. The scope includes observations of hematology, chemistry, serology, virology, toxicology, microbiology, plain x-ray, ultrasound, CT, MRI, angiography, echocardiography, nuclear medicine, pathology, and procedure observations.

This section often includes notable results such as abnormal values or relevant trends. It can contain all results for the period of time being documented.

Laboratory results are typically generated by laboratories providing analytic services in areas such as chemistry, hematology, serology, histology, cytology, anatomic pathology, microbiology, and/or virology. These observations are based on analysis of specimens obtained from the patient and submitted to the laboratory.

Imaging results are typically generated by a clinician reviewing the output of an imaging procedure, such as where a cardiologist reports the left ventricular ejection fraction based on the review of a cardiac echocardiogram.

Procedure results are typically generated by a clinician to provide more granular information about component observations made during a procedure, such as where a gastroenterologist reports the size of a polyp observed during a colonoscopy.

For the PHMR this section will contain device observations that are not classed as vital signs.

Table 6: Results Section (entries optional) (V2) Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| section (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.2.3:2015-02-12) |
|  templateId | 1..1 | SHALL |  | [1141-1389](#C_1141-1389) |  |
|  @root | 1..1 | SHALL |  | [1141-1392](#C_1141-1392) | 2.16.840.1.113883.10.20.22.2.3 |
|  @extension | 1..1 | SHALL |  | [1141-1393](#C_1141-1393) | 2014-06-09 |
|  templateId | 1..1 | SHALL |  | [1141-1415](#C_1141-1415) |  |
|  @root | 0..1 | SHALL |  | [1141-1416](#C_1141-1416) | urn:oid:2.16.840.1.113883.10.20.36.14 |
|  code | 1..1 | SHALL |  | [1141-1390](#C_1141-1390) |  |
|  @code | 1..1 | SHALL |  | [1141-1394](#C_1141-1394) | 30954-2 |
|  @codeSystem | 1..1 | SHALL |  | [1141-1395](#C_1141-1395) | urn:oid:2.16.840.1.113883.6.1 (LOINC) = 2.16.840.1.113883.6.1 |
|  title | 1..1 | SHALL |  | [1141-1396](#C_1141-1396) |  |
|  text | 1..1 | SHALL |  | [1141-1397](#C_1141-1397) |  |
|  entry | 0..\* | SHOULD |  | [1141-1388](#C_1141-1388) |  |
|  organizer | 1..1 | SHALL |  | [1141-1391](#C_1141-1391) | [Result Organizer (V2) (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2014-06-09](#Result_Organizer_V2) |

1. SHALL contain exactly one [1..1] templateId (CONF:1141-1389) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.22.2.3" (CONF:1141-1392).
	2. SHALL contain exactly one [1..1] @extension="2014-06-09" (CONF:1141-1393).
2. SHALL contain exactly one [1..1] templateId (CONF:1141-1415) such that it
	1. SHALL contain zero or one [0..1] @root="urn:oid:2.16.840.1.113883.10.20.36.14" Indicates that this section conforms with the constraints specified by the PHMR (CONF:1141-1416).
3. SHALL contain exactly one [1..1] code (CONF:1141-1390).
	1. This code SHALL contain exactly one [1..1] @code="30954-2" Relevant diagnostic tests and/or laboratory data (CONF:1141-1394).
	2. This code SHALL contain exactly one [1..1] @codeSystem="2.16.840.1.113883.6.1" (CodeSystem: LOINC urn:oid:2.16.840.1.113883.6.1) (CONF:1141-1395).
4. SHALL contain exactly one [1..1] title (CONF:1141-1396).
5. SHALL contain exactly one [1..1] text (CONF:1141-1397).
6. SHOULD contain zero or more [0..\*] entry (CONF:1141-1388) such that it
	1. SHALL contain exactly one [1..1] [Result Organizer (V2)](#Result_Organizer_V2) (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2014-06-09) (CONF:1141-1391).
7. If no results are reported this section shall have a text element stating so (CONF:1141-1424).

Vital Signs Section (PHMR) - Draft

[section: identifier urn:hl7ii:2.16.840.1.113883.10.20.9.2:2014-12-01 (open)]

Table 7: Vital Signs Section (PHMR) Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
|  | [Vital Signs Organizer (PHMR)](#E_Vital_Signs_Organizer_PHMR) |

The Vital Signs Section contains relevant vital signs for the context and use case of the document type, such as blood pressure, heart rate, respiratory rate, height, weight, body mass index, head circumference, pulse oximetry, temperature, and body surface area. The section should include notable vital signs such as the most recent, maximum and/or minimum, baseline, or relevant trends.

Vital signs are represented in the same way as other results, but are aggregated into their own section to follow clinical conventions.

Table 8: Vital Signs Section (PHMR) Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| section (identifier: urn:hl7ii:2.16.840.1.113883.10.20.9.2:2014-12-01) |
|  templateId | 1..1 | SHALL |  | [1141-25](#C_1141-25) |  |
|  @root | 1..1 | SHALL |  | [1141-28](#C_1141-28) | 2.16.840.1.113883.10.20.9.2 |
|  @extension | 1..1 | SHALL |  | [1141-29](#C_1141-29) | 2014-12-01 |
|  templateId | 1..1 | SHALL |  | [1141-1421](#C_1141-1421) |  |
|  @root | 0..1 | SHALL |  | [1141-1422](#C_1141-1422) | 2.16.840.1.113883.10.20.36.2 |
|  code | 1..1 | SHALL |  | [1141-26](#C_1141-26) |  |
|  @code | 1..1 | SHALL |  | [1141-30](#C_1141-30) | 8716-3 |
|  @codeSystem | 1..1 | SHALL |  | [1141-31](#C_1141-31) | urn:oid:2.16.840.1.113883.6.1 (LOINC) = 2.16.840.1.113883.6.1 |
|  title | 1..1 | SHALL |  | [1141-32](#C_1141-32) |  |
|  text | 1..1 | SHALL |  | [1141-33](#C_1141-33) |  |
|  entry | 1..\* | SHALL |  | [1141-24](#C_1141-24) |  |
|  organizer | 1..1 | SHALL |  | [1141-27](#C_1141-27) | [Vital Signs Organizer (PHMR) (identifier: urn:hl7ii:2.16.99.99.99:2014-10-02](#E_Vital_Signs_Organizer_PHMR) |

1. SHALL contain exactly one [1..1] templateId (CONF:1141-25) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.9.2" (CONF:1141-28).
	2. SHALL contain exactly one [1..1] @extension="2014-12-01" (CONF:1141-29).
2. SHALL contain exactly one [1..1] templateId (CONF:1141-1421) such that it
	1. SHALL contain zero or one [0..1] @root="2.16.840.1.113883.10.20.36.2" This template id indicates that this section conforms to the constraints specified in the PHMR (CONF:1141-1422).
3. SHALL contain exactly one [1..1] code (CONF:1141-26).
	1. This code SHALL contain exactly one [1..1] @code="8716-3" Vital Signs (CONF:1141-30).
	2. This code SHALL contain exactly one [1..1] @codeSystem="2.16.840.1.113883.6.1" (CodeSystem: LOINC urn:oid:2.16.840.1.113883.6.1) (CONF:1141-31).
4. SHALL contain exactly one [1..1] title (CONF:1141-32).
5. SHALL contain exactly one [1..1] text (CONF:1141-33).
6. SHALL contain at least one [1..\*] entry (CONF:1141-24) such that it
	1. SHALL contain exactly one [1..1] [Vital Signs Organizer (PHMR)](#E_Vital_Signs_Organizer_PHMR) (identifier: urn:hl7ii:2.16.99.99.99:2014-10-02) (CONF:1141-27).
7. If no vital signs are reported this section shall have a text element stating so (CONF:1141-1423).

# entry

Device Accuracy Observation - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.3 (open)]

Table 9: Device Accuracy Observation Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Device Definition Organizer](#E_Device_Definition_Organizer) (optional) |  |

The Device Accuracy observation MAY be present as an entry in the Device definition organizer. The accuracy gives a measure of how much the observation may deviate from the reported value, for example, the values reported by a device may be within =/- 3% of the actual value. However, the accuracy value may not be directly available from device data. Instead it may, for example, be manually entered or derived through other means.

Table 10: Device Accuracy Observation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.3) |
|  @classCode | 1..1 | SHALL |  | [1141-1328](#C_1141-1328) | OBS |
|  @moodCode | 1..1 | SHALL |  | [1141-1329](#C_1141-1329) | DEF |
|  templateId | 1..1 | SHALL |  | [1141-1319](#C_1141-1319) |  |
|  @root | 1..1 | SHALL |  | [1141-1322](#C_1141-1322) | 2.16.840.1.113883.10.20.36.3 |
|  code | 1..1 | SHALL |  | [1141-1320](#C_1141-1320) |  |
|  @code | 1..1 | SHALL |  | [1141-1323](#C_1141-1323) | MDC\_ATTR\_NU\_ACCUR\_MSMT |
|  @codeSystem | 1..1 | SHALL |  | [1141-1324](#C_1141-1324) | 2.16.840.1.113883.6.24 |
|  @codeSystemName | 1..1 | SHALL |  | [1141-1325](#C_1141-1325) | MDC |
|  value | 0..1 | MAY | PQ | [1141-1321](#C_1141-1321) |  |
|  @value | 1..1 | SHALL |  | [1141-1326](#C_1141-1326) |  |
|  @unit | 1..1 | SHALL |  | [1141-1327](#C_1141-1327) | urn:oid:2.16.840.1.113883.1.11.12839 (UnitsOfMeasureCaseSensitive) |
|  value | 0..1 | MAY | ST | [1141-1330](#C_1141-1330) |  |

1. SHALL contain exactly one [1..1] @classCode="OBS" (CONF:1141-1328).
2. SHALL contain exactly one [1..1] @moodCode="DEF" (CONF:1141-1329).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-1319).
	1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.3" (CONF:1141-1322).
4. SHALL contain exactly one [1..1] code (CONF:1141-1320).
	1. This code SHALL contain exactly one [1..1] @code="MDC\_ATTR\_NU\_ACCUR\_MSMT" (CONF:1141-1323).
	2. This code SHALL contain exactly one [1..1] @codeSystem="2.16.840.1.113883.6.24" (CONF:1141-1324).
	3. This code SHALL contain exactly one [1..1] @codeSystemName="MDC" (CONF:1141-1325).
5. MAY contain zero or one [0..1] value with @xsi:type="PQ" (CONF:1141-1321).
	1. The value, if present, SHALL contain exactly one [1..1] @value (CONF:1141-1326).
	2. The value, if present, SHALL contain exactly one [1..1] @unit (ValueSet: [UnitsOfMeasureCaseSensitive](#UnitsOfMeasureCaseSensitive) urn:oid:2.16.840.1.113883.1.11.12839) (CONF:1141-1327).
6. MAY contain zero or one [0..1] value with @xsi:type="ST" (CONF:1141-1330).
7. A value element shall be present whose data type is either PQ  (for a physical quantity) or ST (for a simple text description) for whatever units are appropriate for the accuracy measurement (though the units must still be a valid UCUM expression) (CONF:1141-1331).

Device Definition Organizer - Draft

[organizer: identifier urn:oid:2.16.840.1.113883.10.20.36.4 (open)]

Table 11: Device Definition Organizer Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Medical Equipment Section (Entries Optional)](#S_Medical_Equipment_Section_Entries_Opt) (optional) | [Device Accuracy Observation](#E_Device_Accuracy_Observation)[Device Measurement Range Observation](#E_Device_Measurement_Range_Observation)[Device Resolution Observation](#E_Device_Resolution_Observation)[Device Sampling Frequency Observation](#E_Device_Sampling_Frequency_Observation) |

This template represents the properties of the medical device reporting the measurements.

Table 12: Device Definition Organizer Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| organizer (identifier: urn:oid:2.16.840.1.113883.10.20.36.4) |
|  @classCode | 1..1 | SHALL |  | [1141-1338](#C_1141-1338) | urn:oid:2.16.840.1.113883.5.6 (HL7ActClass) = CLUSTER |
|  @moodCode | 1..1 | SHALL |  | [1141-1339](#C_1141-1339) | urn:oid:2.16.840.1.113883.5.1001 (ActMood) = EVN |
|  templateId | 1..1 | SHALL |  | [1141-1333](#C_1141-1333) |  |
|  @root | 1..1 | SHALL |  | [1141-1340](#C_1141-1340) | 2.16.840.1.113883.10.20.36.4 |
|  id | 1..\* | SHALL |  | [1141-1341](#C_1141-1341) |  |
|  code | 0..1 | MAY |  | [1141-1342](#C_1141-1342) |  |
|  statusCode | 1..1 | SHALL |  | [1141-1334](#C_1141-1334) |  |
|  @code | 1..1 | SHALL |  | [1141-1343](#C_1141-1343) | urn:oid:2.16.840.1.113883.11.20.9.39 (Result Status) |
|  effectiveTime | 1..1 | SHALL |  | [1141-1336](#C_1141-1336) |  |
|  low | 1..1 | SHALL |  | [1141-1345](#C_1141-1345) |  |
|  high | 1..1 | SHALL |  | [1141-1346](#C_1141-1346) |  |
|  participant | 1..1 | SHALL |  | [1141-1347](#C_1141-1347) |  |
|  @typeCode | 1..1 | SHALL |  | [1141-1348](#C_1141-1348) | DEV |
|  participantRole | 1..1 | SHALL |  | [1141-1385](#C_1141-1385) |  |
|  component | 0..\* | MAY |  | [1141-1350](#C_1141-1350) |  |
|  observation | 1..1 | SHALL |  | [1141-1354](#C_1141-1354) | [Device Accuracy Observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.3](#E_Device_Accuracy_Observation) |
|  component | 0..\* | MAY |  | [1141-1351](#C_1141-1351) |  |
|  observation | 1..1 | SHALL |  | [1141-1355](#C_1141-1355) | [Device Sampling Frequency Observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.10](#E_Device_Sampling_Frequency_Observation) |
|  component | 0..\* | MAY |  | [1141-1352](#C_1141-1352) |  |
|  observation | 1..1 | SHALL |  | [1141-1356](#C_1141-1356) | [Device Resolution Observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.6](#E_Device_Resolution_Observation) |
|  component | 0..\* | MAY |  | [1141-1353](#C_1141-1353) |  |
|  observation | 1..1 | SHALL |  | [1141-1357](#C_1141-1357) | [Device Measurement Range Observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.5](#E_Device_Measurement_Range_Observation) |

1. SHALL contain exactly one [1..1] @classCode="CLUSTER" (CodeSystem: HL7ActClass urn:oid:2.16.840.1.113883.5.6 STATIC) (CONF:1141-1338).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CodeSystem: ActMood urn:oid:2.16.840.1.113883.5.1001 STATIC) (CONF:1141-1339).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-1333) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.4" (CONF:1141-1340).
4. SHALL contain at least one [1..\*] id (CONF:1141-1341).

This code can represent a category of devices. The code is strictly optional, and is not currently limited to any value set or code system. Implementers may use it if they wish to provide optional coded information about this grouping of medical equipment.

1. MAY contain zero or one [0..1] code (CONF:1141-1342).

The organizer is a collection of statuses for contained entries. The organizer remains active until all contained entries are done.

1. SHALL contain exactly one [1..1] statusCode (CONF:1141-1334).
	1. This statusCode SHALL contain exactly one [1..1] @code, which SHALL be selected from ValueSet [Result Status](#Result_Status) urn:oid:2.16.840.1.113883.11.20.9.39 STATIC (CONF:1141-1343).

The effectiveTime can be used to show the time period over which the patient will be using the set of equipment. The organizer would probably not be used with devices applied in or on the patient.

1. SHALL contain exactly one [1..1] effectiveTime (CONF:1141-1336).
	1. This effectiveTime SHALL contain exactly one [1..1] low (CONF:1141-1345).
	2. This effectiveTime SHALL contain exactly one [1..1] high (CONF:1141-1346).
2. SHALL contain exactly one [1..1] participant (CONF:1141-1347).
	1. This participant SHALL contain exactly one [1..1] @typeCode="DEV" (CONF:1141-1348).
	2. This participant SHALL contain exactly one [1..1] participantRole (CONF:1141-1385).
	3. The participant element SHALL contain a single Device PHMR Product Instance template (templateId 2.16.840.1.113883.10.20.36.9) as the partiticpantRole (CONF:1141-1349).
3. MAY contain zero or more [0..\*] component (CONF:1141-1350).
	1. The component, if present, SHALL contain exactly one [1..1] [Device Accuracy Observation](#E_Device_Accuracy_Observation) (identifier: urn:oid:2.16.840.1.113883.10.20.36.3) (CONF:1141-1354).
4. MAY contain zero or more [0..\*] component (CONF:1141-1351).
	1. The component, if present, SHALL contain exactly one [1..1] [Device Sampling Frequency Observation](#E_Device_Sampling_Frequency_Observation) (identifier: urn:oid:2.16.840.1.113883.10.20.36.10) (CONF:1141-1355).
5. MAY contain zero or more [0..\*] component (CONF:1141-1352).
	1. The component, if present, SHALL contain exactly one [1..1] [Device Resolution Observation](#E_Device_Resolution_Observation) (identifier: urn:oid:2.16.840.1.113883.10.20.36.6) (CONF:1141-1356).
6. MAY contain zero or more [0..\*] component (CONF:1141-1353).
	1. The component, if present, SHALL contain exactly one [1..1] [Device Measurement Range Observation](#E_Device_Measurement_Range_Observation) (identifier: urn:oid:2.16.840.1.113883.10.20.36.5) (CONF:1141-1357).

Device Measurement Range Observation - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.5 (open)]

Table 13: Device Measurement Range Observation Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Device Definition Organizer](#E_Device_Definition_Organizer) (optional) |  |

The Device Measurement Range observation MAY be present as an entry in the Device definition organizer. The measurement range of the device gives the range of possible values that may be reported by the device, for example, a thermometer may report values between 0 and 100 degrees Celsius. However, the range value may not be directly available from device data. Instead it may, for example, be manually entered or derived through other means.

Table 14: Device Measurement Range Observation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.5) |
|  @classCode | 1..1 | SHALL |  | [1141-1278](#C_1141-1278) | OBS |
|  @moodCode | 1..1 | SHALL |  | [1141-1279](#C_1141-1279) | DEF |
|  templateId | 1..1 | SHALL |  | [1141-1257](#C_1141-1257) |  |
|  @root | 1..1 | SHALL |  | [1141-1271](#C_1141-1271) | 2.16.840.1.113883.10.20.36.5 |
|  code | 1..1 | SHALL |  | [1141-1258](#C_1141-1258) |  |
|  @code | 1..1 | SHALL |  | [1141-1280](#C_1141-1280) | MDC\_ATTR\_NU\_RANGE\_MSMT |
|  @codeSystem | 1..1 | SHALL |  | [1141-1281](#C_1141-1281) | 2.16.840.1.113883.6.24 |
|  @codeSystemName | 1..1 | SHALL |  | [1141-1282](#C_1141-1282) | MDC |
|  value | 0..1 | MAY | IVL\_PQ | [1141-1277](#C_1141-1277) |  |
|  @unit | 1..1 | SHALL |  | [1141-1314](#C_1141-1314) | urn:oid:2.16.840.1.113883.1.11.12839 (UnitsOfMeasureCaseSensitive) |
|  low | 1..1 | SHALL |  | [1141-1283](#C_1141-1283) |  |
|  high | 1..1 | SHALL |  | [1141-1284](#C_1141-1284) |  |
|  value | 0..1 | MAY | ST | [1141-1285](#C_1141-1285) |  |

1. SHALL contain exactly one [1..1] @classCode="OBS" (CONF:1141-1278).
2. SHALL contain exactly one [1..1] @moodCode="DEF" Event (CONF:1141-1279).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-1257).
	1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.5" (CONF:1141-1271).
4. SHALL contain exactly one [1..1] code (CONF:1141-1258).
	1. This code SHALL contain exactly one [1..1] @code="MDC\_ATTR\_NU\_RANGE\_MSMT" (CONF:1141-1280).
	2. This code SHALL contain exactly one [1..1] @codeSystem="2.16.840.1.113883.6.24" (CONF:1141-1281).
	3. This code SHALL contain exactly one [1..1] @codeSystemName="MDC" (CONF:1141-1282).
5. MAY contain zero or one [0..1] value with @xsi:type="IVL\_PQ" (CONF:1141-1277).
	1. The value, if present, SHALL contain exactly one [1..1] @unit, which SHALL be selected from ValueSet [UnitsOfMeasureCaseSensitive](#UnitsOfMeasureCaseSensitive) urn:oid:2.16.840.1.113883.1.11.12839 DYNAMIC (CONF:1141-1314).
	2. The value, if present, SHALL contain exactly one [1..1] low (CONF:1141-1283).
	3. The value, if present, SHALL contain exactly one [1..1] high (CONF:1141-1284).
6. MAY contain zero or one [0..1] value with @xsi:type="ST" (CONF:1141-1285).
7. A value element SHALL be present either of data type IVL*PQ  (for a physical quantity) or ST (for a simple text description) for whatever units are appropriate for the device (though the units must still be a valid UCUM expression)* (CONF:1141-1286).

Device PHMR Product Instance Template - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.9 (open)]

The Device PHMR Product Instance Template describes the properties of the medical device. Typically the device will be an IEEE medical device conforming to an IEEE 11073 medical device standard. This template defines the participant element of the Device Definition Organizer. Medical observations taken by the device described by this template that are present in this document reference this participant element.

Table 15: Device PHMR Product Instance Template Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.9) |
|  participant | 1..1 | SHALL |  | [1141-1224](#C_1141-1224) |  |
|  @typeCode | 1..1 | SHALL |  | [1141-1226](#C_1141-1226) | DEV |
|  participantRole | 1..1 | SHALL |  | [1141-1225](#C_1141-1225) |  |
|  @classCode | 1..1 | SHALL |  | [1141-1228](#C_1141-1228) | MANU |
|  templateId | 1..1 | SHALL |  | [1141-1229](#C_1141-1229) |  |
|  @root | 1..1 | SHALL |  | [1141-1231](#C_1141-1231) | 2.16.840.1.113883.10.20.36.9 |
|  templateId | 1..1 | SHALL |  | [1141-1230](#C_1141-1230) |  |
|  @root | 1..1 | SHALL |  | [1141-1232](#C_1141-1232) | 2.16.840.1.113883.10.1.52 |
|  id | 1..1 | SHALL |  | [1141-1233](#C_1141-1233) |  |
|  code | 0..1 | MAY |  | [1141-1236](#C_1141-1236) |  |
|  @nullFlavor | 1..1 | SHALL |  | [1141-1239](#C_1141-1239) | OTH |
|  originalText | 0..1 | SHALL |  | [1141-1240](#C_1141-1240) |  |
|  playingDevice | 1..1 | SHALL |  | [1141-1242](#C_1141-1242) |  |
|  code | 1..1 | SHALL |  | [1141-1243](#C_1141-1243) |  |
|  @code | 1..1 | SHALL |  | [1141-1244](#C_1141-1244) |  |
|  @codeSystem | 0..1 | SHALL |  | [1141-1247](#C_1141-1247) | 2.16.840.1.113883.6.24 |
|  @codeSystemName | 1..1 | SHALL |  | [1141-1246](#C_1141-1246) | MDC |
|  @displayName | 1..1 | SHOULD |  | [1141-1248](#C_1141-1248) |  |
|  translation | 0..\* | MAY |  | [1141-1250](#C_1141-1250) |  |
|  manufacturerModelName | 1..1 | SHALL |  | [1141-1252](#C_1141-1252) |  |
|  scopingEntity | 0..1 | SHOULD |  | [1141-1254](#C_1141-1254) |  |
|  desc | 0..1 | SHALL |  | [1141-1255](#C_1141-1255) |  |

1. SHALL contain exactly one [1..1] participant (CONF:1141-1224).
	1. This participant SHALL contain exactly one [1..1] @typeCode="DEV" (CONF:1141-1226).
	2. This participant SHALL contain exactly one [1..1] participantRole (CONF:1141-1225).
		1. This participantRole SHALL contain exactly one [1..1] @classCode="MANU" (CONF:1141-1228).

This template ID indicates conformance to the PHMR product instance

* + 1. This participantRole SHALL contain exactly one [1..1] templateId (CONF:1141-1229).
			1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.9" PHMR Product Instance (CONF:1141-1231).

This template id indicates that the PHMR product instance shall conform to the contraints of the CCD Product instance template

* + 1. This participantRole SHALL contain exactly one [1..1] templateId (CONF:1141-1230).
			1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.1.52" CCD Product instance (CONF:1141-1232).
		2. This participantRole SHALL contain exactly one [1..1] id (CONF:1141-1233).
			1. The @root shall be the OID of device numbering space and the @extension is a valid device ID within that space. (e.g. @root is 1.2.840.10004.1.1.1.0.0.1.0.0.1.2680 and @extension is a valid EUI-64 device ID such as obtained from the system ID attribute of IEEE 11073 devices or the System Id characteristic of the Device Information Service of BTLE devices) (CONF:1141-1358).
		3. This participantRole MAY contain zero or one [0..1] code (CONF:1141-1236).
			1. The code, if present, SHALL contain exactly one [1..1] @nullFlavor="OTH" (CONF:1141-1239).
			2. The code, if present, SHALL contain zero or one [0..1] originalText (CONF:1141-1240).
				1. The test entry here shall indicate whether or not the device is regulated, for example "Regulated device" or "Unregulated device" (CONF:1141-1241).
		4. This participantRole SHALL contain exactly one [1..1] playingDevice (CONF:1141-1242).
			1. This playingDevice SHALL contain exactly one [1..1] code (CONF:1141-1243).
				1. This code SHALL contain exactly one [1..1] @code (CONF:1141-1244).

This value indicates the type of device where the code shall be drawn from the codeSystem. For example MDC*DEV*SPEC*PROFILE*BP for an IEEE blood pressure monitor (CONF:1141-1245).

* + - * 1. This code SHALL contain zero or one [0..1] @codeSystem="2.16.840.1.113883.6.24" (CONF:1141-1247).
				2. This code SHALL contain exactly one [1..1] @codeSystemName="MDC" (CONF:1141-1246).
				3. This code SHOULD contain exactly one [1..1] @displayName (CONF:1141-1248).

A display name describing the device type should be present, for example "Blood Pressure Monitor" (CONF:1141-1249).

* + - * 1. This code MAY contain zero or more [0..\*] translation (CONF:1141-1250).

Translation elements may also be present giving an equivalent SNOMED CT code for the device type (CONF:1141-1251).

* + - 1. This playingDevice SHALL contain exactly one [1..1] manufacturerModelName (CONF:1141-1252).
				1. This element shall contain the data items present in the Production Specification, System Model, and RegCertDataList attributes or equivalent (e.g Device Information Service characteristics of BTLE devices). To be machine readable this string entry shall be formatted as a CWE data type delineated by OR-bars (|) that would appear in OBX-3 of the corresponding OBX segment describing the value. CWE-1 shall contain the code, CWE-2 the nomenclature reference id in upper case, CWE-3 shall be 'MDC' and CWE-5 shall contain the actual component value. If the separator characters '|' , '^', '\', '~' or '&' appear in the value, they shall be escaped as \F\ ,\S\, \E\, \R\, and \T\, respectively . If there is no corresponding attribute entry value the entry shall be absent. For the regulation status the value shall be either 'unregulated-device' or 'regulated-device'. The entries appear as follows:
				|531970^MDC*ID*MODEL\_MANUFACTURER^MDC^^value|
				|531969^MDC*ID*MODEL\_NUMBER^MDC^^value|
				|531971^MDC*ID*PROD*SPEC*UNSPECIFIED^MDC^^value|
				|531972^MDC*ID*PROD*SPEC*SERIAL^MDC^^value|
				|531973^MDC*ID*PROD*SPEC*PART^MDC^^value|
				|531974^MDC*ID*PROD*SPEC*HW^MDC^^value|
				|531975^MDC*ID*PROD*SPEC*SW^MDC^^value|
				|531976^MDC*ID*PROD*SPEC*FW^MDC^^value|
				|531977^MDC*ID*PROD*SPEC*PROTOCOL^MDC^^value|
				|531978^MDC*ID*PROD*SPEC*GMDN^MDC^^value|
				|532352^MDC*REG*CERT*DATA*CONTINUA\_VERSION^MDC^^value|
				|532354^MDC*REG*CERT*DATA*CONTINUA*REG*STATUS^MDC^^value| (CONF:1141-1253).
		1. This participantRole SHOULD contain zero or one [0..1] scopingEntity (CONF:1141-1254).
			1. The scopingEntity, if present, SHALL contain zero or one [0..1] desc (CONF:1141-1255).
				1. The scopingEntity/desc element shall contain the manufacturer's name (CONF:1141-1256).

Device Resolution Observation - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.6 (open)]

Table 16: Device Resolution Observation Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Device Definition Organizer](#E_Device_Definition_Organizer) (optional) |  |

The Device Resolution observation MAY be present as an entry in the Device definition organizer. The resolution gives the smallest difference between two measurements that can be reported by the device, for example, a thermometer may report a resolution of 0.1 degrees Celsius. However, the resolution value may not be directly available from device data. Instead it may, for example, be manually entered or derived through other means.

Table 17: Device Resolution Observation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.6) |
|  @classCode | 1..1 | SHALL |  | [1141-1310](#C_1141-1310) | OBS |
|  @moodCode | 1..1 | SHALL |  | [1141-1311](#C_1141-1311) | DEF |
|  templateId | 1..1 | SHALL |  | [1141-1301](#C_1141-1301) |  |
|  @root | 1..1 | SHALL |  | [1141-1304](#C_1141-1304) | 2.16.840.1.113883.10.20.36.6 |
|  code | 1..1 | SHALL |  | [1141-1302](#C_1141-1302) |  |
|  @code | 1..1 | SHALL |  | [1141-1305](#C_1141-1305) | 17441009 |
|  @codeSystem | 1..1 | SHALL |  | [1141-1306](#C_1141-1306) | 2.16.840.1.113883.6.96 |
|  @codeSystemName | 1..1 | SHALL |  | [1141-1307](#C_1141-1307) | SNOMED CT |
|  value | 0..1 | MAY | PQ | [1141-1303](#C_1141-1303) |  |
|  @value | 1..1 | SHALL |  | [1141-1317](#C_1141-1317) |  |
|  @unit | 1..1 | SHALL |  | [1141-1318](#C_1141-1318) | urn:oid:2.16.840.1.113883.1.11.12839 (UnitsOfMeasureCaseSensitive) |
|  value | 0..1 | MAY | ST | [1141-1315](#C_1141-1315) |  |

1. SHALL contain exactly one [1..1] @classCode="OBS" (CONF:1141-1310).
2. SHALL contain exactly one [1..1] @moodCode="DEF" (CONF:1141-1311).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-1301).
	1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.6" (CONF:1141-1304).
4. SHALL contain exactly one [1..1] code (CONF:1141-1302).
	1. This code SHALL contain exactly one [1..1] @code="17441009" (CONF:1141-1305).
	2. This code SHALL contain exactly one [1..1] @codeSystem="2.16.840.1.113883.6.96" (CONF:1141-1306).
	3. This code SHALL contain exactly one [1..1] @codeSystemName="SNOMED CT" (CONF:1141-1307).
5. MAY contain zero or one [0..1] value with @xsi:type="PQ" (CONF:1141-1303).
	1. The value, if present, SHALL contain exactly one [1..1] @value (CONF:1141-1317).
	2. The value, if present, SHALL contain exactly one [1..1] @unit (ValueSet: [UnitsOfMeasureCaseSensitive](#UnitsOfMeasureCaseSensitive) urn:oid:2.16.840.1.113883.1.11.12839) (CONF:1141-1318).
6. MAY contain zero or one [0..1] value with @xsi:type="ST" (CONF:1141-1315).
7. A value element shall be present whose data type is either PQ  (for a physical quantity) or ST (for a simple text description) for whatever units are appropriate for the device (though the units must still be a valid UCUM expression) (CONF:1141-1316).

Device Sampling Frequency Observation - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.10 (open)]

Table 18: Device Sampling Frequency Observation Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Device Definition Organizer](#E_Device_Definition_Organizer) (optional) |  |

The Device Sampling Frequency observation MAY be present as an entry in the Device definition organizer. The Device Sampling Frequency is the frequency the device generates measurements. However, the frequency value may not be directly available from device data. For example some Pulse Oximeters generate oxygen saturation and pulse rate values at a regular interval, say once every N seconds but that frequency is not sent as part of the measurement or in any device information attribute. The value must, instead, be manually entered or derived by other means from the received data.

Table 19: Device Sampling Frequency Observation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.10) |
|  @classCode | 1..1 | SHALL |  | [1141-1296](#C_1141-1296) | OBS |
|  @moodCode | 1..1 | SHALL |  | [1141-1297](#C_1141-1297) | DEF |
|  templateId | 1..1 | SHALL |  | [1141-1287](#C_1141-1287) |  |
|  @root | 1..1 | SHALL |  | [1141-1290](#C_1141-1290) | 2.16.840.1.113883.10.20.36.10 |
|  code | 1..1 | SHALL |  | [1141-1288](#C_1141-1288) |  |
|  @code | 1..1 | SHALL |  | [1141-1291](#C_1141-1291) | MDC\_ATTR\_TIME\_PD\_SAMP |
|  @codeSystem | 1..1 | SHALL |  | [1141-1292](#C_1141-1292) | 2.16.840.1.113883.6.24 |
|  @codeSystemName | 1..1 | SHALL |  | [1141-1293](#C_1141-1293) | MDC |
|  value | 1..1 | SHALL | PQ | [1141-1289](#C_1141-1289) |  |
|  @value | 1..1 | SHALL |  | [1141-1298](#C_1141-1298) |  |
|  @unit | 1..1 | SHALL |  | [1141-1299](#C_1141-1299) | ms |

1. SHALL contain exactly one [1..1] @classCode="OBS" (CONF:1141-1296).
2. SHALL contain exactly one [1..1] @moodCode="DEF" (CONF:1141-1297).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-1287).
	1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.10" (CONF:1141-1290).
4. SHALL contain exactly one [1..1] code (CONF:1141-1288).
	1. This code SHALL contain exactly one [1..1] @code="MDC\_ATTR\_TIME\_PD\_SAMP" (CONF:1141-1291).
	2. This code SHALL contain exactly one [1..1] @codeSystem="2.16.840.1.113883.6.24" (CONF:1141-1292).
	3. This code SHALL contain exactly one [1..1] @codeSystemName="MDC" (CONF:1141-1293).
5. SHALL contain exactly one [1..1] value with @xsi:type="PQ" (CONF:1141-1289).
	1. This value SHALL contain exactly one [1..1] @value (CONF:1141-1298).
	2. This value SHALL contain exactly one [1..1] @unit="ms" milliseconds (CONF:1141-1299).

PHM Measurement Event Observation - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.7 (open)]

Table 20: PHM Measurement Event Observation Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Result Organizer (V2)](#E_Result_Organizer_V2) (optional) |  |

The PHM Event Observation describes the type of measurement reported from an enumeration metric object in a PHM device. These measurements are typically represented as codes (on PHM devices these are MDC codes, bit settings representing codes (on PHM devices these are often ASN.1 definitions), or simply human readable strings.  Given the nature of this type of observation the code element describing the observation shall contain the MDC code, as that code is necessary in order to properly interpret all PHM observations that are reported as PHM events.

Table 21: PHM Measurement Event Observation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.7) |
|  @classCode | 1..1 | SHALL |  | [1141-1148](#C_1141-1148) | OBS |
|  @moodCode | 1..1 | SHALL |  | [1141-1149](#C_1141-1149) | EVN |
|  templateId | 1..1 | SHALL |  | [1141-1131](#C_1141-1131) |  |
|  @root | 1..1 | SHALL |  | [1141-1150](#C_1141-1150) | 2.16.840.1.113883.10.20.36.7 |
|  code | 1..1 | SHALL |  | [1141-1132](#C_1141-1132) |  |
|  text | 0..1 | SHOULD |  | [1141-1135](#C_1141-1135) |  |
|  reference | 0..1 | SHOULD |  | [1141-1136](#C_1141-1136) |  |
|  @value | 0..1 | SHOULD |  | [1141-1137](#C_1141-1137) |  |
|  statusCode | 1..1 | SHALL |  | [1141-1138](#C_1141-1138) |  |
|  @code | 1..1 | SHALL |  | [1141-1155](#C_1141-1155) | completed |
|  effectiveTime | 1..1 | SHALL |  | [1141-1134](#C_1141-1134) |  |
|  value | 1..1 | MAY | CS | [1141-1139](#C_1141-1139) |  |
|  value | 1..1 | MAY | ST | [1141-1381](#C_1141-1381) |  |
|  value | 1..1 | MAY | INT | [1141-1379](#C_1141-1379) |  |
|  interpretationCode | 0..\* | MAY |  | [1141-1157](#C_1141-1157) |  |
|  methodCode | 0..\* | MAY |  | [1141-1158](#C_1141-1158) |  |
|  targetSiteCode | 0..\* | MAY |  | [1141-1159](#C_1141-1159) |  |
|  author | 1..1 | SHALL |  | [1141-1165](#C_1141-1165) |  |
|  assignedAuthor | 1..1 | SHALL |  | [1141-1207](#C_1141-1207) |  |
|  id | 1..1 | SHALL |  | [1141-1208](#C_1141-1208) |  |
|  assignedPerson | 0..1 | MAY |  | [1141-1213](#C_1141-1213) |  |
|  name | 1..\* | SHALL |  | [1141-1214](#C_1141-1214) |  |
|  assignedAuthoringDevice | 0..1 | MAY |  | [1141-1215](#C_1141-1215) |  |
|  @classCode | 1..1 | SHALL |  | [1141-1217](#C_1141-1217) | DEV |
|  @determinerCode | 1..1 | SHALL |  | [1141-1218](#C_1141-1218) | INSTANCE |

1. SHALL contain exactly one [1..1] @classCode="OBS" (CONF:1141-1148).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CONF:1141-1149).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-1131).
	1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.7" (CONF:1141-1150).
4. SHALL contain exactly one [1..1] code (CONF:1141-1132).
	1. The coding system used in the event observation SHALL be  MDC (CodeSystem: 2.16.840.1.113883.6.24 DYNAMIC) as this code is the only way to identify what the meaning of the measurement is when it is BITs integer. A translation element giving the corresponding SNOMED (CodeSystem: 2.16.840.1.113883.6.96) SHOULD be present. An additional translation element MAY be present providing the code from LOINC (CodeSystem: 2.16.840.1.113883.6.1) (CONF:1141-1151).
5. SHOULD contain zero or one [0..1] text (CONF:1141-1135).
	1. The text, if present, SHOULD contain zero or one [0..1] reference (CONF:1141-1136).
		1. The reference, if present, SHOULD contain zero or one [0..1] @value (CONF:1141-1137).
			1. This reference/@value SHALL begin with a '#' and SHALL point to its corresponding narrative (using the approach defined in CDA Release 2, section 4.3.5.1) (CONF:1141-935) (CONF:1141-1154).
6. SHALL contain exactly one [1..1] statusCode (CONF:1141-1138).
	1. This statusCode SHALL contain exactly one [1..1] @code="completed" Completed (CONF:1141-1155).

Represents the clinically effective time of the measurement, which may be when the measurement was performed if the medical device reports such information when it takes the measaurement or it may be when the data was obtained from the device if the device does not report time. 11073 devices are required to report the time of measurement if the data is stored.

1. SHALL contain exactly one [1..1] effectiveTime (CONF:1141-1134).
	1. Effective times containing accuracy greater than a day should contain the local time zone (CONF:1141-1153).
2. MAY contain exactly one [1..1] value with @xsi:type="CS" (CONF:1141-1139).
	1. This value element shall be present if the observation is an integer representing a code reported by the PHM device. It shall not be present if the reported PHM observation is not a code (CONF:1141-1382).
3. MAY contain exactly one [1..1] value with @xsi:type="ST" (CONF:1141-1381).
	1. This value element shall be present if the measurement reported by the PHM device is a human readable string. It shall not be present if the reported measurement is not a string (CONF:1141-1383).
4. MAY contain exactly one [1..1] value with @xsi:type="INT" (CONF:1141-1379).
	1. This value SHALL be present if the observation reported by the PHM device is an integer where each bit represents an item, event, or have some other defined meaning. For PHM devices the meaning of each bit in the integer is defined in the IEEE specialization document that defines the code present in the code element. This element shall not be present if the reported measurement is not an integer whose bits represent some item, event, or have some other defined meaning (CONF:1141-1384).
5. MAY contain zero or more [0..\*] interpretationCode (CONF:1141-1157).
6. MAY contain zero or more [0..\*] methodCode (CONF:1141-1158).
7. MAY contain zero or more [0..\*] targetSiteCode (CONF:1141-1159).
8. SHALL contain exactly one [1..1] author (CONF:1141-1165).
	1. This author SHALL contain exactly one [1..1] assignedAuthor (CONF:1141-1207).
		1. This assignedAuthor SHALL contain exactly one [1..1] id (CONF:1141-1208).
			1. The @root, @extension, and @assigningAuthorityName shall be taken from the equivalnet attributes of the Device PHMR Product Instance participantRole/id element (CONF:1141-1359).
		2. This assignedAuthor MAY contain zero or one [0..1] assignedPerson (CONF:1141-1213).
			1. The assignedPerson, if present, SHALL contain at least one [1..\*] name (CONF:1141-1214).
		3. This assignedAuthor MAY contain zero or one [0..1] assignedAuthoringDevice (CONF:1141-1215).
			1. The assignedAuthoringDevice, if present, SHALL contain exactly one [1..1] @classCode="DEV" (CONF:1141-1217).
			2. The assignedAuthoringDevice, if present, SHALL contain exactly one [1..1] @determinerCode="INSTANCE" (CONF:1141-1218).
		4. If the data in an observation was obtained directly from a PHM device, the observation SHALL include the assignedAuthoringDevice element and it SHALL NOT include the assignedPerson elelemt. If the data in an observation was entered manually, the observation SHALL include the assignedPerson element and SHALL NOT include the assignedAuthoringDevice element (CONF:1141-1216).
9. A single value element of either type CS, INT, or ST shall be present (CONF:1141-1380).

PHM Measurement Numeric Observation - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.8 (open)]

Table 22: PHM Measurement Numeric Observation Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Vital Signs Organizer (PHMR)](#E_Vital_Signs_Organizer_PHMR) (optional)[Result Organizer (V2)](#E_Result_Organizer_V2) (optional) |  |

The PHM Numeric Observation describes a measurement from a medical device. The technique used by the medical device to obtain the measurement may be equally as important in some medical situations as the measurement value. Thus the coding systems used to describe the measurement quantity in the PHM Numeric Observation are taken from MDC or SNOMED. The codes in these systems carry with it the method used by the device to obtain the measurement. For example, a heart rate can be obtained via an Electrocardiogram, a Pulseoximeter, or a non-invasive Blood Pressure cuff. In the SNOMED and MDC code systems, the heart rate for each of these devices is represented by a different code.

The Rosetta Terminology Mapping also provides a mapping between MDC and SNOMED.

Table 23: PHM Measurement Numeric Observation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.8) |
|  @classCode | 1..1 | SHALL |  | [1141-8](#C_1141-8) | OBS |
|  @moodCode | 1..1 | SHALL |  | [1141-9](#C_1141-9) | EVN |
|  templateId | 1..1 | SHALL |  | [1141-10](#C_1141-10) |  |
|  @root | 1..1 | SHALL |  | [1141-11](#C_1141-11) | 2.16.840.1.113883.10.20.36.8 |
|  templateId | 0..\* | MAY |  | [1141-944](#C_1141-944) |  |
|  code | 1..1 | SHALL |  | [1141-12](#C_1141-12) |  |
|  translation | 0..\* | SHOULD |  | [1141-1196](#C_1141-1196) |  |
|  text | 0..1 | SHOULD |  | [1141-948](#C_1141-948) |  |
|  reference | 0..1 | SHOULD |  | [1141-949](#C_1141-949) |  |
|  @value | 0..1 | SHOULD |  | [1141-951](#C_1141-951) |  |
|  statusCode | 1..1 | SHALL |  | [1141-971](#C_1141-971) |  |
|  @code | 1..1 | SHALL |  | [1141-972](#C_1141-972) | completed |
|  effectiveTime | 1..1 | SHALL |  | [1141-946](#C_1141-946) |  |
|  value | 1..1 | SHALL | PQ | [1141-973](#C_1141-973) |  |
|  @value | 1..1 | SHALL |  | [1141-1300](#C_1141-1300) |  |
|  @unit | 1..1 | SHALL |  | [1141-974](#C_1141-974) | urn:oid:2.16.840.1.113883.1.11.12839 (UnitsOfMeasureCaseSensitive) |
|  interpretationCode | 0..\* | MAY |  | [1141-975](#C_1141-975) |  |
|  methodCode | 0..\* | MAY |  | [1141-976](#C_1141-976) |  |
|  targetSiteCode | 0..\* | MAY |  | [1141-977](#C_1141-977) |  |
|  author | 1..1 | SHALL |  | [1141-980](#C_1141-980) |  |
|  assignedAuthor | 1..1 | SHALL |  | [1141-1173](#C_1141-1173) |  |
|  id | 1..1 | SHALL |  | [1141-1177](#C_1141-1177) |  |
|  assignedPerson | 0..1 | MAY |  | [1141-1193](#C_1141-1193) |  |
|  name | 1..\* | SHALL |  | [1141-1194](#C_1141-1194) |  |
|  assignedAuthoringDevice | 0..1 | MAY |  | [1141-1174](#C_1141-1174) |  |
|  @classCode | 1..1 | SHALL |  | [1141-1175](#C_1141-1175) | DEV |
|  @determinerCode | 1..1 | SHALL |  | [1141-1176](#C_1141-1176) | INSTANCE |

1. SHALL contain exactly one [1..1] @classCode="OBS" (CONF:1141-8).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CONF:1141-9).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-10).
	1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.8" (CONF:1141-11).
4. MAY contain zero or more [0..\*] templateId (CONF:1141-944).
	1. A Numeric Observation MAY also conform to other observation templates (such as a Result Observation). If so, it MAY also include the templateIds for those observation types (CONF:1141-945).
5. SHALL contain exactly one [1..1] code (CONF:1141-12).
	1. This code SHOULD contain zero or more [0..\*] translation (CONF:1141-1196).
	2. Observations from medical devices SHALL either be from SNOMED (CodeSystem: 2.16.840.1.113883.6.96)  or MDC (CodeSystem: 2.16.840.1.113883.6.24 DYNAMIC). A translation element SHOULD be present providing the MDC code if SNOMED is used or SNOMED if MDC is used. An additional translation element MAY be present providing the code from LOINC (CodeSystem: 2.16.840.1.113883.6.1) (CONF:1141-947).
6. SHOULD contain zero or one [0..1] text (CONF:1141-948).
	1. The text, if present, SHOULD contain zero or one [0..1] reference (CONF:1141-949).
		1. The reference, if present, SHOULD contain zero or one [0..1] @value (CONF:1141-951).
			1. This reference/@value SHALL begin with a '#' and SHALL point to its corresponding narrative (using the approach defined in CDA Release 2, section 4.3.5.1) (CONF:1141-935) (CONF:1141-952).
7. SHALL contain exactly one [1..1] statusCode (CONF:1141-971).
	1. This statusCode SHALL contain exactly one [1..1] @code="completed" Completed (CONF:1141-972).

Represents the clinically effective time of the measurement, which may be when the measurement was performed if the medical device reports such information when it takes the measaurement or it may be when the data was obtained from the device if the device does not report time. 11073 devices are required to report the time of measurement if the data is stored.

1. SHALL contain exactly one [1..1] effectiveTime (CONF:1141-946).
	1. Effective times containing accuracy greater than a day should contain the local time zone (CONF:1141-1099).
2. SHALL contain exactly one [1..1] value with @xsi:type="PQ" (CONF:1141-973).
	1. This value SHALL contain exactly one [1..1] @value (CONF:1141-1300).
	2. This value SHALL contain exactly one [1..1] @unit, which SHALL be selected from ValueSet [UnitsOfMeasureCaseSensitive](#UnitsOfMeasureCaseSensitive) urn:oid:2.16.840.1.113883.1.11.12839 DYNAMIC (CONF:1141-974).
3. MAY contain zero or more [0..\*] interpretationCode (CONF:1141-975).
4. MAY contain zero or more [0..\*] methodCode (CONF:1141-976).
5. MAY contain zero or more [0..\*] targetSiteCode (CONF:1141-977).
6. SHALL contain exactly one [1..1] author (CONF:1141-980).
	1. This author SHALL contain exactly one [1..1] assignedAuthor (CONF:1141-1173).
		1. This assignedAuthor SHALL contain exactly one [1..1] id (CONF:1141-1177).
			1. The @root, @extension, and @assigningAuthorityName shall be taken from the equivalnet attributes of the Device PHMR Product Instance participantRole/id element (CONF:1141-1360).
		2. This assignedAuthor MAY contain zero or one [0..1] assignedPerson (CONF:1141-1193).
			1. The assignedPerson, if present, SHALL contain at least one [1..\*] name (CONF:1141-1194).
		3. This assignedAuthor MAY contain zero or one [0..1] assignedAuthoringDevice (CONF:1141-1174).
			1. The assignedAuthoringDevice, if present, SHALL contain exactly one [1..1] @classCode="DEV" (CONF:1141-1175).
			2. The assignedAuthoringDevice, if present, SHALL contain exactly one [1..1] @determinerCode="INSTANCE" (CONF:1141-1176).
		4. If the data in an observation was obtained directly from a PHM device, the observation SHALL include the assignedAuthoringDevice element and it SHALL NOT include the assignedPerson elelemt. If the data in an observation was entered manually, the observation SHALL include the assignedPerson element and SHALL NOT include the assignedAuthoringDevice element (CONF:1141-1195).

Figure 1: Numeric Observation Example

<observation classCode="OBS" moodCode="EVN">

 <templateId root="2.16.840.1.113883.10.20.36.8" />

 <id root="76c133be-fb37-4cb6-9307-84ef8326cc88" />

 <code>

 <!--PRIMITIVE: MAY be selected from MDC. -->

 </code>

 <text>

 <reference value="XXX">

 <!--PRIMITIVE: This reference/@value SHALL begin with a '#' and SHALL point to its corresponding narrative (using the approach defined in CDA Release 2, section 4.3.5.1)-->

 </reference>

 </text>

 <statusCode code="XXX" />

 <effectiveTime value="20141002182427">

 <low />

 <center />

 <!--PRIMITIVE: Represents clinically effective time of the measurement, which may be when the measurement was performed (e.g., a BP measurement), or may be when sample was taken (and measured some time afterwards).-->

 </effectiveTime>

 <value />

 <interpretationCode />

 <methodCode />

 <targetSiteCode />

 <author>

 <time value="20141002182427" />

 <assignedAuthor>

 <id root="2fb91311-7be7-464c-ba09-856daff80622" />

 </assignedAuthor>

 </author>

 <referenceRange>

 <observationRange>

 <code />

 </observationRange>

 </referenceRange>

</observation>

PHM Measurement Waveform Observation - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.11 (open)]

The PHM Waveform Observation is the entry that contains the actual waveform data. Three entries are typically used to describe waveform data from a device. The 'parent' entry is the PHM Waveform Series observation which contains an entry relationship that contains its own entry relationship that contains the PHM Waveform Sample Period observation. The PHM Waveform Sample Period observation contains the start time and the time between each sample contained in the PHM Waveform observation 'digits' element. Additional entry relationships contain this entry.  The code in this PHM Waveform observation matches the code in the PHM Waveform Series observation. In both cases MDC or SNOMED shall be used, and it is recommended that a translation element to the code system NOT used be present, so both the MDC and SNOMED codes are available to the reader.

Table 24: PHM Measurement Waveform Observation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.11) |
|  @classCode | 1..1 | SHALL |  | [1141-1013](#C_1141-1013) | OBS |
|  @moodCode | 1..1 | SHALL |  | [1141-1014](#C_1141-1014) | EVN |
|  templateId | 1..1 | SHALL |  | [1141-997](#C_1141-997) |  |
|  @root | 1..1 | SHALL |  | [1141-1015](#C_1141-1015) | 2.16.840.1.113883.10.20.36.11 |
|  code | 1..1 | SHALL |  | [1141-998](#C_1141-998) |  |
|  translation | 0..\* | SHOULD |  | [1141-1022](#C_1141-1022) |  |
|  text | 0..1 | SHOULD |  | [1141-1000](#C_1141-1000) |  |
|  reference | 0..1 | SHOULD |  | [1141-1001](#C_1141-1001) |  |
|  @value | 0..1 | SHOULD |  | [1141-1002](#C_1141-1002) |  |
|  value | 1..1 | SHALL | SLIST\_PQ | [1141-1004](#C_1141-1004) |  |
|  origin | 1..1 | SHALL |  | [1141-1023](#C_1141-1023) |  |
|  scale | 1..1 | SHALL |  | [1141-1024](#C_1141-1024) |  |
|  digits | 1..1 | SHALL |  | [1141-1025](#C_1141-1025) |  |
|  @unit | 1..1 | SHALL |  | [1141-1021](#C_1141-1021) | urn:oid:2.16.840.1.113883.1.11.12839 (UnitsOfMeasureCaseSensitive) |

1. SHALL contain exactly one [1..1] @classCode="OBS" (CONF:1141-1013).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CONF:1141-1014).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-997).
	1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.11" Device Waveform observation (CONF:1141-1015).
4. SHALL contain exactly one [1..1] code (CONF:1141-998).
	1. This code SHOULD contain zero or more [0..\*] translation (CONF:1141-1022).
	2. Waveform observations from medical devices SHALL either be from SNOMED (CodeSystem: 2.16.840.1.113883.6.96)  or MDC (CodeSystem: 2.16.840.1.113883.6.24 DYNAMIC). A translation element SHOULD be present providing the MDC code if SNOMED is used or SNOMED if MDC is used. If the specific SNOMED code is not known, the generic code 363681001 (Waveform observable) may be used but only in the translation element. The code element SHALL use the MDC codeing system. An additional translation element MAY be present providing the code from LOINC (CodeSystem: 2.16.840.1.113883.6.1) (CONF:1141-1016).
5. SHOULD contain zero or one [0..1] text (CONF:1141-1000).
	1. The text, if present, SHOULD contain zero or one [0..1] reference (CONF:1141-1001).
		1. The reference, if present, SHOULD contain zero or one [0..1] @value (CONF:1141-1002).
			1. This reference/@value SHALL begin with a '#' and SHALL point to its corresponding narrative (using the approach defined in CDA Release 2, section 4.3.5.1) (CONF:1141-935) (CONF:1141-1019).
6. SHALL contain exactly one [1..1] value with @xsi:type="SLIST\_PQ" (CONF:1141-1004).
	1. This value SHALL contain exactly one [1..1] origin (CONF:1141-1023).
	2. This value SHALL contain exactly one [1..1] scale (CONF:1141-1024).
	3. This value SHALL contain exactly one [1..1] digits (CONF:1141-1025).
	4. This value SHALL contain exactly one [1..1] @unit, which SHALL be selected from ValueSet [UnitsOfMeasureCaseSensitive](#UnitsOfMeasureCaseSensitive) urn:oid:2.16.840.1.113883.1.11.12839 DYNAMIC (CONF:1141-1021).

PHM Measurement Waveform Sample Period Observation - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.13 (open)]

The PHM Waveform Sample observation is the entry that describes the time characteristics (start time and period between each data point) of the actual device waveform data. This entry is contained in the PHM Waveform Series observation as one of the entry relationships. The entry relationship containing this entry is in a child entry relationship. This entry is present only once in the child. Additional child entry relationships contain the actual waveform data as PHM Waveform observations.

Table 25: PHM Measurement Waveform Sample Period Observation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.13) |
|  @classCode | 1..1 | SHALL |  | [1141-1042](#C_1141-1042) | OBS |
|  @moodCode | 1..1 | SHALL |  | [1141-1043](#C_1141-1043) | EVN |
|  templateId | 1..1 | SHALL |  | [1141-1026](#C_1141-1026) |  |
|  @root | 1..1 | SHALL |  | [1141-1033](#C_1141-1033) | 2.16.840.1.113883.10.20.36.11 |
|  code | 1..1 | SHALL |  | [1141-1027](#C_1141-1027) | urn:oid:2.16.840.1.113883.5.4 (ActCode) = TIME\_ABSOLUTE |
|  translation | 0..\* | SHOULD |  | [1141-1035](#C_1141-1035) |  |
|  text | 0..1 | SHOULD |  | [1141-1028](#C_1141-1028) |  |
|  reference | 0..1 | SHOULD |  | [1141-1029](#C_1141-1029) |  |
|  @value | 0..1 | SHOULD |  | [1141-1030](#C_1141-1030) |  |
|  value | 1..1 | SHALL | GLIST\_TS | [1141-1045](#C_1141-1045) | urn:oid:2.16.840.1.113883.5.4 (ActCode) |
|  head | 1..1 | SHALL |  | [1141-1046](#C_1141-1046) |  |
|  @value | 1..1 | SHALL |  | [1141-1047](#C_1141-1047) |  |
|  increment | 1..1 | SHALL |  | [1141-1048](#C_1141-1048) |  |
|  @value | 1..1 | SHALL |  | [1141-1049](#C_1141-1049) |  |
|  @unit | 1..1 | SHALL |  | [1141-1050](#C_1141-1050) | urn:oid:2.16.840.1.113883.1.11.12839 (UnitsOfMeasureCaseSensitive) |

1. SHALL contain exactly one [1..1] @classCode="OBS" (CONF:1141-1042).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CONF:1141-1043).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-1026).
	1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.11" Device Waveform observation (CONF:1141-1033).
4. SHALL contain exactly one [1..1] code="TIME\_ABSOLUTE" Absolute time (CodeSystem: ActCode urn:oid:2.16.840.1.113883.5.4) (CONF:1141-1027).
	1. This code SHOULD contain zero or more [0..\*] translation (CONF:1141-1035).
	2. Waveform observations from medical devices SHALL either be from SNOMED (CodeSystem: 2.16.840.1.113883.6.96)  or MDC (CodeSystem: 2.16.840.1.113883.6.24 DYNAMIC). A translation element SHOULD be present providing the MDC code if SNOMED is used or SNOMED if MDC is used. If the specific SNOMED code is not known, the generic code 363681001 (Waveform observable) may be used but only in the translation element. The code element SHALL use the MDC codeing system. An additional translation element MAY be present providing the code from LOINC (CodeSystem: 2.16.840.1.113883.6.1) (CONF:1141-1034).
5. SHOULD contain zero or one [0..1] text (CONF:1141-1028).
	1. The text, if present, SHOULD contain zero or one [0..1] reference (CONF:1141-1029).
		1. The reference, if present, SHOULD contain zero or one [0..1] @value (CONF:1141-1030).
			1. This reference/@value SHALL begin with a '#' and SHALL point to its corresponding narrative (using the approach defined in CDA Release 2, section 4.3.5.1) (CONF:1141-935) (CONF:1141-1036).
6. SHALL contain exactly one [1..1] value with @xsi:type="GLIST\_TS" (CodeSystem: ActCode urn:oid:2.16.840.1.113883.5.4) (CONF:1141-1045).
	1. This value SHALL contain exactly one [1..1] head (CONF:1141-1046).
		1. This head SHALL contain exactly one [1..1] @value (CONF:1141-1047).
			1. The head element shall contain the start time of the waveform data (CONF:1141-1051).
	2. This value SHALL contain exactly one [1..1] increment (CONF:1141-1048).
		1. This increment SHALL contain exactly one [1..1] @value (CONF:1141-1049).
			1. This value shall be the time between each waveform sample (CONF:1141-1052).
		2. This increment SHALL contain exactly one [1..1] @unit (ValueSet: [UnitsOfMeasureCaseSensitive](#UnitsOfMeasureCaseSensitive) urn:oid:2.16.840.1.113883.1.11.12839) (CONF:1141-1050).
			1. The unit shall indicate the time units of the interval; milliseconds, seconds, etc (CONF:1141-1053).

PHM Measurement Waveform Series Observation - Draft

[observation: identifier urn:oid:2.16.840.1.113883.10.20.36.12 (open)]

Table 26: PHM Measurement Waveform Series Observation Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Vital Signs Organizer (PHMR)](#E_Vital_Signs_Organizer_PHMR) (optional)[Result Organizer (V2)](#E_Result_Organizer_V2) (optional) |  |

The PHM Waveform Series Observation describes a waveform measurement from a medical device. The waveform may contain several data points and thus span an interval of time. To fully describe the device waveform data two additional waveform observation entry types are present in entry relationships, one describing the start time and period, and one of more waveform observation entries containing the data. An entry relationship containing a reference to unstructured content is also a possibility, such as the waveform itself as a jpg image,

Table 27: PHM Measurement Waveform Series Observation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.12) |
|  @classCode | 1..1 | SHALL |  | [1141-1070](#C_1141-1070) | OBSSER |
|  @moodCode | 1..1 | SHALL |  | [1141-1071](#C_1141-1071) | EVN |
|  templateId | 1..1 | SHALL |  | [1141-1054](#C_1141-1054) |  |
|  @root | 1..1 | SHALL |  | [1141-1072](#C_1141-1072) | 2.16.840.1.113883.10.20.36.12 |
|  code | 1..1 | SHALL |  | [1141-1055](#C_1141-1055) |  |
|  translation | 0..\* | SHOULD |  | [1141-1092](#C_1141-1092) |  |
|  text | 0..1 | SHOULD |  | [1141-1057](#C_1141-1057) |  |
|  reference | 0..1 | SHOULD |  | [1141-1058](#C_1141-1058) |  |
|  @value | 0..1 | SHOULD |  | [1141-1059](#C_1141-1059) |  |
|  statusCode | 1..1 | SHALL |  | [1141-1060](#C_1141-1060) |  |
|  @code | 1..1 | SHALL |  | [1141-1077](#C_1141-1077) | completed |
|  effectiveTime | 1..1 | SHALL |  | [1141-1075](#C_1141-1075) |  |
|  low | 1..1 | SHALL |  | [1141-1104](#C_1141-1104) |  |
|  high | 0..1 | SHALL |  | [1141-1105](#C_1141-1105) |  |
|  author | 1..1 | SHALL |  | [1141-1197](#C_1141-1197) |  |
|  assignedAuthor | 1..1 | SHALL |  | [1141-1198](#C_1141-1198) |  |
|  id | 1..1 | SHALL |  | [1141-1202](#C_1141-1202) |  |
|  assignedPerson | 0..1 | MAY |  | [1141-1219](#C_1141-1219) |  |
|  name | 1..\* | SHALL |  | [1141-1220](#C_1141-1220) |  |
|  assignedAuthoringDevice | 0..1 | MAY |  | [1141-1199](#C_1141-1199) |  |
|  @classCode | 1..1 | SHALL |  | [1141-1221](#C_1141-1221) | DEV |
|  @determinerCode | 1..1 | SHALL |  | [1141-1222](#C_1141-1222) | INSTANCE |

1. SHALL contain exactly one [1..1] @classCode="OBSSER" (CONF:1141-1070).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CONF:1141-1071).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-1054).
	1. This templateId SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.36.12" (CONF:1141-1072).
4. SHALL contain exactly one [1..1] code (CONF:1141-1055).
	1. This code SHOULD contain zero or more [0..\*] translation (CONF:1141-1092).
	2. Waveform observations from medical devices SHALL either be from SNOMED (CodeSystem: 2.16.840.1.113883.6.96) or MDC (CodeSystem: 2.16.840.1.113883.6.24 DYNAMIC). A translation element SHOULD be present providing the MDC code if SNOMED is used or SNOMED if MDC is used. If the specific SNOMED code is not known, the generic code 363681001 (Waveform observable) may be used but only in the translation element. The code element SHALL use the MDC codeing system. An additional translation element MAY be present providing the code from LOINC (CodeSystem: 2.16.840.1.113883.6.1) (CONF:1141-1016) (CONF:1141-1073).
5. SHOULD contain zero or one [0..1] text (CONF:1141-1057).
	1. The text, if present, SHOULD contain zero or one [0..1] reference (CONF:1141-1058).
		1. The reference, if present, SHOULD contain zero or one [0..1] @value (CONF:1141-1059).
			1. This reference/@value SHALL begin with a '#' and SHALL point to its corresponding narrative (using the approach defined in CDA Release 2, section 4.3.5.1) (CONF:1141-935) (CONF:1141-1076).
6. SHALL contain exactly one [1..1] statusCode (CONF:1141-1060).
	1. This statusCode SHALL contain exactly one [1..1] @code="completed" Completed (CONF:1141-1077).

Represents the clinically effective time of the measurement, which may be when the measurement was performed if the medical device reports such information when it takes the measaurement or it may be when the data was obtained from the device if the device does not report time. 11073 devices are required to report the time of measurement if the data is stored.

1. SHALL contain exactly one [1..1] effectiveTime (CONF:1141-1075).
	1. This effectiveTime SHALL contain exactly one [1..1] low (CONF:1141-1104).
		1. This timestamp shall be the time of the first data point in the waveform (CONF:1141-1109).
	2. This effectiveTime SHALL contain zero or one [0..1] high (CONF:1141-1105).
		1. This timestamp shall be the time of the last data point in the waveform (CONF:1141-1110).
	3. Effective times containing accuracy greater than a day should contain the local time zone (CONF:1141-1100).
2. SHALL contain exactly one [1..1] author (CONF:1141-1197).
	1. This author SHALL contain exactly one [1..1] assignedAuthor (CONF:1141-1198).
		1. This assignedAuthor SHALL contain exactly one [1..1] id (CONF:1141-1202).
			1. The @root, @extension, and @assigningAuthorityName shall be taken from the equivalnet attributes of the Device PHMR Product Instance participantRole/id element (CONF:1141-1361).
		2. This assignedAuthor MAY contain zero or one [0..1] assignedPerson (CONF:1141-1219).
			1. The assignedPerson, if present, SHALL contain at least one [1..\*] name (CONF:1141-1220).
		3. This assignedAuthor MAY contain zero or one [0..1] assignedAuthoringDevice (CONF:1141-1199).
			1. The assignedAuthoringDevice, if present, SHALL contain exactly one [1..1] @classCode="DEV" (CONF:1141-1221).
			2. The assignedAuthoringDevice, if present, SHALL contain exactly one [1..1] @determinerCode="INSTANCE" (CONF:1141-1222).
		4. If the data in an observation was obtained directly from a PHM device, the observation SHALL include the assignedAuthoringDevice element and it SHALL NOT include the assignedPerson elelemt. If the data in an observation was entered manually, the observation SHALL include the assignedPerson element and SHALL NOT include the assignedAuthoringDevice element (CONF:1141-1201).

Result Observation (V2) - Published

[observation: identifier urn:hl7ii:2.16.840.1.113883.10.20.22.4.2:2014-06-09 (open)]

Table 28: Result Observation (V2) Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Result Organizer (V2)](#Result_Organizer_V2) (required) | [Author Participation](#U_Author_Participation) |

This template represents the results of a laboratory, radiology, or other study performed on a patient.

The result observation includes a statusCode to allow recording the status of an observation. “Pending” results (e.g., a test has been run but results have not been reported yet) should be represented as “active” ActStatus.

Table 29: Result Observation (V2) Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| observation (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.4.2:2014-06-09) |
|  @classCode | 1..1 | SHALL |  | [1098-7130](#C_1098-7130) | urn:oid:2.16.840.1.113883.5.6 (HL7ActClass) = OBS |
|  @moodCode | 1..1 | SHALL |  | [1098-7131](#C_1098-7131) | urn:oid:2.16.840.1.113883.5.1001 (ActMood) = EVN |
|  templateId | 1..1 | SHALL |  | [1098-7136](#C_1098-7136) |  |
|  @root | 1..1 | SHALL |  | [1098-9138](#C_1098-9138) | 2.16.840.1.113883.10.20.22.4.2 |
|  @extension | 1..1 | SHALL |  | [1098-32575](#C_1098-32575) | 2014-06-09 |
|  id | 1..\* | SHALL |  | [1098-7137](#C_1098-7137) |  |
|  code | 1..1 | SHALL |  | [1098-7133](#C_1098-7133) | urn:oid:2.16.840.1.113883.6.1 (LOINC) |
|  statusCode | 1..1 | SHALL |  | [1098-7134](#C_1098-7134) |  |
|  @code | 1..1 | SHALL |  | [1098-14849](#C_1098-14849) | urn:oid:2.16.840.1.113883.11.20.9.39 (Result Status) |
|  effectiveTime | 1..1 | SHALL |  | [1098-7140](#C_1098-7140) |  |
|  value | 0..1 | SHOULD |  | [1098-7143](#C_1098-7143) | urn:oid:2.16.840.1.113883.6.96 (SNOMED CT) |
|  interpretationCode | 0..\* | SHOULD |  | [1098-7147](#C_1098-7147) |  |
|  @code | 1..1 | SHALL |  | [1098-32476](#C_1098-32476) | urn:oid:2.16.840.1.113883.1.11.78 (Observation Interpretation (HL7)) |
|  methodCode | 0..1 | MAY | SET<CE> | [1098-7148](#C_1098-7148) |  |
|  targetSiteCode | 0..1 | MAY | SET<CD> | [1098-7153](#C_1098-7153) |  |
|  author | 0..\* | SHOULD |  | [1098-7149](#C_1098-7149) | [Author Participation (identifier: urn:oid:2.16.840.1.113883.10.20.22.4.119](#U_Author_Participation) |
|  referenceRange | 0..\* | SHOULD |  | [1098-7150](#C_1098-7150) |  |
|  observationRange | 1..1 | SHALL |  | [1098-7151](#C_1098-7151) |  |
|  code | 0..0 | SHALL NOT |  | [1098-7152](#C_1098-7152) |  |
|  value | 1..1 | SHALL |  | [1098-32175](#C_1098-32175) |  |

1. SHALL contain exactly one [1..1] @classCode="OBS" Observation (CodeSystem: HL7ActClass urn:oid:2.16.840.1.113883.5.6 STATIC) (CONF:1098-7130).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CodeSystem: ActMood urn:oid:2.16.840.1.113883.5.1001 STATIC) (CONF:1098-7131).
3. SHALL contain exactly one [1..1] templateId (CONF:1098-7136) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.22.4.2" (CONF:1098-9138).
	2. SHALL contain exactly one [1..1] @extension="2014-06-09" (CONF:1098-32575).
4. SHALL contain at least one [1..\*] id (CONF:1098-7137).
5. SHALL contain exactly one [1..1] code, which SHOULD be selected from CodeSystem LOINC (urn:oid:2.16.840.1.113883.6.1) (CONF:1098-7133).
	1. This code **SHOULD** be a code from the LOINC that identifies the result observation. If an appropriate LOINC code does not exist, then the local code for this result **SHALL** be sent (CONF:1098-19212).
6. SHALL contain exactly one [1..1] statusCode (CONF:1098-7134).
	1. This statusCode SHALL contain exactly one [1..1] @code, which SHALL be selected from ValueSet [Result Status](#Result_Status) urn:oid:2.16.840.1.113883.11.20.9.39 STATIC 2013-08-09 (CONF:1098-14849).
7. SHALL contain exactly one [1..1] effectiveTime (CONF:1098-7140).
Note: Represents the biologically relevant time of the measurement (e.g., the time a blood pressure reading is obtained, the time the blood sample was obtained for a chemistry test).
8. SHOULD contain zero or one [0..1] value, which SHOULD be selected from CodeSystem SNOMED CT (urn:oid:2.16.840.1.113883.6.96) (CONF:1098-7143).
	1. If Observation/value is a physical quantity (**xsi:type**=**"PQ"**), the unit of measure **SHALL** be selected from ValueSet UnitsOfMeasureCaseSensitive 2.16.840.1.113883.1.11.12839 **DYNAMIC** (CONF:1098-31484).
	2. A coded value **MAY** contain zero or more [0..\*] translations, which can be used to represent the original results as output by the lab (CONF:1098-31866).
	3. If Observation/value is a CD (**xsi:type**=**"CD"**) the value SHOULD be SNOMED-CT (CONF:1098-32610).
9. SHOULD contain zero or more [0..\*] interpretationCode (CONF:1098-7147).
	1. The interpretationCode, if present, SHALL contain exactly one [1..1] @code, which SHALL be selected from ValueSet [Observation Interpretation (HL7)](#Observation_Interpretation_HL7) urn:oid:2.16.840.1.113883.1.11.78 STATIC 2014-09-01 (CONF:1098-32476).
10. MAY contain zero or one [0..1] methodCode (CONF:1098-7148).
11. MAY contain zero or one [0..1] targetSiteCode (CONF:1098-7153).
12. SHOULD contain zero or more [0..\*] [Author Participation](#U_Author_Participation) (identifier: urn:oid:2.16.840.1.113883.10.20.22.4.119) (CONF:1098-7149).
13. SHOULD contain zero or more [0..\*] referenceRange (CONF:1098-7150).
	1. The referenceRange, if present, SHALL contain exactly one [1..1] observationRange (CONF:1098-7151).
		1. This observationRange SHALL NOT contain [0..0] code (CONF:1098-7152).
		2. This observationRange SHALL contain exactly one [1..1] value (CONF:1098-32175).

Figure 2: Result Observation (V2) Example

<observation classCode="OBS" moodCode="EVN">

 <templateId root="2.16.840.1.113883.10.20.22.4.2" extension="2014-06-09" />

 <id root="7c0704bb-9c40-41b5-9c7d-26b2d59e234f" />

 <code code="4544-3" displayName="Hematocrit" codeSystem="2.16.840.1.113883.6.1" codeSystemName="LOINC" />

 <statusCode code="completed" />

 <effectiveTime value="200803190830-0800" />

 <value xsi:type="PQ" value="35.3" unit="%" />

 <interpretationCode code="L" codeSystem="2.16.840.1.113883.5.83" />

 <author>

 <time value="200803190830-0800" />

 <assignedAuthor>

 <id extension="333444444" root="1.1.1.1.1.1.1.4" />

 <addr>

 <streetAddressLine>1017 Health Drive</streetAddressLine>

 <city>Portland</city>

 <state>OR</state>

 <postalCode>99123</postalCode>

 <country>US</country>

 </addr>

 <telecom use="WP" value="tel:+1(555)555-1017" />

 <assignedPerson>

 <name>

 <given>William</given>

 <given qualifier="CL">Bill</given>

 <family>Beaker</family>

 </name>

 </assignedPerson>

 <representedOrganization>

 <name>Good Health Laboratory</name>

 </representedOrganization>

 </assignedAuthor>

 </author>

 <referenceRange>

 <observationRange>

 <value xsi:type="IVL\_PQ">

 <low value="34.9" unit="%" />

 <high value="44.5" unit="%" />

 </value>

 </observationRange>

 </referenceRange>

</observation>

Figure 3: Pending Result Observation (V2) Example

<observation classCode="OBS" moodCode="EVN">

 <!-- \*\* Result observation \*\* -->

 <templateId root="2.16.840.1.113883.10.20.22.4.2" extension="2014-06-09" />

 <id root="aed821af-3330-4138-97f0-e84dfe5f3c35" />

 <code code="3094-0" displayName="Urea nitrogen, Serum" codeSystem="2.16.840.1.113883.6.1" codeSystemName="LOINC" />

 <statusCode code="active" />

 <effectiveTime value="200803200930-0800" />

 <value xsi:type="PQ" nullFlavor="NI" />

</observation>

Figure 4: Original Lab Units in <translation> Example

<observation classCode="OBS" moodCode="EVN">

 <!-- \*\* Result observation \*\* -->

 <templateId root="2.16.840.1.113883.10.20.22.4.2" extension="2014-06-09" />

 <id root="a69b3d60-2ffd-4440-958b-72b3335ff35f" />

 <code code="6690-2" displayName="Leukocytes" codeSystem="2.16.840.1.113883.6.1" codeSystemName="LOINC" />

 <statusCode code="completed" />

 <effectiveTime value="200803190830-0800" />

 <value xsi:type="PQ" value="6.7" unit="10\*9/L">

 <translation>

 <originalText>6.7 billion per liter</originalText>

 </translation>

 </value>

 <interpretationCode code="N" codeSystem="2.16.840.1.113883.5.83" />

 <author typeCode="AUT">

 <time value="200803190830-0800" />

 <assignedAuthor>

 <id extension="333444444" root="1.1.1.1.1.1.1.4" />

 </assignedAuthor>

 </author>

 <referenceRange>

 <observationRange>

 <value xsi:type="IVL\_PQ">

 <low value="4.3" unit="10\*9/L" />

 <high value="10.8" unit="10\*9/L" />

 </value>

 </observationRange>

 </referenceRange>

</observation>

Result Organizer (V2) - Published

[organizer: identifier urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2014-06-09 (open)]

Table 30: Result Organizer (V2) Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Results Section (entries optional) (V2)](#S_Results_Section_entries_optional_V2) (optional) | [Author Participation](#U_Author_Participation)[Result Observation (V2)](#E_Result_Observation_V2) |

This template provides a mechanism for grouping result observations. It contains information applicable to all of the contained result observations. The Result Organizer code categorizes the contained results into one of several commonly accepted values (e.g., “Hematology”, “Chemistry”, “Nuclear Medicine”).

If any Result Observation within the organizer has a statusCode of "active", the Result Organizer must also have a statusCode of "active".

Table 31: Result Organizer (V2) Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| organizer (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2014-06-09) |
|  @classCode | 1..1 | SHALL |  | [1098-7121](#C_1098-7121) | urn:oid:2.16.840.1.113883.5.6 (HL7ActClass) |
|  @moodCode | 1..1 | SHALL |  | [1098-7122](#C_1098-7122) | urn:oid:2.16.840.1.113883.5.1001 (ActMood) = EVN |
|  templateId | 1..1 | SHALL |  | [1098-7126](#C_1098-7126) |  |
|  @root | 1..1 | SHALL |  | [1098-9134](#C_1098-9134) | 2.16.840.1.113883.10.20.22.4.1 |
|  @extension | 1..1 | SHALL |  | [1098-32588](#C_1098-32588) | 2014-06-09 |
|  id | 1..\* | SHALL |  | [1098-7127](#C_1098-7127) |  |
|  code | 1..1 | SHALL |  | [1098-7128](#C_1098-7128) |  |
|  statusCode | 1..1 | SHALL |  | [1098-7123](#C_1098-7123) |  |
|  @code | 1..1 | SHALL |  | [1098-14848](#C_1098-14848) | urn:oid:2.16.840.1.113883.11.20.9.39 (Result Status) |
|  effectiveTime | 0..1 | MAY |  | [1098-31865](#C_1098-31865) |  |
|  low | 1..1 | SHALL |  | [1098-32488](#C_1098-32488) |  |
|  high | 1..1 | SHALL |  | [1098-32489](#C_1098-32489) |  |
|  author | 0..\* | SHOULD |  | [1098-31149](#C_1098-31149) | [Author Participation (identifier: urn:oid:2.16.840.1.113883.10.20.22.4.119](#U_Author_Participation) |
|  component | 1..\* | SHALL |  | [1098-7124](#C_1098-7124) |  |
|  observation | 1..1 | SHALL |  | [1098-14850](#C_1098-14850) | [Result Observation (V2) (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.4.2:2014-06-09](#E_Result_Observation_V2) |

1. SHALL contain exactly one [1..1] @classCode (CodeSystem: HL7ActClass urn:oid:2.16.840.1.113883.5.6 STATIC) (CONF:1098-7121).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CodeSystem: ActMood urn:oid:2.16.840.1.113883.5.1001 STATIC) (CONF:1098-7122).
3. SHALL contain exactly one [1..1] templateId (CONF:1098-7126) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.22.4.1" (CONF:1098-9134).
	2. SHALL contain exactly one [1..1] @extension="2014-06-09" (CONF:1098-32588).
4. SHALL contain at least one [1..\*] id (CONF:1098-7127).
5. SHALL contain exactly one [1..1] code (CONF:1098-7128).
	1. **SHOULD** be selected from LOINC (codeSystem 2.16.840.1.113883.6.1) **OR** SNOMED CT (codeSystem 2.16.840.1.113883.6.96), and **MAY** be selected from CPT-4 (codeSystem 2.16.840.1.113883.6.12) (CONF:1098-19218).
	2. Laboratory results **SHOULD** be from LOINC (CodeSystem: 2.16.840.1.113883.6.1) or other constrained terminology named by the US Department of Health and Human Services Office of National Coordinator or other federal agency (CONF:1098-19219).
6. SHALL contain exactly one [1..1] statusCode (CONF:1098-7123).
	1. This statusCode SHALL contain exactly one [1..1] @code, which SHALL be selected from ValueSet [Result Status](#Result_Status) urn:oid:2.16.840.1.113883.11.20.9.39 STATIC 2013-08-09 (CONF:1098-14848).
7. MAY contain zero or one [0..1] effectiveTime (CONF:1098-31865).
Note: The effectiveTime is an interval that spans the effectiveTimes of the contained result observations. Because all contained result observations have a required time stamp, it is not required that this effectiveTime be populated.
	1. The effectiveTime, if present, SHALL contain exactly one [1..1] low (CONF:1098-32488).
	2. The effectiveTime, if present, SHALL contain exactly one [1..1] high (CONF:1098-32489).
8. SHOULD contain zero or more [0..\*] [Author Participation](#U_Author_Participation) (identifier: urn:oid:2.16.840.1.113883.10.20.22.4.119) (CONF:1098-31149).
9. SHALL contain at least one [1..\*] component (CONF:1098-7124) such that it
	1. SHALL contain exactly one [1..1] [Result Observation (V2)](#E_Result_Observation_V2) (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.4.2:2014-06-09) (CONF:1098-14850).

Figure 5: Result Organizer (V2) Example

<organizer classCode="BATTERY" moodCode="EVN">

 <templateId root="2.16.840.1.113883.10.20.22.4.1" extension="2014-06-09" />

 <id root="7d5a02b0-67a4-11db-bd13-0800200c9a66" />

 <code code="57021-8" displayName="CBC W Auto Differential panel in Blood" codeSystem="2.16.840.1.113883.6.1" codeSystemName="LOINC" />

 <statusCode code="completed" />

 <effectiveTime>

 <low value="200803190830-0800" />

 <high value="200803190830-0800" />

 </effectiveTime>

 <author>

 . . .

 </author>

 <component>

 <observation classCode="OBS" moodCode="EVN">

 <!-- \*\* Result observation \*\* -->

 <templateId root="2.16.840.1.113883.10.20.22.4.2" extension="2014-06-09" />

 . . .

 </observation>

 </component>

</organizer>

Result Organizer (V2) - Draft

[organizer: identifier urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2015-02-12 (open)]

Table 32: Result Organizer (V2) Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
|  | [Author Participation](#U_Author_Participation)[PHM Measurement Event Observation](#E_PHM_Measurement_Event_Observation)[PHM Measurement Numeric Observation](#E_PHM_Measurement_Numeric_Observation)[PHM Measurement Waveform Series Observation](#E_PHM_Measurement_Waveform_Series_Obser) |

This template provides a mechanism for grouping result observations. It contains information applicable to all of the contained result observations. The Result Organizer code categorizes the contained results into one of several commonly accepted values (e.g., “Hematology”, “Chemistry”, “Nuclear Medicine”).

If any Result Observation within the organizer has a statusCode of "active", the Result Organizer must also have a statusCode of "active".

Table 33: Result Organizer (V2) Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| organizer (identifier: urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2015-02-12) |
|  @classCode | 1..1 | SHALL |  | [1141-1404](#C_1141-1404) | urn:oid:2.16.840.1.113883.5.6 (HL7ActClass) |
|  @moodCode | 1..1 | SHALL |  | [1141-1405](#C_1141-1405) | urn:oid:2.16.840.1.113883.5.1001 (ActMood) = EVN |
|  templateId | 1..1 | SHALL |  | [1141-1399](#C_1141-1399) |  |
|  @root | 1..1 | SHALL |  | [1141-1406](#C_1141-1406) | 2.16.840.1.113883.10.20.22.4.1 |
|  @extension | 1..1 | SHALL |  | [1141-1407](#C_1141-1407) | 2014-06-09 |
|  id | 1..\* | SHALL |  | [1141-1408](#C_1141-1408) |  |
|  code | 1..1 | SHALL |  | [1141-1400](#C_1141-1400) |  |
|  statusCode | 1..1 | SHALL |  | [1141-1401](#C_1141-1401) |  |
|  @code | 1..1 | SHALL |  | [1141-1411](#C_1141-1411) | urn:oid:2.16.840.1.113883.11.20.9.39 (Result Status) |
|  effectiveTime | 0..1 | MAY |  | [1141-1402](#C_1141-1402) |  |
|  low | 1..1 | SHALL |  | [1141-1413](#C_1141-1413) |  |
|  high | 1..1 | SHALL |  | [1141-1414](#C_1141-1414) |  |
|  author | 0..\* | SHOULD |  | [1141-1412](#C_1141-1412) | [Author Participation (identifier: urn:oid:2.16.840.1.113883.10.20.22.4.119](#U_Author_Participation) |
|  component | 0..\* | MAY |  | [1141-1398](#C_1141-1398) |  |
|  observation | 1..1 | SHALL |  | [1141-1403](#C_1141-1403) | [PHM Measurement Numeric Observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.8](#E_PHM_Measurement_Numeric_Observation) |
|  component | 0..\* | MAY |  | [1141-1417](#C_1141-1417) |  |
|  observation | 1..1 | SHALL |  | [1141-1419](#C_1141-1419) | [PHM Measurement Waveform Series Observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.12](#E_PHM_Measurement_Waveform_Series_Obser) |
|  component | 0..\* | MAY |  | [1141-1418](#C_1141-1418) |  |
|  observation | 1..1 | SHALL |  | [1141-1420](#C_1141-1420) | [PHM Measurement Event Observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.7](#E_PHM_Measurement_Event_Observation) |

1. SHALL contain exactly one [1..1] @classCode (CodeSystem: HL7ActClass urn:oid:2.16.840.1.113883.5.6 STATIC) (CONF:1141-1404).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CodeSystem: ActMood urn:oid:2.16.840.1.113883.5.1001 STATIC) (CONF:1141-1405).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-1399) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.22.4.1" (CONF:1141-1406).
	2. SHALL contain exactly one [1..1] @extension="2014-06-09" (CONF:1141-1407).
4. SHALL contain at least one [1..\*] id (CONF:1141-1408).
5. SHALL contain exactly one [1..1] code (CONF:1141-1400).
	1. **SHOULD** be selected from LOINC (codeSystem 2.16.840.1.113883.6.1) **OR** SNOMED CT (codeSystem 2.16.840.1.113883.6.96), and **MAY** be selected from CPT-4 (codeSystem 2.16.840.1.113883.6.12) (CONF:1141-1409).
	2. Laboratory results **SHOULD** be from LOINC (CodeSystem: 2.16.840.1.113883.6.1) or other constrained terminology named by the US Department of Health and Human Services Office of National Coordinator or other federal agency (CONF:1141-1410).
6. SHALL contain exactly one [1..1] statusCode (CONF:1141-1401).
	1. This statusCode SHALL contain exactly one [1..1] @code, which SHALL be selected from ValueSet [Result Status](#Result_Status) urn:oid:2.16.840.1.113883.11.20.9.39 STATIC (CONF:1141-1411).
7. MAY contain zero or one [0..1] effectiveTime (CONF:1141-1402).
Note: The effectiveTime is an interval that spans the effectiveTimes of the contained result observations. Because all contained result observations have a required time stamp, it is not required that this effectiveTime be populated.
	1. The effectiveTime, if present, SHALL contain exactly one [1..1] low (CONF:1141-1413).
	2. The effectiveTime, if present, SHALL contain exactly one [1..1] high (CONF:1141-1414).
8. SHOULD contain zero or more [0..\*] [Author Participation](#U_Author_Participation) (identifier: urn:oid:2.16.840.1.113883.10.20.22.4.119) (CONF:1141-1412).
9. MAY contain zero or more [0..\*] component (CONF:1141-1398) such that it
	1. SHALL contain exactly one [1..1] [PHM Measurement Numeric Observation](#E_PHM_Measurement_Numeric_Observation) (identifier: urn:oid:2.16.840.1.113883.10.20.36.8) (CONF:1141-1403).
10. MAY contain zero or more [0..\*] component (CONF:1141-1417) such that it
	1. SHALL contain exactly one [1..1] [PHM Measurement Waveform Series Observation](#E_PHM_Measurement_Waveform_Series_Obser) (identifier: urn:oid:2.16.840.1.113883.10.20.36.12) (CONF:1141-1419).
11. MAY contain zero or more [0..\*] component (CONF:1141-1418) such that it
	1. SHALL contain exactly one [1..1] [PHM Measurement Event Observation](#E_PHM_Measurement_Event_Observation) (identifier: urn:oid:2.16.840.1.113883.10.20.36.7) (CONF:1141-1420).

Vital Signs Organizer (PHMR) - Draft

[organizer: identifier urn:hl7ii:2.16.99.99.99:2014-10-02 (open)]

Table 34: Vital Signs Organizer (PHMR) Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Vital Signs Section (PHMR)](#S_Vital_Signs_Section_PHMR) (required) | [Author Participation](#U_Author_Participation)[PHM Measurement Numeric Observation](#E_PHM_Measurement_Numeric_Observation)[PHM Measurement Waveform Series Observation](#E_PHM_Measurement_Waveform_Series_Obser) |

This template provides a mechanism for grouping vital signs (e.g. grouping systolic blood pressure and diastolic blood pressure).

Table 35: Vital Signs Organizer (PHMR) Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| organizer (identifier: urn:hl7ii:2.16.99.99.99:2014-10-02) |
|  @classCode | 1..1 | SHALL |  | [1141-39](#C_1141-39) | urn:oid:2.16.840.1.113883.5.6 (HL7ActClass) = CLUSTER |
|  @moodCode | 1..1 | SHALL |  | [1141-40](#C_1141-40) | urn:oid:2.16.840.1.113883.5.1001 (ActMood) = EVN |
|  templateId | 1..1 | SHALL |  | [1141-35](#C_1141-35) |  |
|  @root | 1..1 | SHALL |  | [1141-41](#C_1141-41) | 2.16.840.1.113883.10.20.22.4.26 |
|  @extension | 1..1 | SHALL |  | [1141-42](#C_1141-42) | 2014-06-09 |
|  id | 1..\* | SHALL |  | [1141-43](#C_1141-43) |  |
|  code | 0..1 | MAY |  | [1141-37](#C_1141-37) |  |
|  @code | 1..1 | SHALL |  | [1141-47](#C_1141-47) | urn:oid:2.16.840.1.113883.6.1 (LOINC) = 8716-3 |
|  @codeSystem | 1..1 | SHALL |  | [1141-48](#C_1141-48) | 2.16.840.1.113883.6.1  |
|  statusCode | 1..1 | SHALL |  | [1141-36](#C_1141-36) |  |
|  @code | 1..1 | SHALL |  | [1141-44](#C_1141-44) | urn:oid:2.16.840.1.113883.5.14 (ActStatus) = completed |
|  effectiveTime | 0..1 | MAY |  | [1141-45](#C_1141-45) |  |
|  author | 0..\* | SHOULD |  | [1141-46](#C_1141-46) | [Author Participation (identifier: urn:oid:2.16.840.1.113883.10.20.22.4.119](#U_Author_Participation) |
|  component | 0..\* | SHOULD |  | [1141-34](#C_1141-34) |  |
|  observation | 1..1 | SHALL |  | [1141-38](#C_1141-38) | [PHM Measurement Numeric Observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.8](#E_PHM_Measurement_Numeric_Observation) |
|  component | 0..\* | MAY |  | [1141-1386](#C_1141-1386) |  |
|  observation | 1..1 | SHALL |  | [1141-1387](#C_1141-1387) | [PHM Measurement Waveform Series Observation (identifier: urn:oid:2.16.840.1.113883.10.20.36.12](#E_PHM_Measurement_Waveform_Series_Obser) |

1. SHALL contain exactly one [1..1] @classCode="CLUSTER" CLUSTER (CodeSystem: HL7ActClass urn:oid:2.16.840.1.113883.5.6 STATIC) (CONF:1141-39).
2. SHALL contain exactly one [1..1] @moodCode="EVN" Event (CodeSystem: ActMood urn:oid:2.16.840.1.113883.5.1001 STATIC) (CONF:1141-40).
3. SHALL contain exactly one [1..1] templateId (CONF:1141-35) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.22.4.26" (CONF:1141-41).
	2. SHALL contain exactly one [1..1] @extension="2014-06-09" (CONF:1141-42).
4. SHALL contain at least one [1..\*] id (CONF:1141-43).
5. MAY contain zero or one [0..1] code (CONF:1141-37).
	1. The code, if present, SHALL contain exactly one [1..1] @code="8716-3" Vital Signs (CodeSystem: LOINC urn:oid:2.16.840.1.113883.6.1) (CONF:1141-47).
	2. The code, if present, SHALL contain exactly one [1..1] @codeSystem="2.16.840.1.113883.6.1 " LOINC (CONF:1141-48).
6. SHALL contain exactly one [1..1] statusCode (CONF:1141-36).
	1. This statusCode SHALL contain exactly one [1..1] @code="completed" Completed (CodeSystem: ActStatus urn:oid:2.16.840.1.113883.5.14 STATIC) (CONF:1141-44).
7. MAY contain zero or one [0..1] effectiveTime (CONF:1141-45).
Note: The effectiveTime is an interval that spans the effectiveTimes of the contained vital signs observations. Because all contained vital signs observations have a required time stamp, it is not required that this effectiveTime be populated.
8. SHOULD contain zero or more [0..\*] [Author Participation](#U_Author_Participation) (identifier: urn:oid:2.16.840.1.113883.10.20.22.4.119) (CONF:1141-46).
9. SHOULD contain zero or more [0..\*] component (CONF:1141-34) such that it
	1. SHALL contain exactly one [1..1] [PHM Measurement Numeric Observation](#E_PHM_Measurement_Numeric_Observation) (identifier: urn:oid:2.16.840.1.113883.10.20.36.8) (CONF:1141-38).
10. MAY contain zero or more [0..\*] component (CONF:1141-1386) such that it
	1. SHALL contain exactly one [1..1] [PHM Measurement Waveform Series Observation](#E_PHM_Measurement_Waveform_Series_Obser) (identifier: urn:oid:2.16.840.1.113883.10.20.36.12) (CONF:1141-1387).

# unspecified

Author Participation - Published

[author: identifier urn:oid:2.16.840.1.113883.10.20.22.4.119 (open)]

Table 36: Author Participation Contexts

| **Contained By:** | **Contains:** |
| --- | --- |
| [Result Observation (V2)](#E_Result_Observation_V2) (optional)[Result Organizer (V2)](#Result_Organizer_V2) (optional)[Vital Signs Organizer (PHMR)](#E_Vital_Signs_Organizer_PHMR) (optional)[Result Organizer (V2)](#E_Result_Organizer_V2) (optional) |  |

This template represents the Author Participation (including the author timestamp). CDA R2 requires that Author and Author timestamp be asserted in the document header. From there, authorship propagates to contained sections and contained entries, unless explicitly overridden.

The Author Participation template was added to those templates in scope for analysis in R2. Although it is not explicitly stated in all templates the Author Participation template can be used in any template.

Table 37: Author Participation Constraints Overview

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **XPath** | **Card.** | **Verb** | **Data Type** | **CONF#** | **Value** |
| author (identifier: urn:oid:2.16.840.1.113883.10.20.22.4.119) |
|  templateId | 1..1 | SHALL |  | [1098-32017](#C_1098-32017) |  |
|  @root | 1..1 | SHALL |  | [1098-32018](#C_1098-32018) | 2.16.840.1.113883.10.20.22.4.119 |
|  time | 1..1 | SHALL |  | [1098-31471](#C_1098-31471) |  |
|  assignedAuthor | 1..1 | SHALL |  | [1098-31472](#C_1098-31472) |  |
|  id | 1..\* | SHALL |  | [1098-31473](#C_1098-31473) |  |
|  code | 0..1 | SHOULD |  | [1098-31671](#C_1098-31671) | urn:oid:2.16.840.1.114222.4.11.1066 (Healthcare Provider Taxonomy (HIPAA)) |
|  assignedPerson | 0..1 | MAY |  | [1098-31474](#C_1098-31474) |  |
|  name | 0..\* | MAY |  | [1098-31475](#C_1098-31475) |  |
|  representedOrganization | 0..1 | MAY |  | [1098-31476](#C_1098-31476) |  |
|  @classCode | 1..1 | SHALL |  | [1098-31477](#C_1098-31477) | ORG |
|  id | 0..\* | MAY |  | [1098-31478](#C_1098-31478) |  |
|  name | 0..\* | MAY |  | [1098-31479](#C_1098-31479) |  |
|  telecom | 0..\* | MAY |  | [1098-31480](#C_1098-31480) |  |
|  addr | 0..\* | MAY |  | [1098-31481](#C_1098-31481) |  |

1. SHALL contain exactly one [1..1] templateId (CONF:1098-32017) such that it
	1. SHALL contain exactly one [1..1] @root="2.16.840.1.113883.10.20.22.4.119" (CONF:1098-32018).
2. SHALL contain exactly one [1..1] time (CONF:1098-31471).
3. SHALL contain exactly one [1..1] assignedAuthor (CONF:1098-31472).
	1. This assignedAuthor SHALL contain at least one [1..\*] id (CONF:1098-31473).
	Note: This id may be set equal to (a pointer to) an id on a participant elsewhere in the document (header or entries) or a new author participant can be described here. If the id is pointing to a participant already described elsewhere in the document, assignedAuthor/id is sufficient to identify this participant and none of the remaining details of assignedAuthor are required to be set. Application Software must be responsible for resolving the identifier back to its original object and then rendering the information in the correct place in the containing section's narrative text. This id must be a pointer to another author participant.
		1. If the ID isn't referencing an author described elsewhere in the document, then the author components required in US Realm Header are required here as well (CONF:1098-32628).
	2. This assignedAuthor SHOULD contain zero or one [0..1] code, which SHOULD be selected from ValueSet [Healthcare Provider Taxonomy (HIPAA)](#Healthcare_Provider_Taxonomy_HIPAA) urn:oid:2.16.840.1.114222.4.11.1066 DYNAMIC (CONF:1098-31671).
		1. If the content is patient authored the code **SHOULD** be selected from Personal And Legal Relationship Role Type (2.16.840.1.113883.11.20.12.1) (CONF:1098-32315).
	3. This assignedAuthor MAY contain zero or one [0..1] assignedPerson (CONF:1098-31474).
		1. The assignedPerson, if present, MAY contain zero or more [0..\*] name (CONF:1098-31475).
	4. This assignedAuthor MAY contain zero or one [0..1] representedOrganization (CONF:1098-31476).
		1. The representedOrganization, if present, SHALL contain exactly one [1..1] @classCode="ORG" (CONF:1098-31477).
		2. The representedOrganization, if present, MAY contain zero or more [0..\*] id (CONF:1098-31478).
		3. The representedOrganization, if present, MAY contain zero or more [0..\*] name (CONF:1098-31479).
		4. The representedOrganization, if present, MAY contain zero or more [0..\*] telecom (CONF:1098-31480).
		5. The representedOrganization, if present, MAY contain zero or more [0..\*] addr (CONF:1098-31481).

Figure 6: New Author Participant Example

<author>

 <templateId root="2.16.840.1.113883.10.20.22.4.119" />

 <time value="201308011235-0800" />

 <assignedAuthor>

 <id root="20cf14fb-b65c-4c8c-a54d-b0cca834c18c" />

 <code code="163W00000X" codeSystem="2.16.840.1.113883.5.53" codeSystemName="Health Care Provider Taxonomy" displayName="Registered nurse" />

 <assignedPerson>

 <name>

 <given>Nurse</given>

 <family>Nightingale</family>

 <suffix>RN</suffix>

 </name>

 </assignedPerson>

 <representedOrganization>

 <id root="2.16.840.1.113883.19.5" />

 <name>Good Health Hospital</name>

 </representedOrganization>

 </assignedAuthor>

</author>

Figure 7: Existing Author Reference Example

<author>

 <time value="201308011235-0800" />

 <assignedAuthor>

 <!--

 This id points to a participant already described

 elsewhere in the document

 -->

 <id root="20cf14fb-b65c-4c8c-a54d-b0cca834c18c" />

 </assignedAuthor>

</author>

# Template Ids in This Guide

Table 38: Template List

| **Template Title** | **Template Type** | **templateId** |
| --- | --- | --- |
| [Personal Healthcare Monitoring Report 1.2](#Personal_Healthcare_Monitoring_Report_1) | document | urn:oid:2.16.840.1.113883.10.20.36 |
| [Universal Realm Header](#D_Universal_Realm_Header) | document | urn:hl7ii:2.16.840.1.113883.10.20.22.1.1:2014-10-11 |
| [Medical Equipment Section (Entries Optional)](#S_Medical_Equipment_Section_Entries_Opt) | section | urn:hl7ii:2.16.840.1.113883.10.20.22.2.23:2015-01-11 |
| [Results Section (entries optional) (V2)](#S_Results_Section_entries_optional_V2) | section | urn:hl7ii:2.16.840.1.113883.10.20.22.2.3:2015-02-12 |
| [Vital Signs Section (PHMR)](#S_Vital_Signs_Section_PHMR) | section | urn:hl7ii:2.16.840.1.113883.10.20.9.2:2014-12-01 |
| [Device Accuracy Observation](#E_Device_Accuracy_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.3 |
| [Device Definition Organizer](#E_Device_Definition_Organizer) | entry | urn:oid:2.16.840.1.113883.10.20.36.4 |
| [Device Measurement Range Observation](#E_Device_Measurement_Range_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.5 |
| [Device PHMR Product Instance Template](#E_Device_PHMR_Product_Instance_Template) | entry | urn:oid:2.16.840.1.113883.10.20.36.9 |
| [Device Resolution Observation](#E_Device_Resolution_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.6 |
| [Device Sampling Frequency Observation](#E_Device_Sampling_Frequency_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.10 |
| [PHM Measurement Event Observation](#E_PHM_Measurement_Event_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.7 |
| [PHM Measurement Numeric Observation](#E_PHM_Measurement_Numeric_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.8 |
| [PHM Measurement Waveform Observation](#E_PHM_Measurement_Waveform_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.11 |
| [PHM Measurement Waveform Sample Period Observation](#E_PHM_Measurement_Waveform_Sample_Perio) | entry | urn:oid:2.16.840.1.113883.10.20.36.13 |
| [PHM Measurement Waveform Series Observation](#E_PHM_Measurement_Waveform_Series_Obser) | entry | urn:oid:2.16.840.1.113883.10.20.36.12 |
| [Result Observation (V2)](#E_Result_Observation_V2) | entry | urn:hl7ii:2.16.840.1.113883.10.20.22.4.2:2014-06-09 |
| [Result Organizer (V2)](#Result_Organizer_V2) | entry | urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2014-06-09 |
| [Result Organizer (V2)](#E_Result_Organizer_V2) | entry | urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2015-02-12 |
| [Vital Signs Organizer (PHMR)](#E_Vital_Signs_Organizer_PHMR) | entry | urn:hl7ii:2.16.99.99.99:2014-10-02 |
| [Author Participation](#U_Author_Participation) | unspecified | urn:oid:2.16.840.1.113883.10.20.22.4.119 |

Table 39: Template Containments

| **Template Title** | **Template Type** | **templateId** |
| --- | --- | --- |
| [Personal Healthcare Monitoring Report 1.2](#Personal_Healthcare_Monitoring_Report_1) | document | urn:oid:2.16.840.1.113883.10.20.36 |
| [Universal Realm Header](#D_Universal_Realm_Header) | document | urn:hl7ii:2.16.840.1.113883.10.20.22.1.1:2014-10-11 |
| [Medical Equipment Section (Entries Optional)](#S_Medical_Equipment_Section_Entries_Opt) | section | urn:hl7ii:2.16.840.1.113883.10.20.22.2.23:2015-01-11 |
| [Device Definition Organizer](#E_Device_Definition_Organizer) | entry | urn:oid:2.16.840.1.113883.10.20.36.4 |
| [Device Accuracy Observation](#E_Device_Accuracy_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.3 |
| [Device Measurement Range Observation](#E_Device_Measurement_Range_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.5 |
| [Device Resolution Observation](#E_Device_Resolution_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.6 |
| [Device Sampling Frequency Observation](#E_Device_Sampling_Frequency_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.10 |
| [Results Section (entries optional) (V2)](#S_Results_Section_entries_optional_V2) | section | urn:hl7ii:2.16.840.1.113883.10.20.22.2.3:2015-02-12 |
| [Result Organizer (V2)](#Result_Organizer_V2) | entry | urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2014-06-09 |
| [Author Participation](#U_Author_Participation) | unspecified | urn:oid:2.16.840.1.113883.10.20.22.4.119 |
| [Result Observation (V2)](#E_Result_Observation_V2) | entry | urn:hl7ii:2.16.840.1.113883.10.20.22.4.2:2014-06-09 |
| [Author Participation](#U_Author_Participation) | unspecified | urn:oid:2.16.840.1.113883.10.20.22.4.119 |
| [Vital Signs Section (PHMR)](#S_Vital_Signs_Section_PHMR) | section | urn:hl7ii:2.16.840.1.113883.10.20.9.2:2014-12-01 |
| [Vital Signs Organizer (PHMR)](#E_Vital_Signs_Organizer_PHMR) | entry | urn:hl7ii:2.16.99.99.99:2014-10-02 |
| [Author Participation](#U_Author_Participation) | unspecified | urn:oid:2.16.840.1.113883.10.20.22.4.119 |
| [PHM Measurement Numeric Observation](#E_PHM_Measurement_Numeric_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.8 |
| [PHM Measurement Waveform Series Observation](#E_PHM_Measurement_Waveform_Series_Obser) | entry | urn:oid:2.16.840.1.113883.10.20.36.12 |
| [Device PHMR Product Instance Template](#E_Device_PHMR_Product_Instance_Template) | entry | urn:oid:2.16.840.1.113883.10.20.36.9 |
| [PHM Measurement Waveform Observation](#E_PHM_Measurement_Waveform_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.11 |
| [PHM Measurement Waveform Sample Period Observation](#E_PHM_Measurement_Waveform_Sample_Perio) | entry | urn:oid:2.16.840.1.113883.10.20.36.13 |
| [Result Organizer (V2)](#E_Result_Organizer_V2) | entry | urn:hl7ii:2.16.840.1.113883.10.20.22.4.1:2015-02-12 |
| [Author Participation](#U_Author_Participation) | unspecified | urn:oid:2.16.840.1.113883.10.20.22.4.119 |
| [PHM Measurement Event Observation](#E_PHM_Measurement_Event_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.7 |
| [PHM Measurement Numeric Observation](#E_PHM_Measurement_Numeric_Observation) | entry | urn:oid:2.16.840.1.113883.10.20.36.8 |
| [PHM Measurement Waveform Series Observation](#E_PHM_Measurement_Waveform_Series_Obser) | entry | urn:oid:2.16.840.1.113883.10.20.36.12 |

# Value Sets In This Guide

Table 40: HL7 BasicConfidentialityKind

|  |
| --- |
| Value Set: HL7 BasicConfidentialityKind urn:oid:2.16.840.1.113883.1.11.16926A value set of HL7 Code indication the level of confidentiality an act.Value Set Source: [http://www.hl7.org/documentcenter/public/standards/vocabulary/vocabulary\_tables/infrastructure/vocabulary/vocabulary.html](http://www.hl7.org/documentcenter/public/standards/vocabulary/vocabulary_tables/infrastructure/vocabulary/vocabulary.html%20)  |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| N | ConfidentialityCode | urn:oid:2.16.840.1.113883.5.25 | normal |
| R | ConfidentialityCode | urn:oid:2.16.840.1.113883.5.25 | restricted |
| V | ConfidentialityCode | urn:oid:2.16.840.1.113883.5.25 | very restricted |

Table 41: Marital Status

|  |
| --- |
| Value Set: Marital Status urn:oid:2.16.840.1.113883.1.11.12212Marital Status is the domestic partnership status of a person.Value Set Source: <http://www.hl7.org> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| A | MaritalStatus | urn:oid:2.16.840.1.113883.5.2 | Annulled |
| D | MaritalStatus | urn:oid:2.16.840.1.113883.5.2 | Divorced |
| T | MaritalStatus | urn:oid:2.16.840.1.113883.5.2 | Domestic partner |
| I | MaritalStatus | urn:oid:2.16.840.1.113883.5.2 | Interlocutory |
| L | MaritalStatus | urn:oid:2.16.840.1.113883.5.2 | Legally Separated |
| M | MaritalStatus | urn:oid:2.16.840.1.113883.5.2 | Married |
| S | MaritalStatus | urn:oid:2.16.840.1.113883.5.2 | Never Married |
| P | MaritalStatus | urn:oid:2.16.840.1.113883.5.2 | Polygamous |
| W | MaritalStatus | urn:oid:2.16.840.1.113883.5.2 | Widowed |

Table 42: Religious Affiliation

|  |
| --- |
| Value Set: Religious Affiliation urn:oid:2.16.840.1.113883.1.11.19185A value set of codes that reflect spiritual faith affiliation.Value Set Source: <http://www.hl7.org/v3ballotarchive_temp_16B8D83E-1C23-BA17-0CBFC625BE7BA72F/v3ballot/html/infrastructure/vocabulary/vocabulary.html#voc-sets> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| 1001 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | Adventist |
| 1002 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | African Religions |
| 1003 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | Afro-Caribbean Religions |
| 1004 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | Agnosticism |
| 1005 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | Anglican |
| 1006 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | Animism |
| 1007 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | Atheism |
| 1008 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | Babi & Baha'I faiths |
| 1009 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | Baptist |
| 1010 | ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 | Bon |
| ... |

Table 43: Race

|  |
| --- |
| Value Set: Race urn:oid:2.16.840.1.113883.1.11.14914Concepts in the race value set include the 5 minimum categories for race specified by OMB along with a more detailed set of race categories used by the Bureau of Census. Value Set Source: <http://phinvads.cdc.gov/vads/ViewCodeSystemConcept.action?oid=2.16.840.1.113883.6.238&code=1000-9> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| 1002-5 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | American Indian or Alaska Native |
| 2028-9 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Asian |
| 2054-5 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Black or African American |
| 2076-8 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Native Hawaiian or Other Pacific Islander |
| 2106-3 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | White |
| 1006-6 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Abenaki |
| 1579-2 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Absentee Shawnee |
| 1490-2 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Acoma |
| 2126-1 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Afghanistani |
| 1740-0 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Ahtna |
| ... |

Table 44: EthnicityGroup

|  |
| --- |
| Value Set: EthnicityGroup urn:oid:2.16.840.1.114222.4.11.837Code System: Race & Ethnicity - CDC 2.16.840.1.113883.6.238Value Set Source: <http://phinvads.cdc.gov/vads/ViewValueSet.action?id=35D34BBC-617F-DD11-B38D-00188B398520> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| 2135-2 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Hispanic or Latino |
| 2186-5 | Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 | Not Hispanic or Latino |

Table 45: ResponsibleParty

|  |
| --- |
| Value Set: ResponsibleParty urn:oid:2.16.840.1.113883.1.11.19830A value set of applicable RoleCodes indicating the role played by a party who has legal responsibility for another party.Value Set Source: <http://www.hl7.org> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| RESPRSN | RoleCode | urn:oid:2.16.840.1.113883.5.111 | responsible party |
| EXCEST | RoleCode | urn:oid:2.16.840.1.113883.5.111 | executor of estate |
| GUADLTM | RoleCode | urn:oid:2.16.840.1.113883.5.111 | guardian ad lidem |
| GUARD | RoleCode | urn:oid:2.16.840.1.113883.5.111 | guardian |
| POWATT | RoleCode | urn:oid:2.16.840.1.113883.5.111 | power of attorney |
| DPOWATT | RoleCode | urn:oid:2.16.840.1.113883.5.111 | durable power of attorney |
| HPOWATT | RoleCode | urn:oid:2.16.840.1.113883.5.111 | healthcare power of attorney |
| SPOWATT | RoleCode | urn:oid:2.16.840.1.113883.5.111 | special power of attorney |

Table 46: Country

|  |
| --- |
| Value Set: Country urn:oid:2.16.840.1.113883.3.88.12.80.63This identifies the codes for the representation of names of countries, territories and areas of geographical interest.Value Set Source: <http://www.iso.org/iso/country_codes/iso_3166_code_lists.htm> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| AW | Country | urn:oid:2.16.840.1.113883.3.88.12.80.63 | Aruba |
| IL | Country | urn:oid:2.16.840.1.113883.3.88.12.80.63 | Israel |
| ... |

Table 47: Language

|  |
| --- |
| Value Set: Language urn:oid:2.16.840.1.113883.1.11.11526A value set of codes defined by Internet RFC 4646 (replacing RFC 3066). Please see ISO 639 language code set maintained by Library of Congress for enumeration of language codes.Value Set Source: [http://www.ietf.org/rfc/rfc4646.txt](http://www.ietf.org/rfc/rfc4646.txt%20)  |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| aa | Language | urn:oid:2.16.840.1.113883.6.121 | Afar |
| ab | Language | urn:oid:2.16.840.1.113883.6.121 | Abkhazian |
| ace | Language | urn:oid:2.16.840.1.113883.6.121 | Achinese |
| ach | Language | urn:oid:2.16.840.1.113883.6.121 | Acoli |
| ada | Language | urn:oid:2.16.840.1.113883.6.121 | Adangme |
| ady | Language | urn:oid:2.16.840.1.113883.6.121 | Adyghe; Adygei |
| ae | Language | urn:oid:2.16.840.1.113883.6.121 | Avestan |
| af | Language | urn:oid:2.16.840.1.113883.6.121 | Afrikaans |
| afa | Language | urn:oid:2.16.840.1.113883.6.121 | Afro-Asiatic (Other) |
| afh | Language | urn:oid:2.16.840.1.113883.6.121 | Afrihili |
| ... |

Table 48: LanguageAbilityMode

|  |
| --- |
| Value Set: LanguageAbilityMode urn:oid:2.16.840.1.113883.1.11.12249This identifies the language ability of the individual. A value representing the method of expression of the language.Value Set Source: <http://www.hl7.org> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| ESGN | LanguageAbilityMode | urn:oid:2.16.840.1.113883.5.60 | Expressed signed |
| ESP | LanguageAbilityMode | urn:oid:2.16.840.1.113883.5.60 | Expressed spoken |
| EWR | LanguageAbilityMode | urn:oid:2.16.840.1.113883.5.60 | Expressed written |
| RSGN | LanguageAbilityMode | urn:oid:2.16.840.1.113883.5.60 | Received signed |
| RSP | LanguageAbilityMode | urn:oid:2.16.840.1.113883.5.60 | Received spoken |
| RWR | LanguageAbilityMode | urn:oid:2.16.840.1.113883.5.60 | Received written |

Table 49: LanguageAbilityProficiency

|  |
| --- |
| Value Set: LanguageAbilityProficiency urn:oid:2.16.840.1.113883.1.11.12199Value Set Source: <http://www.hl7.org> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| E | LanguageAbilityProficiency | urn:oid:2.16.840.1.113883.5.61 | Excellent |
| F | LanguageAbilityProficiency | urn:oid:2.16.840.1.113883.5.61 | Fair |
| G | LanguageAbilityProficiency | urn:oid:2.16.840.1.113883.5.61 | Good |
| P | LanguageAbilityProficiency | urn:oid:2.16.840.1.113883.5.61 | Poor |

Table 50: Administrative Gender (HL7 V3)

|  |
| --- |
| Value Set: Administrative Gender (HL7 V3) urn:oid:2.16.840.1.113883.1.11.1Administrative Gender based upon HL7 V3 vocabulary. This value set contains only male, female and undifferentiated concepts.Value Set Source: <http://www.hl7.org> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| F | AdministrativeGender | urn:oid:2.16.840.1.113883.5.1 | Female |
| M | AdministrativeGender | urn:oid:2.16.840.1.113883.5.1 | Male |
| UN | AdministrativeGender | urn:oid:2.16.840.1.113883.5.1 | Undifferentiated |

Table 51: INDRoleclassCodes

|  |
| --- |
| Value Set: INDRoleclassCodes urn:oid:2.16.840.1.113883.11.20.9.33Value Set Source: <http://www.hl7.org> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| PRS | RoleClass | urn:oid:2.16.840.1.113883.5.110 | personal relationship |
| NOK | RoleClass | urn:oid:2.16.840.1.113883.5.110 | next of kin |
| CAREGIVER | RoleClass | urn:oid:2.16.840.1.113883.5.110 | caregiver |
| AGNT | RoleClass | urn:oid:2.16.840.1.113883.5.110 | agent |
| GUAR | RoleClass | urn:oid:2.16.840.1.113883.5.110 | guarantor |
| ECON | RoleClass | urn:oid:2.16.840.1.113883.5.110 | emergency contact |

Table 52: UnitsOfMeasureCaseSensitive

|  |
| --- |
| Value Set: UnitsOfMeasureCaseSensitive urn:oid:2.16.840.1.113883.1.11.12839The UCUM code system provides a set of structural units from which working codes are built. There is an unlimited number of possible valid UCUM codes.Value Set Source: <http://unitsofmeasure.org/ucum.html> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| min | UCUM | urn:oid:2.16.840.1.113883.6.8 | minute |
| hour | UCUM | urn:oid:2.16.840.1.113883.6.8 | hr |
| % | UCUM | urn:oid:2.16.840.1.113883.6.8 | percent |
| cm | UCUM | urn:oid:2.16.840.1.113883.6.8 | centimeter |
| g | UCUM | urn:oid:2.16.840.1.113883.6.8 | gram |
| g/(12.h) | UCUM | urn:oid:2.16.840.1.113883.6.8 | gram per 12 hour |
| g/L | UCUM | urn:oid:2.16.840.1.113883.6.8 | gram per liter |
| mol | UCUM | urn:oid:2.16.840.1.113883.6.8 | mole |
| [IU] | UCUM | urn:oid:2.16.840.1.113883.6.8 | international unit |
| Hz | UCUM | urn:oid:2.16.840.1.113883.6.8 | Hertz |
| ... |

Table 53: Result Status

|  |
| --- |
| Value Set: Result Status urn:oid:2.16.840.1.113883.11.20.9.39Value Set Source: <http://www.hl7.org> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| aborted | ActStatus | urn:oid:2.16.840.1.113883.5.14 | aborted |
| active | ActStatus | urn:oid:2.16.840.1.113883.5.14 | active |
| cancelled | ActStatus | urn:oid:2.16.840.1.113883.5.14 | cancelled |
| completed | ActStatus | urn:oid:2.16.840.1.113883.5.14 | completed |
| held | ActStatus | urn:oid:2.16.840.1.113883.5.14 | held |
| suspended | ActStatus | urn:oid:2.16.840.1.113883.5.14 | suspended |

Table 54: Observation Interpretation (HL7)

|  |
| --- |
| Value Set: Observation Interpretation (HL7) urn:oid:2.16.840.1.113883.1.11.78Value Set Source: <http://www.hl7.org> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| A | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | abnormal |
| B | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | better |
| Carrier | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | carrier |
| D | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | decreased |
| HX | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | above high threshold |
| I | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | intermediate |
| IND | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | indeterminate |
| LX | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | below low threshold |
| MS | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | moderately susceptible |
| N | HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 | normal |
| ... |

Table 55: Healthcare Provider Taxonomy (HIPAA)

|  |
| --- |
| Value Set: Healthcare Provider Taxonomy (HIPAA) urn:oid:2.16.840.1.114222.4.11.1066The Health Care Provider Taxonomy value set is a collection of unique alphanumeric codes, ten characters in length. The code set is structured into three distinct Levels including Provider Type, Classification, and Area of Specialization. The Health Care Provider Taxonomy code set allows a single provider (individual, group, or institution) to identify their specialty category. Providers may have one or more than one value associated to them. When determining what value or values to associate with a provider, the user needs to review the requirements of the trading partner with which the value(s) are being used.Value Set Source: <http://www.nucc.org/index.php?option=com_content&view=article&id=14&Itemid=125> |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| 171100000X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 | Acupuncturist |
| 363LA2100X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 | Nurse Practitioner - Acute Care |
| 364SA2100X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 | Clinical Nurse Specialist - Acute Care |
| 101YA0400X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 |  Counselor - Addiction (Substance Use Disorder) |
| 103TA0400X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 | Psychologist - Addiction (Substance Use Disorder) |
| 163WA0400X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 | Registered Nurse - Addiction (Substance Use Disorder) |
| 207LA0401X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 | Anesthesiology - Addiction Medicine |
| 207QA0401X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 | Family Medicine - Addiction Medicine |
| 207RA0401X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 | Internal Medicine - Addiction Medicine |
| 2084A0401X | Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 | Psychiatry & Neurology - Addiction Medicine |
| ... |

Table 56: Personal And Legal Relationship Role Type

|  |
| --- |
| Value Set: Personal And Legal Relationship Role Type urn:oid:2.16.840.1.113883.11.20.12.1A personal or legal relationship records the role of a person in relation to another person, or a person to himself or herself. This value set is to be used when recording relationships based on personal or family ties or through legal assignment of responsibility.Value Set Source: [http://www.hl7.org/documentcenter/public/standards/vocabulary/vocabulary\_tables/infrastructure/vocabulary/vocabulary.html](http://www.hl7.org/documentcenter/public/standards/vocabulary/vocabulary_tables/infrastructure/vocabulary/vocabulary.html%20)  |
| **Code** | **Code System** | **Code System OID** | **Print Name** |
| SELF | RoleCode | urn:oid:2.16.840.1.113883.5.111 | self |
| MTH | RoleCode | urn:oid:2.16.840.1.113883.5.111 | mother |
| FTH | RoleCode | urn:oid:2.16.840.1.113883.5.111 | father |
| DAU | RoleCode | urn:oid:2.16.840.1.113883.5.111 | natural daughter |
| SON | RoleCode | urn:oid:2.16.840.1.113883.5.111 | natural son |
| DAUINLAW | RoleCode | urn:oid:2.16.840.1.113883.5.111 | daughter in-law |
| SONINLAW | RoleCode | urn:oid:2.16.840.1.113883.5.111 | son in-law |
| GUARD | RoleCode | urn:oid:2.16.840.1.113883.5.111 | guardian  |
| HPOWATT | RoleCode | urn:oid:2.16.840.1.113883.5.111 | healthcare power of attorney |
| ... |

# Code Systems in This Guide

Table 57: Code Systems

| **Name** | **OID** |
| --- | --- |
| ActCode | urn:oid:2.16.840.1.113883.5.4 |
| ActMood | urn:oid:2.16.840.1.113883.5.1001 |
| ActStatus | urn:oid:2.16.840.1.113883.5.14 |
| AdministrativeGender | urn:oid:2.16.840.1.113883.5.1 |
| ConfidentialityCode | urn:oid:2.16.840.1.113883.5.25 |
| Country | urn:oid:2.16.840.1.113883.3.88.12.80.63 |
| Healthcare Provider Taxonomy (HIPAA) | urn:oid:2.16.840.1.113883.6.101 |
| HITSP-CS-83 | urn:oid:2.16.840.1.113883.5.83 |
| HL7ActClass | urn:oid:2.16.840.1.113883.5.6 |
| HL7Realm | urn:oid:2.16.840.1.113883.5.1124 |
| Language | urn:oid:2.16.840.1.113883.6.121 |
| LanguageAbilityMode | urn:oid:2.16.840.1.113883.5.60 |
| LanguageAbilityProficiency | urn:oid:2.16.840.1.113883.5.61 |
| LOINC | urn:oid:2.16.840.1.113883.6.1 |
| MaritalStatus | urn:oid:2.16.840.1.113883.5.2 |
| Participationsignature | urn:oid:2.16.840.1.113883.5.89 |
| Race & Ethnicity - CDC | urn:oid:2.16.840.1.113883.6.238 |
| ReligiousAffiliation | urn:oid:2.16.840.1.113883.5.1076 |
| RoleClass | urn:oid:2.16.840.1.113883.5.110 |
| RoleCode | urn:oid:2.16.840.1.113883.5.111 |
| SNOMED CT | urn:oid:2.16.840.1.113883.6.96 |
| UCUM | urn:oid:2.16.840.1.113883.6.8 |