SDWG - PHMR Subgroup Meeting

**Logistics:**

 *Date / Time:* Mar. 25, 2015, 10:00am to 11:00am EDT

 *Location:* Telco

 *Facilitator:* Martin Rosner

Note taker: Martin Rosner

-------------------------------------------------------

Meeting information

-------------------------------------------------------

[Join WebEx meeting](https://continuaalliance.webex.com/continuaalliance/j.php?ED=301222953&UID=0&RT=MiMxMQ%3D%3D)

Meeting number:           499 933 849

Join by phone
**1-650-479-3208** Call-in toll number (US/Canada)
Access code: 499 933 849
[Global call-in numbers](https://continuaalliance.webex.com/continuaalliance/globalcallin.php?serviceType=MC&ED=301222953&tollFree=0)

Can't join the meeting? [Contact support.](https://continuaalliance.webex.com/continuaalliance/mc)
-------------------------------------------------------

**Attendees:**

|  |  |  |
| --- | --- | --- |
| Name | Affiliation | Present |
| Vinayak Kulkarni | Cerner | X |
| Martin Rosner | Philips | X |
| Brian Reinhold | Lamprey Networks | X |
| Chris Johnson | Blue Cross / Blue Shield |  |
| Asim Muhammad | Philips |  |
| Darrell Woelk | SocialCare |  |
| Igor Gejdos | Roche |  |
| Russ Leftwich | State of Tenn. |  |

**Agenda:**

1. Review of latest draft

**Minutes Approval:**

Minutes from March 11, 2014 – approved

**Action Items:**

* Martin & VK – review the 13 entries – VK (1-7) – Martin (8-13) –
* Martin – find the correct document template for the ballot (with correct copyright, title page …) - DONE
* Brian – finish drafting PHMR results section in Trifolia – in progress
1. **Review of latest draft**

**Input from Brian**

Most of the work has been example addition and Brian also edited typos. Brian also added ‘label’ text for clarifications and information in some places where I find the Trifolia-generated text too ‘thin’.

An item that needs to be discussed is the handling of attributes like MDC\_MODALITY\_SPOT which further ‘describe’ a measurement. How do we create the CDA equivalent to capture these attributes? If it is mapable then you may put it in a CDA element. If not then you put it in the entry relationship observation. Example text would be:

Some devices report attributes that modify the observation in some way, for example the Supplemental Types attribute of IEEE 11073 20601 devices. If there is a clear CDA equivalent for the concept, the CDA equivalent MAY be used, such as the targetSiteCode element for a measurement taken on a certain body location or the entryRelationship/procedure/specimen/targetSiteCode if the measurement was taken from a sample drawn at a certain body location, or the participant element if the attribute indicates something about how the measurement was taken (such as a tester, self, doctor, etc.). If no clear CDA equivalent can be found, the entryRelationship entry as described SHALL be used (CONF:1141-1548).

The latest implementation guide draft can be reviewed here:

<http://wiki.hl7.org/images/4/4e/Personal_Healthcare_Monitoring_Report_1.2-Mar.25.2015.docx>

**Examples**

* Brian is creating the examples. We will have a valid sample file for the submission.

**AOB**

**Next Regular Call**

* April 1, 2015