| V 2.9 HL7 Proposal |
| --- |
| Change Request ID: | To be Defined |
| File Name: | New data type for List |
| Description: | New data type for List |
| Status: | New Proposal |
| Sponsoring Person | Clement J. McDonald & Swapna Abhyankar (NLM) |
| Sponsoring Business Unit | Orders & Observations |
| Date Originated: | 08/14/2013 |
| Date HL7 approved: |  |
| Backward Compatible: | Yes |
| Forward Compatible: | Yes |
| HL7 Status & Date |  |

# Justification Detail:

We request 2 new HL7 data types – analogous to the existing CWE (coded with exceptions) and CNE (coded no exceptions) –to permit sending a list of delimited encoded values in a single OBX. We are tentatively calling these LWE (list of coded values with exceptions) and LNE (list of coded values no exceptions).

We have seen a need in many contexts for an OBX data type that would accommodate lists of coded values in OBX-5. Currently, more than one value can only be included if each value by itself is a fragment of a concept, and all of the values taken together reflect the concept as a whole. We propose to add a new HL7 data type that would permit delivery of a list of encoded values  in a single OBX segment.

The following are examples of contexts in which the new data type would be useful:

1) Reporting specific or somatic mutations that can be detected in a single mutation analysis (can exceed 100's; 1 example study has more than 800);

2) Reporting genes that are being examined in a single study (40+ different genes may be explored for oncogenes); and

3) Reporting the list of conditions tested for in a particular newborn screening laboratory (depending on the state, can exceed 40 conditions).

In general, genetics testing labs and state newborn screening labs resist reporting these individual elements in a series of independent OBX segments because having one item per line makes them unpalatably bulky for human review (as described below).

So we request a new data type to permit the delivery of a "list of codes."  With this data type, the repeat delimiter (~) would separate the multiple values for the same variable, and the receiver would know that each value is an independent concept and would not combine them into one single  composite concept. We would most likely need two individual data types that are analogous to the existing CWE (coded with exceptions) and CNE (coded no exceptions), since our intent is to send coded values as a list. We are tentatively calling these LWE (list of coded values with exceptions) and LNE (list of coded values no exceptions).

As Hans Buitendijk noted when we first inquired about this option, it is true that in principle, one could do something similar with a whole chain of OBX's with distinction in OBX-4, and that is the only way to do it now. But in our experience there is tremendous resistance to this. The HRSA/NLM orchestrated approach to reporting newborn screening results is currently being adopted by 20 some states, and none of them follow the advice of putting the many “conditions tested for” into separate OBX's. Instead, states dump them into an NTE (or other equivalent) field.  The same happens in genetic testing, where tens or hundreds of mutations are tested for, but only a few are positive. In this case, they just list the names of the mutations tested for in narrative comments.

We believe that the cause of this resistance is the way a series of OBX results is routinely presented in their display programs -- one per line, which  yields a very unreadable report. They get  10’s or 100’s of lines showing only one short string that is relevant per line. And users find it objectionable, because it is not their main point of interest.

There is already a precedent – since 1999 (HL7 v2.3.1) – for this kind of data type in the way waveform data are reported. Waveform specific data types and observation ID suffixes were originally developed for EEG reporting. A single result segment with the Observation ID suffix WAV can transmit a given set of waveform data for all channels over time. The WAV category result segment can have either an NA (numeric array) or MA (multiplexed array) data type. With the MA data type, the results for each channel at one point in time are separated by hats, with the successive points in time separated by the repeat delimiter.  For example:

OBX|3|MA|5&WAV^^99SVL|1|0^0^0~1^1^1~2^2^2~3^3^3~4^4^4~5^5^5~6^6^6~7^7^7~8^8^8~7^7^7~6^6^6~5^5^5~4^4^4~3^3^3~2^2^2~1^1^1~0^0^0~-1^-1^-1~-2^-2^-2~-3^-3^-3~-4^-4^-4~-5^-5^-5~-6^-6^-6~-7^-7^-7~-8^-8^-8||||||F|...<cr>.

We want to add the new List of Codes data types to create a better way to store and report each result/observation as a coded entity. We have found enthusiasm for this option in many quarters of HL7, including public health and genetics.

## Different Methods for Reporting Cystic Fibrosis Mutations

### Reporting CF Mutations Using Proposed New List of Codes Data Type (276 characters)

Here is an example using data type LWE (list of coded values with exceptions) to report 10 Cystic Fibrosis mutations, where the mutations are highlighted in red font (note that some labs test for as many as 140 mutations):

OBX|1|LWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|1|c.254G>A^^HGVS~c.350G>A^^HGVS~c.489+1G>T^^HGVS~c.579+1G>T^^HGVS~c.1000C>T^^HGVS~c.1040G>C^^HGVS~c.1364C>A^^HGVS~c.1519_1521del^^HGVS~c.1521_1523del^^HGVS~c.1585-1G>A^^HGVS|||N|||F

This is a much simpler and more digestible format than the current HL7 capacity to send coded lists of answers with one answer per  single OBX, which requires separate OBX segments, incrementally numbered in OBX-4, with a unique code in OBX-5 for each test performed (or mutation found, etc), and would be displayed as a simple running list by most EMR programs that digested such a message.

### Reporting CF Mutations Using Current HL7 Guidance (1,214 characters)

Here is an example reporting the same 10 CF mutations as one code per OBX:

OBX|1|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|1|c.254G>A^^HGVS|||N|||F

OBX|2|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|2|c.350G>A^^HGVS|||N|||F

OBX|3|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|3|c.489+1G>T^^HGVS|||N|||F

OBX|4|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|4|c.579+1G>T^^HGVS|||N|||F

OBX|5|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|5|c.1000C>T^^HGVS|||N|||F

OBX|6|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|6|c.1040G>C^^HGVS|||N|||F

OBX|7|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|7|c.1364C>A^^HGVS|||N|||F

OBX|8|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|8|c.1519_1521del^^HGVS|||N|||F

OBX|9|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|9|c.1521_1523del^^HGVS|||N|||F

OBX|10|CWE|21656-4^CFTR gene mutations tested for in Blood or Tissue by Molecular genetics method Nominal ^LN|10|c.1585-1G>A^^HGVS|||N|||F

## Different Methods for Reporting Newborn Screening Conditions/Disorders Screened

A more extreme example, showing the current method to report conditions tested for in a newborn screening study (which can number more than 100 in some states, and for nearly all states at least includes the 31 core conditions from the Recommended Uniform Screening Panel).

### Reporting Using Proposed New List of Codes Data Type (1,866 characters)

OBX|1|LWE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|1|15188001^Hearing loss (HEAR)^SCT~ PENDING-LAcodeRequested^Critical congenital heart disease (CCHD)^LN~41013004^Arginosuccinic aciduria (ASA)^SCT~398680004^Citrullinemia type I (CIT-I)^SCT~29914000^Dihydrolipoamide dehydrogenase deficiency (E3)^SCT~11282001^Homocystinuria (HCY)^SCT~27718001^Maple syrup urine disease (MSUD)^SCT~7573000^Phenylketonuria (PKU)^SCT~410056006Tyrosinemia type I (TYR-1)^SCT~21764004^Carnitine uptake defect (CUD)^SCT~307127004^Long-chain L-3-Hydroxy acyl-CoA dehydrogenase deficiency (LCHAD)^SCT~128596003^Medium-chain acyl-CoA dehydrogenase deficiency (MCAD)^SCT~237999008^Trifunctional protein deficiency (TFP)^SCT~237997005^Very long-chain acyl-CoA dehydrogenase deficiency (VLCAD)^SCT~410059004^3-Hydroxy-3-methylglutaric aciduria (HMG)^SCT~13144005^3-Methylcrotonyl-CoA carboxylase deficiency (3-MCC)^SCT~76175005^Glutaric acidemia type I (GA-1)^SCT~87827003^Isovaleric academia (IVA)^SCT~73843004^Methylmalonic acidemia  (CBL A)^SCT~82245003^Methylmalonic acidemia (CBL B)^SCT~124680001^Methylmalonic acidemia (MUT)^SCT~360369003^Multiple carboxylase deficiency (MCD)^SCT~360369003^Multiple carboxylase deficiency (MCD)^SCT~69080001^Propionic acidemia^SCT~237953006^beta-Ketothiolase deficiency (BKT)^SCT~190905008^Cystic fibrosis (CF)^SCT~237754008^Congenital Adrenal Hyperplasia (non-classical) (CAH (NC))^SCT~71578002^Congenital Adrenal Hyperplasia (salt-wasting) (CAH (SW))^SCT~52604008^Congenital Adrenal Hyperplasia (simple virilizing) (CAH (SV))^SCT~190268003^Primary Congenital Hypothyroidism (CH)^SCT~127041004^Hb S beta-thalassemia (Hb F,S,A)^SCT~35434009^Hb SC-disease (Hb F,S,C)^SCT~127040003^Hb SS-disease (sickle cell anemia)(Hb F,S)^SCT~8808004^Biotinidase Deficiency (BIO)^SCT~398664009^Classical galactosemia (galactose-1-phosphate uridyltransferase deficiency) (GALT)^SCT~31323000^Severe combined immunodeficiency (SCID)^SCT|||N|||F

### Recommended Guidance from NLM and HRSA for State Newborn Screening Results HL7 Messages (5,404 characters)

OBX|1|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|1|15188001^Hearing loss (HEAR)^SCT|||N|||F

OBX|2|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|2|PENDING-LAcodeRequested^Critical congenital heart disease (CCHD)^LN|||N|||F

OBX|3|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|3|41013004^Arginosuccinic aciduria (ASA)^SCT|||N|||F

OBX|4|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|4|398680004^Citrullinemia type I (CIT-I)^SCT|||N|||F

OBX|5|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|5|29914000^Dihydrolipoamide dehydrogenase deficiency (E3)^SCT|||N|||F

OBX|6|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|6|11282001^Homocystinuria (HCY)^SCT|||N|||F

OBX|7|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|7|27718001^Maple syrup urine disease (MSUD)^SCT|||N|||F

OBX|8|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|8|7573000^Phenylketonuria (PKU)^SCT|||N|||F

OBX|9|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|9|410056006Tyrosinemia type I (TYR-1)^SCT|||N|||F

OBX|10|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|10|21764004^Carnitine uptake defect (CUD)^SCT|||N|||F

OBX|11|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|11|307127004^Long-chain L-3-Hydroxy acyl-CoA dehydrogenase deficiency (LCHAD)^SCT|||N|||F

OBX|12|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|12|128596003^Medium-chain acyl-CoA dehydrogenase deficiency (MCAD)^SCT|||N|||F

OBX|13|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|13|237999008^Trifunctional protein deficiency (TFP)^SCT|||N|||F

OBX|14|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|14|237997005^Very long-chain acyl-CoA dehydrogenase deficiency (VLCAD)^SCT|||N|||F

OBX|15|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|15|410059004^3-Hydroxy-3-methylglutaric aciduria (HMG)^SCT|||N|||F

OBX|16|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|16|13144005^3-Methylcrotonyl-CoA carboxylase deficiency (3-MCC)^SCT|||N|||F

OBX|17|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|17|76175005^Glutaric acidemia type I (GA-1)^SCT|||N|||F

OBX|18|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|18|87827003^Isovaleric academia (IVA)^SCT|||N|||F

OBX|19|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|19|73843004^Methylmalonic acidemia  (CBL A)^SCT|||N|||F

OBX|20|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|20|82245003^Methylmalonic acidemia (CBL B)^SCT|||N|||F

OBX|21|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|21|124680001^Methylmalonic acidemia (MUT)^SCT|||N|||F

OBX|22|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|22|360369003^Multiple carboxylase deficiency (MCD)^SCT|||N|||F

OBX|23|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|23|69080001^Propionic acidemia^SCT|||N|||F

OBX|24|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|24|237953006^beta-Ketothiolase deficiency (BKT)^SCT|||N|||F

OBX|25|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|25|190905008^Cystic fibrosis (CF)^SCT|||N|||F

OBX|26|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|26|237754008^Congenital Adrenal Hyperplasia (non-classical) (CAH (NC))^SCT|||N|||F

OBX|27|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|27|71578002^Congenital Adrenal Hyperplasia (salt-wasting) (CAH (SW))^SCT|||N|||F

OBX|28|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|28|52604008^Congenital Adrenal Hyperplasia (simple virilizing) (CAH (SV))^SCT|||N|||F

OBX|29|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|29|190268003^Primary Congenital Hypothyroidism (CH)^SCT|||N|||F

OBX|30|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|30|127041004^Hb S beta-thalassemia (Hb F,S,A)^SCT|||N|||F

OBX|31|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|31|35434009^Hb SC-disease (Hb F,S,C)^SCT |||N|||F

OBX|32|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|32|127040003^Hb SS-disease (sickle cell anemia)(Hb F,S)^SCT|||N|||F

OBX|33|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|33|8808004^Biotinidase Deficiency (BIO)^SCT|||N|||F

OBX|34|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|34|398664009^Classical galactosemia (galactose-1-phosphate uridyltransferase deficiency) (GALT)^SCT|||N|||F

OBX|35|CE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|35|31323000^Severe combined immunodeficiency (SCID)^SCT|||N|||F

### Actual Implementation – Example State Newborn Screening Results HL7 Messages

- One state is not sending any information about disorders screened for.

- Example of using a ZNB segment to list the disorders screened for:

ZNB|1|ST||Disorders Screened: FATTY ACID OXIDATION DISORDERS: Med.-chain acyl-CoA dehydrogenase def. (MCAD), Very long chain acyl-CoA dehydrogenase def. (VLCAD), Long chain acyl-CoA dehydrogenase (LCHAD), Trifunctional protein def. (TFP), Carnitine/Acylcarnitine translocase def. (CAT), Short chain acyl-CoA dehydrogenase def. (SCAD), Carnitine membrane transporter def. (CUD), Carnitine palmitoyl transferase def. I (CPT), Glutaric Acidemia Type 2 (GA 2, or Multiple acyl-CoA dehydrogenase def. (MADD)), Carnitine Palmitoyl Transferase Type 1 (CPT 1), Carnitine Uptake Deficiency (CUD).  AMINO ACIDEMIAS: Arginosuccinic Acidemia (ASA), Citrullinemia (CIT), Tyrosinemia types I & II (TYR I, II), Hypermethionemia (MET), Maple syrup urine disease (MSUD), Homocystinuria (HCY), Argininemia (ARG). ORGANIC ACIDEMIAS: Isovaleric acidemia (IVA), Glutaric acidemia I (GA-I), 3-OH 3-methyl glutaric aciduria (HMG), Multiple carboxylase def. (MCD), 3Âmethyl crotonyl-CoA carboxylase def. (3-MCCD), 3-methylglutaconic aciduria (3MGA), Methylmalonic acidemia (MMA), Propionic acidemia (PA), Beta-ketothiolase def. (SKAT), Malonic Acidemia (MAL).

- Example of using a bunch of NTE segments for disorders screened and other info:

NTE|1|L|*Effective January 10, 2011 - Congenital Adrenal Hyperplasia-17OHP normal weight based limits: <1500g < 70 ng/mL; 1500g-2500g < 40 ng/mL; >2500g < 25 ng/mL.

NTE|2|L|  Normal for repeat specimens is <25 ng/mL.

NTE|3|L|**T4- Normal for specimens from infants < 4 weeks of age is 5-27 ug/dL.

NTE|4|L|  Normal T4 for specimens from infants > or = 4 weeks of age is 5-19 ug/dL.

NTE|5|L|  Normal TSH is <20uU/mL.

NTE|6|L|***IRT - Normal for initial specimens from infants < 4 weeks of age is <58 ng/mL.

NTE|7|L|  IRT - Normal for initial specimens from infants > or = 4 weeks of age is <50 ng/mL.

NTE|8|L|  IRT - Normal for repeat specimens (regardless of age) is <50 ng/mL.

NTE|9

NTE|10|L|TESTS CONDUCTED:

NTE|11|L|Enzyme Immunoassay: Congenital Adrenal Hyperplasia (CAH), Congenital Hypothyroidism (CH), Cystic Fibrosis (CF)

NTE|12|L|Colorimetric Assay: Biotinidase Deficiency

NTE|13|L|Fluorometric Assay: Galactosemia

NTE|14|L|High Performance Liquid Chromatography (HPLC): Hemoglobinopathies

NTE|15

NTE|16|L|Tandem Mass Spectrometry (MS/MS):

NTE|17|L|Fatty Acid Oxidation Disorders: Medium-chain acyl-CoA dehydrogenase deficiency (MCADD), Very long-chain acyl-CoA dehydrogenase deficiency (VLCADD),

NTE|18|L|Long-chain 3-hydroxyacyl-CoA dehydrogenase deficiency (LCHADD), Trifunctional protein deficiency (TFP), Carnitine uptake defect (CUD), Carnitine acylcarnitine

NTE|19|L|translocase deficiency (CACT), Carnitine palmitoyl transferase I deficiency (CPT-I), Carnitine palmitoyl transferase II deficiency (CPT-II), Glutaric acidemia type II

NTE|20|L|(GA-II), Short-chain acyl-CoA dehydrogenase deficiency (SCADD)

NTE|21|L|Amino Acid Disorders: Argininosuccinic acidemia (ASA), Citrullinemia Type I (CIT-I), Tyrosinemia Type I (TYR-I), Maple syrup urine disease (MSUD),

NTE|22|L|Homocystinuria (HCY), Phenylketonuria (PKU), Argininemia (arginase deficiency) (ARG), Citrullinemia Type II (CIT-II), Hyperphenylalaninemia (H-PHE),

NTE|23|L|Hypermethioninemia (MET), Tyrosinemia Type II (TYR-II), Tyrosinemia Type III (TYR-III), Nonketotic Hyperglycinemia (NKHG)

NTE|24|L|Organic Acid Disorders: Beta-ketothiolase deficiency (BKT), Isovaleric acidemia (IVA), Glutaric acidemia Type I (GA-I), 3-Hydroxy-3-methylglutaric aciduria (HMG),

NTE|25|L|Multiple carboxylase deficiency (MCD), 3-Methylcrotonyl-CoA carboxylase deficiency (3MCC), Methylmalonic acidemia (MMA Cbl A, B, C, D), Methylmalonyl-CoA

NTE|26|L|mutase deficiency (MUT), Propionic acidemia (PA), 2-Methyl-3-Hydroxybutyric aciduria (2M3HBA), 3-Methylglutaconic aciduria (3MGA), Isobutyryl-CoA

NTE|27|L|dehydrogenase deficiency (IBD), Malonic acidemia (MAL), Ethylmalonic encephalopathy (EE), 2-Methylbutyryl-CoA dehydrogenase deficiency(2MBDH)

NTE|28

NTE|29|L|The laboratory values in this report represent screening test results and are intended to identify infants at risk for selected

NTE|30|L|disorders and in need of more definitive testing.  The above results should be correlated clinically with consideration of age at the

NTE|31|L|time of collection, nutrition, birth weight, prematurity, health status, and treatments.  It is very important for physicians to be

NTE|32|L|aware that a negative screening result does not indicate with certainty the absence of the above listed disorders.  The physician

NTE|33|L|should be alert to the clinical symptoms of these conditions, so that diagnosis and treatment can take place as early as possible in

NTE|34|L|infants who are not identified through the newborn screening program.

# Open Issues:

No known issues

# Change Request Impact:

No known impact.

# Documentation Changes:

Amend Chapter 7 (sections 7.4.1.2 OBX-2 Value Type and 7.4.1.5 OBX-5), chapter 2A, and HL7 Table 0125 – Value Types, to add data types LWE (list of coded values with exception) and LNE (list of coded values no exceptions).

HL7 v2.8.1

#### 7.4.1.2 OBX-2   Value Type   (ID)   00570

Definition:  This field defines the data type of OBX-5, Observation Value.  This field is required if OBX-11-Observ result status is not valued with an "X".  See HL7 Table 0125 – Value Types for valid values.

For example, if the value is ‘CWE’ then the result in OBX-5 must be a coded entry or text or both. As of v2.7, the ST data type may not be used to transmit data that can be more precisely transmitted using other data types, e.g. SN when comparative symbols are needed.

CQ is invalid because units for OBX-5-observation value are always specified explicitly in an OBX segment with OBX-6 units.  SI is invalid because it only applies to HL7 message segments; ID is also invalid because it requires a constant field definition.

The RP value (reference pointer) must be used if the OBX-5 contains a pointer to the data e.g., a URL of an image. The receiving system can use this reference pointer whenever it needs access to the actual data through other interface standards, e.g., DICOM, or through appropriate data base servers.

The structured numeric (SN) data type provides for reporting ranges (e.g., 3-5 or 10-20), titres (e.g., 1:10), and out-of-range indicators (e.g., >50) in a structured and computer-interpretable way.

We allow the FT data type in the OBX segment, but its use is discouraged.  Formatted text usually implies a meaningful structure, e.g., a list of three independent diagnoses reported on different lines.  But ideally, the structure in three independent diagnostic statements would be reported as three separate OBX segments.

TX should not be used except to send large amounts of text.  In the TX data type, the repeat delimiter can only be used to identify paragraph breaks.  Use ST to send short, and possibly encodable, text strings.

CDA documents are to be exchanged in the OBX segment in any message that can exchange documents (such as MDM or ORU).  Within the OBX segment, the MIME package is encoded as an encapsulated (ED) data type.

#### HL7 v2.8.1

#### 7.4.1.5 OBX-5   Observation Value   (varies)   00573

Definition:  This field contains the value observed by the observation producer.  OBX-2-value type contains the data type for this field according to which observation value is formatted.  It is not a required field because some systems will report only the Interpretation Codes (OBX-8), especially in product experience reporting.  The length of the observation field is variable, depending upon OBX-3-value type.   This field may repeat for multipart CWE and CNE  single answer results. It may also repeat when the data type is LWE, or LNE ( new data types), which permit the delivery of lists of singlepart coded answers, e.g, the list of mutations tested for, the list of newborn screening diseases screened for, and other such lists.

Representation

This field contains the value of OBX-3-observation identifier of the same segment.  Depending upon the observation, the data type may be a number (e.g., a respiratory rate), a coded answer (e.g., a pathology impression recorded as SNOMED), or a date/time (the date/time that a unit of blood is sent to the ward).  An observation value is always represented as the data type specified in OBX-2-value type of the same segment.  Whether numeric or short text, the answer shall be recorded in ASCII text.

Reporting logically independent observations

The main sections of dictated reports, such as radiologic studies or history and physicals, are reported as separate OBX segments.  In addition, each logically independent observation should be reported in a separate OBX segment, i.e., one OBX segment should not contain the result of more than one logically independent observation.  This requirement is included to assure that the contents of OBX-6-units, OBX-8-interpretation codes, and OBX-9-probability can be interpreted unambiguously.  The electrolytes and vital signs batteries, for example, would each be reported as four separate OBX segments.  Two diagnostic impressions, e.g., congestive heart failure and pneumonia, would also be reported as two separate OBX segments whether reported as part of a discharge summary or chest X-ray report.  Similarly, two bacterial organisms isolated in a single bacterial culture would be reported as two separate OBX segments.

Though two independent diagnostic statements cannot be reported in one OBX segment, multiple categorical responses are allowed (usually as CWE data types separated by repeat delimiters), so long as they are fragments (modifiers) that together construct one diagnostic statement.  Right upper lobe (recorded as one code) and pneumonia (recorded as another code), for example, could be both reported in one OBX segment.  Such multiple "values" would be separated by repeat delimiters.

Multiple OBX segments with the same observation ID and Sub ID

In some systems, a single observation may include fragments of more than one data type.  The most common example is a numeric result followed by coded comments (CWE).  In this case, the logical observation can be sent in more than one OBX segment.  For example, one segment of numeric or string data type for the numeric result and another segment of CWE data type for coded comments.  If the producer was reporting multiple coded comments they would all be sent in one OBX segment separated by repeat delimiters because they all modified a single logical observation.  Multiple OBX segments with the same observation ID and sub ID should always be sent in sequence with the most significant OBX segment (the one that has the normal flag/units and or reference range and status flag) first.  The value of OBX-6 through 12 should be null in any following OBX segments with the same OBX-3-observation identifier and OBX-4-observation sub-ID.  For the purpose of replacement or deletion, multiple OBX segments with the same observation ID and sub ID are treated as a unit.  If any are replaced or deleted, they all are replaced.

Coded values

When an OBX segment contains values of CWE data types, the observations are stored as a combination of codes and/or text.  In Section 7.8.3, "CSS - Clinical Study Data Schedule Segment," examples of results that are represented as CWE data types are shown in the first and second OBX segments of OBR 1 and the first and second OBX segments of OBR 2.  The observation may be an observation battery ID (for recommended studies), a diagnostic code or finding (for a diagnostic impression), or an anatomic site for a pathology report, or any of the other kinds of coded results.

It is not necessary to always encode the information stored within a coded observation.  For example, a chest X-ray impression could be transmitted as pure text even though it has a CWE data type.  In this case, the test must be recorded as the second component of the result code, e.g.,

OBX|1|CWE|19005^X-Ray Impression^LN|1|^CONGESTIVE HEART FAILURE.|...<cr>

However, separate impressions, recommendations, etc., even if recorded as pure text, should be recorded in separate result segments.  That is, congestive heart failure and pneumonia should not be sent as:

OBX|1|CWE|19005^X-Ray Impression^LN|1|^CONGESTIVE HEART FAILURE AND PNEUMONIA|...<cr>

but as:

OBX|1|CWE|19005^X-Ray Impression^LN|1|^CONGESTIVE HEART FAILURE|...<cr>

OBX|2|CWE|19005^X-Ray Impression^LN|2|^PNEUMONIA|....<cr>

Even better would be fully-coded results that include computer understandable codes (component 1) instead of, or in addition to, the text description (component 2).  One may include multiple values in a CWE value and these can be mixtures of code and text, but only when they are needed to construct one diagnosis, impression, or concept.  When text follows codes as an independent value it would be taken as a modifier or addenda to the codes.  E.g.,

OBX|1|CWE|19005-8^X-ray impression^LN~29548-5^DiagnosisImpPatient^LN |1|428.0^CONGESTIVE HEART FAILURE^I9C~^MASSIVE HEART|...<cr>

The text in component 2 should be an accurate description of the code in component 1.  Likewise, if used, the text in component 5 should be an accurate description of the code in component 4.

With the use of LNE and LWE, one can deliver a list of concepts in one OBX,  However, in this case, each of the concepts in the list must be single codes, and not constructed from multiple codes as is possible with CNE and CWE.

OBX|1|LNE|57719-7^Conditions tested for in this newborn screening study [Identifier] in Dried blood spot^LN|1|127041004^Hb F,S,A)^SCT~35434009^Hb F,S,C^SCT~127040003^Hb F,S^SCT~398664009^GALT^SCT~8808004^BIO^SCT~31323000^SCID^SCT

# Comments

Believe that “multipart” is only defined for coded results. So the statement as it was listed was confusing