HL7 v2.5.1 IG: Electronic Laboratory Reporting

To Public Health (US Realm), Release 1

Additional Errata and Clarifications

Approved by the HL7 Public Health and Emergency Response Work Group 5/30/2013

**Errata** (Numbering continued from Errata and Clarifications published 10/06/2011**)**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **#** | **Chapter** | **Section** | **Element** | **Correction** | **Type of Correction** |
| 80 | 5 | 2 | OBR.2 | Change **Cardinality** from [1..1] to [0..1] | Technical Correction |
| 81 | 2 | 3.17 | HD.2 | Change text in **Description/Comments** columnfrom “Must be an OID except for ELR Receiver for MSH-3 where a CLIA identifier is allowed.”  to “Must be an OID except for ELR **Sending** Facility for **MSH-4** where a CLIA identifier is allowed.” | Technical Correction |
| 82 | 2 | 3.17 | HD.3 | Change text in **Description/Comments** column from “Constrained to the value ‘ISO’ except for ELR Receiver for MSH-4 where the value ‘CLIA’ is allowed.” to”Constrained to the value ‘ISO’ except for ELR **Sending** Facility for MSH-4 where the value ‘CLIA’ is allowed.” | Technical Correction |
| 83 | 4 | 1 | Table 4-1 | Change **ELR Receiver Usage** for TQ1 (Timing/Quantity) from O to RAndAdd to **Description/Comments** column: “TQ1 (Timing/Quantity) Segment is required to meet the technical requirements of the HL7 base standard, however the Timing/Quantity Group is optional. Only if the Group is populated is TQ1 required” | Technical Correction |
| 84 | 5 | 10 | OBR.22 | Change last line in **Description/Comments** column from“YYYYMMDDHHMMSS.SS[…]+/-ZZZZ”to“YYYYMMDDHHMM[SS[.S[S[S[S]]]]]+/-ZZZZ” | Typo |
| 85 | 5 | 10 | OBR.7 | Change last paragraph in **Description/Comments** column from“Format:YYYYMMDD[HH[MM[SS[.S[S[S[S]]]]]]]]+/-ZZZZ] except when reporting an unknown date of ‘0000’”to“Format:YYYYMMDD[HH[MM[SS[.S[S[S[S]]]]]]][+/-ZZZZ] except when reporting an unknown date of ‘0000’” | Typo |
| 86 | 5 | 12 | OBX.14 | Change the fourth paragraph in **Description/Comments** column from“Format:YYYYMMDD[HH[MM[SS[.S[S[S[S]]]]]]]]+/-ZZZZ] except when reporting an unknown date of ‘0000’”to“Format:YYYYMMDD[HH[MM[SS[.S[S[S[S]]]]]]][+/-ZZZZ] except when reporting an unknown date of ‘0000’” | Typo |
| 87 | 6 | 1.1.1 | Table 6-3 | Add to **Description/Comments** column:“The intent of this IG is to use the CWE datatype instead of the CE datatype in OBX.5.”  | Clarification |
| 88 | 2 | 3.24 | PRL.1 | Change the **Value Set** column from “Laboratory Observation Value Set”to“Laboratory Observation Identifier Value Set”  | Typo |
| 89 | 5 | 13 | SPM.1 | Add to the **Description/Comments** column:“For ELR: Literal Value ‘1’”  | Clarification |
| 90 | 2 | 3.17 | HD.1 | Remove the term “Local” from the **Value Set** column. | Technical Correction |
| 91 | 5 | 12 | OBX.5 | Change the **Value Set** column from “For coded observation values, use Coded Laboratory Observation Value Set.”to“For coded observation values, use Laboratory Coded Observation Value Set.”  | Typo |
| 92 | 6 | 1.1.4 | Table 6-6 | Change **Table heading** to “Table 6-6 HL7 Table 0301 v2.7 –Universal ID Typeand Add row to table with the **Value** columncontaining the code “CLIA”, the **Description** columncontaining “Clinical laboratory Improvement Program”, **Usage** columncontaining “O” and **Comments** columncontaining “May be used as the Universal ID Type in the HD data types for MSH-4.” | Technical Correction |
| 93 | 2 | 3.6 | CX.5 | Change the **LEN** column from 2..5 to 1..5Note: This is an errata in the underlying HL7 standard as well and is being addressed there as well. | Technical Correction |
| 94 | 2 | 3.36 | XCN.13 | Change the **LEN** column from 2..5 to 1..5Note: This is an errata in the underlying HL7 standard as well and is being addressed there as well. | Technical Correction |
| 95 | 2 | 3.37 | XON.7 | Change the **LEN** column from 2..5 to 1..5Note: This is an errata in the underlying HL7 standard as well and is being addressed there as well. | Technical Correction |