| V 2.8 HL7 Proposal |  |
| --- | --- |
| Change Request ID: | To be Defined |
| File Name: | SSU-Additional_NTE.doc |
| Description: | Add an { [ NTE ] } in the Specimen Status Update SSU message (chapter 13.3.3) |
| Status: | New Proposal |
| Sponsoring Person | Andrzej J. Knafel |
| Sponsoring Business Unit | Roche Diagnostics Ltd. |
| Date Originated: | #### 09/25/2010 |
| Date HL7 approved: |  |
| Backward Compatible: | #### Yes |
| Forward Compatible: | #### Yes |
| HL7 Status & Date |  |

# Justification Detail:

To support the possibility to specify additional descriptive information for the specimen container, e.g., aliquot groups for a aliquot sample container an optional repeatable {[ NTE ]} segment in the “Specimen Status Update” (SSU) message should be added.

# Open Issues:

Not known.

# Change Request Impact:

Not known.

# Documentation Changes:

### 13.3.3. SSU/ACK - Specimen Status Update (Event U03)

This message is used to send information concerning the location and status of specimens from one application to another (e.g., automated equipment to a Laboratory Automation System). The OBX segments attached to the SAC should be used for transfer of information not included in the SAC segment, but relevant for automating processing (e.g., additional charecteristics of the specimen container). The NTE segments atatched to the SAC should be used for transfer of descriptive information not included in the SAC segment, but relevant for the users (e.g., e.g., aliquot groups for a aliquot sample container).

| SSU^U03^SSU_U03 | Specimen Status Message | Status | Chapter |
| --- | --- | --- | --- |
| MSH | Message Header |  | 2 |
| [{SFT}] | Software Segment |  | 2 |
| [UAC] | User Authentication Credential |  | 2 |
| EQU | Equipment Detail |  | 13 |
| { | --- SPECIMEN_CONTAINER begin |  |  |
| SAC | Specimen Container Detail |  | 13 |
| { [ OBX ] } | Additional specimen container characteristics |  | 7 |
| { [ NTE ] } | Additional specimen container information |  | 2 |
| [ { | --- SPECIMEN begin |  |  |
| SPM | Specimen |  | 7 |
| { [ OBX ] } | Specimen related observation |  | 7 |
| } ] | --- SPECIMEN end |  |  |
| } | --- SPECIMEN_CONTAINER end |  |  |
| [ ROL ] | Role Detail |  | 12 |