## Submitter
BALLOT TITLE: |  | HL7 Version 3 Domain Analysis Model: Specimen, Release 2 (PI ID: 1292) (1st Informative Ballot) - V3_DAM_SPECIMEN_R2_I1_2017MAY
BALLOT TRACKER: |  | http://gforge.hl7.org/gf/project/fhir/tracker/?action=TrackerItemBrowse&tracker_id=677
BALLOT CYCLE: |  | May 2017
SUBMITTED BY NAME:
SUBMITTED BY EMAIL:
SUBMITTED BY PHONE:
SUBMITTED BY ORGANIZATION (if applicable):
SUBMISSION DATE:
SUBMITTED BY IDENTIFIER:
OVERALL BALLOT VOTE:
High-level Instructions
- Please only complete the columns in the Ballot Submission section (purple columns) on the "Ballot" tab - If specifying an existing tracker item, only the "Vote and Type" column needs to be specified. - Otherwise, please populate all "bold" columns. (See the instructions tab if you're not sure how to fill in.) - Also, please populate the columns carefully (e.g. ensure section numbers actually contain section number, not page numbers or something else), as this makes triage much easier.
Next Steps: | Read Instructions | Enter Ballot Comments (Line Items)
0

## Ballot
| Ballot Submission | [17 empty] | Triage & Committee Resolution | [16 empty] | Ballot Comment Tracking
Comment Number | Ballot | Chapter | Section | Page # | Line # | Artifact ID | Resource(s) | HTML Page name(s) | URL | Vote and Type | Done | Sub-category | Tracker # | Existing Wording | Proposed Wording | Ballot Comment | Summary | In person resolution requested | Comment grouping | Schedule | Triage Note | Pubs | Disposition WG | Disposition | Disposition Comment or Retract/Withdraw details | Disposition/Retract/ Withdrawal Date | Mover / seconder | For | Against | Abstain | Retracted / Withdrawn | Disposition External Organization | Responsible Person | Change Applied | Substantive Change | Submitted By | Organization | On behalf of | Commenter Email | Submitter Tracking ID | Referred To | Received From | Notes
32 | OO | 1 | 1.02 | 9 | [5 empty] | A-C |  |  |  | Specimen expiration date | REMOVE HERE - has been added to Speicmne class | Specmen Received date - is related to the association with the laboratory that is processing / testing the specimen. I have no idea where to include that in the DAM but did not want to loose these thoughts | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
38 | OO | 2 | 2.01 | [6 empty] | A-S |  |  |  | Figure 1 |  | add legend for the symbols | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
39 | OO | 2 | 2.04.01 | 14 | [5 empty] | A-C |  |  |  | This spectrum continues to expand frustrating efforts to harmonize data elements for both the data generator and the data consumer. |  | delete sentence - is commentary | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
40 | OO | 2 | 2.04.01 | 16 | [9 empty] | Sample Locatiion under 3.iii. (or would this be the sample subject?) |  | discussif this is the correct spot and leave here or moce, but delete this sentence | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
41 | OO | 2 | 2.08.01 | 22 | [5 empty] | A-T | 1 |  |  | Integrating the Healthcaare Enterprise (IHE) | Integrating the Healthcaare Enterprise (IHE) | [8 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
42 | OO | 2 | 2.08.05 | 23 | [5 empty] | A-T | 1 |  |  | SET describes tow basic actors: | SET describes twow basic actors: | [8 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
43 | OO | 2 | 2.08.06 | 23 | [5 empty] | A-T | 1 |  |  | SET describes a very detailed set of use case scenarios for each of the above listed categories That would be too long to include here. | SET describes a very detailed set of use case scenarios for each of the above listed categories; that would be too long to include here. | [8 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
69 | OO | 2 | 2.1.1, 2.2.1 | 10, 12 |  | DA |  |  |  | A-S |  |  |  | Use of "parent" and "child" to address relationship between specimens in 2.1.1 but in 2.2.1 the term "derivatives" is used. Are these the same? If so can a consistent term be used and if not then perhaps a glossary is needed. | "partent" and "child" are terms that my SMEs say they are familiar with. Please consider adding a glossary. | Please ensure consistency and clarity of terms within the document both generally and specifically regarding associated specimens (e.g., "parent" / "child") | Ensure consistent terms within document. | [18 empty] | William Friggle
70 | OO | 2 | 2.1.3 | 11 |  | DA |  |  |  | A-S |  |  |  | diagram with numerous unexplained symbols | legend explaining symbols | please add some additional explanaton of the diagram and specifically a legend explaining the symbols. | clarify or simplify the diagram | [18 empty] | William Friggle
71 | OO | 2 | 2.4.1 | 15 |  | DA |  |  |  | A-T | 1 |  |  | Some of the elements included in the DAM can also be used to address chain of custody requirements (#7). | Some of the elements included in the DAM can also be used to address chain of custody requirements (#6). | appears that the parenthetical value is supposed to be "6" to align with the associated text. | typo | [6 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | William Friggle
33 | OO | 2 |  | 10 | [5 empty] | A-T | 1 |  |  | http://wiki.hl7.org/images/9/99/Specimen-Core_Model_Diagram_and_Medical_Research_Use_Case_Process_Flow.xls |  | While this is the original data flow diagram we used, we did update it after the first ballot round - delete the link could keep this as a foot note / reference document link | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
34 | OO | 2 |  | 10 | [5 empty] | A-T | 1 |  |  | http://wiki.hl7.org/index.php?title=Use_Cases_to_Consider_in_Specimen_CMET_-_from_CG_ClinSeq.doc |  | This links to the wiki page - we used the text almost verbatim - delete link | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
35 | OO | 2 |  | 10 | [5 empty] | A-T | 1 |  |  | http://wiki.hl7.org/index.php?title=Specimen_Use_Case_for_Isolate_Representation |  | This links to the wiki page - we used the text almost verbatim - delete link | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
36 | OO | 2 |  | 10 | [5 empty] | A-T | 1 |  |  | http://wiki.hl7.org/index.php?title=Specimen_Use_Case_for_Environmental_Specimen |  | This links to the wiki page - we used the text almost verbatim - delete link | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
37 | OO | 2 |  | 10 | [5 empty] | A-C | [5 empty] | Missing the biobanking and the specimen event tracking use cases here = add | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
21 | OO | 3 | 3 Information Model | 24 Figure 4: Specimen Domain Model | [5 empty] | NEG | 1 |  |  |  |  | The SpecimenMoveActivity class in the diagram does not have the same set of attributes and relationships as described in section 5.13 Specimen Move Activity. These need to be properly aligned. | [7 empty] | Persuasive with mod | 5/10/2017: Motion to add line from Specimen to specimenMoveActivity as 0..1 - and then adjust the text to match the diagram. | 2017-05-10 | Riki Merrick / Hans Buitendijk | 7 | 0 | 0 | [5 empty] | Robert Hausam | Hausam Consulting LLC
22 | OO | 3 | 3 Information Model | 24 Figure 4: Specimen Domain Model | [5 empty] | NEG | 1 |  |  |  |  | The Location class in the diagram is missing the geographicLocation attribute that is listed in section 5.3 Location. | [7 empty] | Persuasive with mod | 5/17/2017: Motion to add attribute to the diagram and add the definition in the table section of the document | 2017-05-17 | Rob Hausam / Andrea Pitkus | 6 | 0 | 0 | [5 empty] | Robert Hausam | Hausam Consulting LLC
23 | OO | 3 | 3 Information Model | 24 Figure 4: Specimen Domain Model | [5 empty] | NEG | 1 |  |  |  |  | The Performer class in the diagram is missing the associatedOrganizationName and associatedOrganizationIdentifier attribute that are listed in section 5.6 Performer. | [7 empty] | Persuasive with mod | 5/17/2017: those two attributes are missing - do we need name for performer? What are the rules for that - since we included machine, decided not to support name; assume name can be looked up via table from ID outside of model - regulatory requirements to identify the performer(ID should be ok for that) Need to broaden the definition of performer to include "process and move" Motion to add the two missing attributes associatedOrganizationName and associatedOrganizationIdentifier to the diagram, expand the definition of performer to include "process and move" | 2017-05-17 | JD Nolen / Rob Hausam | 7 | 0 | 0 | [5 empty] | Robert Hausam | Hausam Consulting LLC
24 | OO | 3 | 3 Information Model | 24 Figure 4: Specimen Domain Model | [5 empty] | NEG | 1 |  |  |  |  | The diagram does not include the Product class that is listed in section 5.8 Product. | [7 empty] | persuasive | 5/17/2017: Motion to find persusasive | 2017-05-17 | Rob Hausam / Andrea Pitkus | 7 | 0 | 0 | [5 empty] | Robert Hausam | Hausam Consulting LLC
25 | OO | 3 | 3 Information Model | 24 Figure 4: Specimen Domain Model | [5 empty] | NEG | 1 |  |  |  |  | The Specimen class in the diagram does not have exactly the same attribute set as described in section 5.9 Specimen. These need to be properly aligned. | [7 empty] | Persuasive | 5/17/2017: RelatedOrderIdentifer is missing in diagram mismatch in datatype for Container number and Specimen Group count - should be INT not quantity Motion to update diagram with relatedOrderIdentifier AND update table datatypes from Quantity to INT | 2017-05-17 | Rob Hausam / Ron Van Duyne | 7 | 0 | 0 | [5 empty] | Robert Hausam | Hausam Consulting LLC
26 | OO | 3 | 3 Information Model | 24 Figure 4: Specimen Domain Model | [5 empty] | NEG | 1 |  |  |  |  | The SpecimenProcessingActivity class in the diagram does not have the same set of attributes and relationships as described in section 5.14 Specimen Processing Activity. These need to be properly aligned. | [7 empty] | Persuasive with mod | 5/17/2017: Motion to Add to diagram as per table: ID, processingReasonCode, comment, ReferencedProtocolName, ReferencedProtocolID, ReferencedProtocolDeviationType, ReferencedProtocolDeviationReasonCode, ReferencedProtocolDeviationComment Remove duplicate ProcessingProcedureCode in Table Adjust cardinality in both for: description to 0..1 processingAdditives 0..* temperature 0..1 | 2017-05-17 | Rob Hausam / Andrea Pitkus | 7 | 0 | 0 | [5 empty] | Robert Hausam | Hausam Consulting LLC
27 | OO | 3 | 3 Information Model | 24 Figure 4: Specimen Domain Model | [5 empty] | NEG | 1 |  |  |  |  | The Storage Equipment class in the diagram is missing the storageEquipmentIdentifier attribute that is listed in section 5.15 Storage Equipment. | [7 empty] | Persuasive | 5/17/2017: Motion to find persuasive ALSO add found item about handling Location vs geographicLocation as attribute - see #991 | 2017-05-17 | Kathy Walsh / JD Nolen | 7 | 0 | 0 | [5 empty] | Robert Hausam | Hausam Consulting LLC
28 | OO | 3 | 3 Information Model | 24 Figure 4: Specimen Domain Model | [5 empty] | NEG | [5 empty] | Additional mis-alignments and missing attributes in the diagram compared to the Chapter 5 Class Attriburte Definitions need to be corrected. | [19 empty] | Robert Hausam | Hausam Consulting LLC
15 | OO | 3 | Figure 4 | 24 | [5 empty] | A-T | 1 |  |  |  |  | RelatedOrderIdentifier on Specimen class description but not Specimen Domain Model diagram | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | h buitendijk | US Department of Veterans Affairs
16 | OO | 3 | Figure 4 | 24 | [5 empty] | A-Q | [5 empty] | SpecimenIdentifier as its own class on the Specimen Domain Model diagram but in the class description it seems it should be Identifier? | [19 empty] | h buitendijk | US Department of Veterans Affairs
44 | OO | 4 | 4.02 | 25 | [5 empty] | A-T | 1 |  |  | This is used for the Subject Characteristics at Specimen Collection class, as the questions that may need to be asked required answers of different types. | This is used for the Subject Characteristics at Specimen Collection class, as the questions that may need to be asked may required answers of different types. | [8 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
45 | OO | 4 | 4.06 | 26 | [5 empty] | NEG | [5 empty] | The definitions of the attributes don’t match the definition of the data type: coordinates tells you where something is, the defintions here tell you how many of one thing can fill up each of the attributes | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
46 | OO | 4 | 4.06 | 26 | [5 empty] | A-S |  |  |  |  | Vertical dimension (y): The maximum amount that can be contained, in the dimension perpendicular in the same plane as the horizontal dimension of size of the defined object Vertical dimension (z): The maximum amount that can be contained, in the dimension perpendicular to the plane of the horizontal dimension of size of the defined object | add missing definitions | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
47 | OO | 4 | 4.08 | 26 | [5 empty] | A-T | 1 |  |  | The rate at which is repeated over a particular period of time or in a given sample. | The rate at which something is repeated over a particular period of time or in a given sample. | [8 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
67 | OO | 4 | [7 empty] | NEG | [5 empty] | remove any data types that are not used - example SET | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
30 | ARB | 4.11 |  | 28 | [5 empty] | NEG |  |  |  | Number DEFINITION: A sequence of digits. | Use positive integer and reserve (define) number to reflect research values. | The use case 2.1 is for medical research. As such, a number could be real, imaginary, complex, integer, rational, fixed point, … | [19 empty] | Russell Davis | DoD/DHA/HIT/IATDD
48 | OO | 5 | 5.02 | 30 | [5 empty] | A-T | 1 |  |  | Description of the physical measures which describes the physical parameters or space occupied the measure or the amount which it may contain. | Description of the physical measures which describes the physical parameters or space occupied the measure or the amount which it may contain. | not sure what the red part is trying to convey = not a good sentence - re-word! | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
49 | OO | 5 | 5.03 | 31 | [5 empty] | NEG | [5 empty] | Missing class defintion and relationships - since there is ONLY one attribute in this class, should it be named geographic location instead? - like the datatype and be an attribute in the respective classes it is currently linked to, i.e storage equipment I wonder if it should also be added to subject (for material the location is important | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
50 | OO | 5 | 5.08 | 33 | [5 empty] | NEG |  |  |  | Product attribute: Name or typeCode |  | this should be 2 rows as they use differeint datatypes - can indicate that either one or the other is required some way, but describe separately | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
51 | OO | 5 | 5.09 | 34 | [5 empty] | NEG |  |  |  | Specimen results from zero to many move activity. |  | not sure how that is done = UNLESS this is referrign to adding another identifier for examle after a move from one lab to another or into biobank for storage? Would be benficial to add an explanation into the Notes section for this one | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
52 | OO | 5 | 5.09 | 35 | [5 empty] | A-Q |  |  |  | isDerived … Conformance Statement |  | should this be highlighted more, or moved outside the table? | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
53 | OO | 5 | 5.10 | 39 | [5 empty] | A-T | 1 |  |  | EXAMPLE(S): entire, single, segment, many |  | remove underline | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
54 | OO | 5 | 5.14 | 45 | [5 empty] | NEG |  |  |  | processingAdditive cardinality 1..1 |  | cardinality should be 0..* - NOT every processing activity uses additives (example centrifuge) AND some may use more than one! | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
55 | OO | 5 | 5.14 | 45 | [5 empty] | A-Q |  |  |  | StatusCode |  | Since we have the processingDateTime and it is a range can this be derived fromt hat: no start or end date = scheduled? Only start date = in progress? Start and end date = completed? If we want to keep it, should we add a note expaining the expected dataTime useage for at least some of the status codes? | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
56 | OO | 5 | 5.14 | 45 | [5 empty] | NEG |  |  |  | temperature cardinality 1..1 |  | cardinality should be 0..1 - NOT every processing activity is temperature dependent | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
57 | OO | 5 | 5.14 | 45 | [5 empty] | A-T | 1 |  |  | ProcessingProcedure Code 1..1 Coded representation of a step in the procedure |  | delete one occurrence - is listed twice | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
58 | OO | 5 | 5.15 | 47 | [5 empty] | NEG |  |  |  | geographicalLocation |  | is an attribute in the storage Equipment but also a class with a relationship to storage equipment - decide on one or the other - see comment about location class | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
59 | OO | 5 | 5.15 | 47 | [5 empty] | A-Q | [5 empty] | what is the difference between these attributes: geographicalLocation locationNamespace and location Identitier Provider better explanation on how these are epected to be used together | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
60 | OO | 5 | 5.16 | 47 | [5 empty] | A-T | 1 |  |  | Description of the physical measures of volume, the capacity to store a certain amount of a described unit and functionality of the Storage Equipment Component. | Description of the physical measures of volume, the capacity to store a certain amount of a described unit and functionality of the Storage Equipment Component. | [8 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
61 | OO | 5 | 5.17 | 48 | [5 empty] | NEG |  |  |  | Storage equipment component contains zero to many holder. |  | Shold we also add Storage equipment component contains zero to many container? - for example in a blood bag freezer, the blood badg is a container, not a holder? | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
62 | OO | 5 | 5.17 | 48 | [5 empty] | A-S |  |  |  | Storage equipment component is contained in zero to many storage equipment component. | Storage equipment component is contained in zero to manyone storage equipment component. | [20 empty] | Riki Merrick | Vernetzt, LLC / APHL
63 | OO | 5 | 5.17 | 48 | [5 empty] | NEG |  |  |  | Storage Equipment Component attribute geographicLocation |  | should this be removed or replaced with a different attribute - the datatype suggests it is something like an address / GIS, while for a storage equipment compoent a description of left door of the refrigerator would make more sense? Also the description makes this look like it was a copy paste from teh storage equipment? | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
64 | OO | 5 | 5.18 | 48 | [5 empty] | A-T | 1 |  |  | storageEquipmentComponentParameter adjustableIndicator EXAMPLE(S): movable shelves, configurable location for drawers in the storage equipment . |  | delete space before the period | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
65 | OO | 5 | 5.19 | 49 | [5 empty] | NEG |  |  |  | Subject can be zero to one non-human living subject. |  | Need to check with veterninarians how they would describe a herd - this might need to get updated to zero to many non-human living subject | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
17 | OO | 5 | [7 empty] | NEG | [5 empty] | Many of the Code attributes are missing the corresponding CodeSystems? | [19 empty] | h buitendijk | US Department of Veterans Affairs
29 | ARB | 2.4.1 |  | 15 | [5 empty] | A-C |  |  |  | Sample collection information | A minimum set of defined information is contained in the <to be determined> | There is too much subjectivity and a very limited set of examples. Suggest a set of defined data types be codified to reduce ambiguity. | [19 empty] | Russell Davis | DoD/DHA/HIT/IATDD
72 | OO | 3,4 |  | 25-30 |  | DA |  |  |  | A-S |  |  |  | "The attributes in the above model use the following conceptual datatypes:" followed by a diagram and then section 4 which appears to describe the conceptual datatypes. | "The attributes in the above model use the following conceptual datatypes:" [followed by an alphabetical list] - Address - Any - Boolean - … - TimeQuntity See appendix A for more information, including a description, of the conceptual datatypes. | move the majority of the content regarding the conceptual data types including the diagram and chapter 4 into an appendix to keep the DAM and its Class Attribute Definitions next to each other. | keep the DAM (Figure 4) and the assocated descriptions together. | [18 empty] | William Friggle
18 | OO | 3,5 | [7 empty] | NEG | [5 empty] | The "missed collection" info resides on the SpecimenCollectionProcedure but the RelatedOrderIdentifier is on the Specimen. If the collection was missed, is there a way to track that back to the related order? Always create a Specimen to make the link, even if it might be empty? | [19 empty] | h buitendijk | US Department of Veterans Affairs
19 | OO | 3,5 | [7 empty] | A-Q | [5 empty] | How to best handle pooled patient DNA specimens (multiple subjects DNA in a single container) where each subject's DNA has a unique 'barcode' strand attached to it. This use case seems to be referenced in the notes of individualGroupedorPooledIndicator and partially specimenGroupCount? Use the parentSpecimens link perhaps? | [19 empty] | h buitendijk | US Department of Veterans Affairs
20 | OO | 3,5 | [7 empty] | A-S | [5 empty] | Would like guidenace on how to most appropriately link together a Trio genomic study, which proband (child), Mom, and Dad orders/specimens will be analyzed together. Appropriate to link the specimens or perhaps just the orders since the specimens might be for other orders as well. | [19 empty] | h buitendijk | US Department of Veterans Affairs
66 | OO | 4 and 5 | [7 empty] | NEG | [5 empty] | ensure that the cardinatlities of the classes and their attributes and relationships match between the model in section 4 and the tables in section 5 and are documented in the tables for each attribute | [19 empty] | Riki Merrick | Vernetzt, LLC / APHL
68 | OO | all |  |  |  | DA |  |  |  | A-C |  |  |  | inconsistent throughout - at least across the Use Cases using different view points, contexts, diagram methods, etc. | should be "more" integrated and "more" consistent | feeling as you review the document is that the use cases (and perhaps other sections) were simply an assembly of collections and not edited into an integrated whole. | assign editor to review and draft a conherent flow. | [18 empty] | William Friggle
10 | OO |  | 5.4 | 31 | [5 empty] | A-C |  |  |  | Purpose of testing is not to diagnose for its own sake but for the sake of others. |  | I don't understand what this means. Please reword | [19 empty] | Galen Mulrooney | US Department of Veterans Affairs | Galen Mulrooney | Galen.Mulrooney@JPSys.com
12 | OO |  | 2.4 Environmental Specimen Use Case 2.4.1 Description 2. Sample Subject Information | 16 | [5 empty] | A-S |  |  |  | Sample Subject Information i. Type of Object, if applicable (for example the medical device) = coded format ii. Manufacturer = text format iii. Model = text format iv. Lot Number = text format v. Service Date (or Prepared Date for food) = date/time format vi. Expiration Date = date/time format vii. Relationship to Human Sample = ID and assigning authority format (or name format?) |  | Because the DAM references medical devices, and given Sample Subject Information requirements (Existing Wording attributes), I suggest there may be opportunities to harmonize information requirements with the Domain Analysis Model for UDI currently under development under auspices of O&O. There may be additional attributes related to UDI in addition to those mentioned here may be relevant. | [19 empty] | Greg Staudenmaier | US Department of Veterans Affairs | Serafina Versaggi | serafina.versaggi@bookzurman.com
13 | OO |  | 2.8.1 Description | 22 | [5 empty] | A-T | 1 |  |  | The Specimen Event Tracking (SET) Profile from Integrating the Healthcaare Enterprise (IHE) | The Specimen Event Tracking (SET) Profile from Integrating the Healthcare Enterprise (IHE) | Healthcare misspelled | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Greg Staudenmaier | US Department of Veterans Affairs | Serafina Versaggi | serafina.versaggi@bookzurman.com
9 | OO |  | 2.8.6 | 23 | [5 empty] | A-T | 1 |  |  | SET describes a very detailed set of use case scenarios for each of the above listed categories That would be too long to include here. |  | Something's missing. Or, if this really is the definition, it's not very helpful <g> | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Galen Mulrooney | US Department of Veterans Affairs | Galen Mulrooney | Galen.Mulrooney@JPSys.com
14 | OO |  | 5.13 Specimen Move Activity | 44 | [5 empty] | A-S |  |  |  | PlacedIntoElementIdentifier TakenFromElementIdentifier attributes NOTE: In the case of storage equipment it references the locationIdentifer, in the case of a holder it references the holderIdentifier, in the case of a device it references the deviceIdentifier, in the case of a container it references the containerIdentifer. |  | These attributes include the same note that is the basis for this comment,. There may be opportunities to harmonize information requirements with the Domain Analysis Model for UDI (Unique Device Identifier System) currently under development under auspices of O&O, as that DAM may be a source for additional attributes (related to UDI)that may be relevant to this DAM. | [19 empty] | Greg Staudenmaier | US Department of Veterans Affairs | Serafina Versaggi | serafina.versaggi@bookzurman.com
7 | OO |  |  | 12 | [5 empty] | A-T | 1 |  |  | Unique to this use case is the requirement for explicate identification… | Unique to this use case is the requirement for explicit identification... | [8 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Galen Mulrooney | US Department of Veterans Affairs | Galen Mulrooney | Galen.Mulrooney@JPSys.com
8 | OO |  |  | 22 | [5 empty] | A-T | 1 |  |  | Integrating the Healthcaare Enterprise | Integrating the Healthcare Enterprise | [8 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Galen Mulrooney | US Department of Veterans Affairs | Galen Mulrooney | Galen.Mulrooney@JPSys.com
11 | OO | [8 empty] | A-S | [5 empty] | I'd appreciate it if you could please take a look at the specimen classes in the Federal Health Information Model (see the Lab domain). Our approaches seem similar, and there's a lot of overlap, but you have some concepts we don't (I'll add them), but we have a few that you don't. BTW, we handled specimen appropriateness and condition, etc. in a "Specimen Assessment" class. I'll be in Madrid if you'd like a walk-thru of our model. Thanks! | [19 empty] | Galen Mulrooney | US Department of Veterans Affairs | Galen Mulrooney | Galen.Mulrooney@JPSys.com
31 | OO |  |  | 8 | [5 empty] | A-T | 1 |  |  |  | 42814 | add Revision date | [7 empty] | Persuasive | 5/10/2017: Motion to refer typos to editor for fixing or bringing back to group | 2017-05-10 | Hans Buitendijk / Eric Haas | 7 | 0 | 0 | [5 empty] | Riki Merrick | Vernetzt, LLC / APHL
990 | [16 empty] | FOUND ITEM | [6 empty] | Persuasive | 5/10/2017: Add a sequence diagram to explain what can be moved from where to where using specimenMoveActivity AND add a line from specimenContainer to Location to cover use cases where the actual storageEquipment information may not be availabel or when shipping between labs / organizations | 2017-05-10 | Riki Merrick / Hans Buitendijk | 6 | 0 | 0
991 | [16 empty] | FOUND ITEM | [7 empty] | 5/17/2017: Need to review handling Location vs geographicLocation as attribute
[10 empty] | Total | Closed |  |  | Open | % of total comments
|  |  |  | Blank | [5 empty] | 1 | 0 |  |  | 1 | 1.515% |  |  |  | 24 |  |  |  |  | Persuasive
|  |  |  | A-A | [5 empty] | 0 | 0 |  |  | 0 | 0% |  |  |  | 4 |  |  |  |  | Persuasive with mod
|  |  |  | A-C | [5 empty] | 6 | 0 |  |  | 6 | 9.091% |  |  |  | 0 |  |  |  |  | Not persuasive
|  |  |  | A-Q | [5 empty] | 5 | 0 |  |  | 5 | 7.576% |  |  |  | 0 |  |  |  |  | Not persuasive with mod
|  |  |  | A-S | [5 empty] | 10 | 0 |  |  | 10 | 15.15% |  |  |  | 0 |  |  |  |  | Not related
|  |  |  | A-T | [5 empty] | 21 | 21 |  |  | 0 | 31.82% |  |  |  | 0 |  |  |  |  | Considered for future use
|  |  |  | NEG | [5 empty] | 23 | 7 |  |  | 16 | 34.85% |  |  |  | 0 |  |  |  |  | Considered - No action required
[10 empty] | 66 | 28 |  |  | 38 | 100% |  |  |  | 0 |  |  |  |  | Considered - Question Answered
[11 empty] | 42.42% | [7 empty] | 0 |  |  |  |  | Referred and tracked
[19 empty] | 0 |  |  |  |  | Pending input from submitter
[10 empty] | Changes Applied Summary | [8 empty] | 0 |  |  |  |  | Pending input from other WG
[10 empty] | Blanks | 66
[10 empty] | No | 0 | [7 empty] | 28
[10 empty] | Yes | 0
[10 empty] | Total | 66
1 | OO | [8 empty] | NEG |  |  |  |  | See document 'V3_DAM_SPECIMEN_R2_I1_2017MAY_h_buitendijk_20170501181041.xls' that was uploaded to to the ballot website. |  | **website comment** | [18 empty] | Hans Buitendijk MSc | Cerner Corporation |  | hans.buitendijk@cerner.com
2 | OO | [8 empty] | NEG |  |  |  |  | See document 'V3_DAM_SPECIMEN_R2_I1_2017MAY_Russell_Davis_20170424131806.xls' that was uploaded to to the ballot website. | The use case 2.1 is for medical research. As such, a number could be real, imaginary, complex, integer, rational, fixed point, … | **website comment** | [18 empty] | Russell Davis | U.S. Department of Defense, Military Health System |  | Russell.J.Davis.Civ@mail.mil
3 | OO | [8 empty] | A-S |  |  |  |  | See document 'V3_DAM_SPECIMEN_R2_I1_2017MAY_william_friggle_20170426164247.xls' that was uploaded to to the ballot website. |  | **website comment** | [18 empty] | William Friggle | Sanofi R&D |  | william.friggle@sanofi.com
4 | OO | [8 empty] | NEG |  |  |  |  | See document 'V3_DAM_SPECIMEN_R2_I1_2017MAY_robert_hausam_20170501235709.xls' that was uploaded to to the ballot website. |  | **website comment** | [18 empty] | Robert Hausam MD | Hausam Consulting LLC |  | rrhausam@gmail.com
5 | OO | [8 empty] | NEG |  |  |  |  | See document 'V3_DAM_SPECIMEN_R2_I1_2017MAY_ulrike_merrick_20170423175245.xls' that was uploaded to to the ballot website. |  | **website comment** | [18 empty] | Ulrike Merrick | Vernetzt, LLC |  | rikimerrick@gmail.com
6 | OO | [8 empty] | A-S |  |  |  |  | See document 'V3_DAM_SPECIMEN_R2_I1_2017MAY_Greg_Staudenmaier_20170501202157.xls' that was uploaded to to the ballot website. |  | **website comment** | [18 empty] | Greg Staudenmaier | U.S. Department of Veterans Affairs |  | greg.staudenmaier@va.gov

## Instructions
Return to Ballot
How to Use this Spreadsheet
General notes: Columns with bold headings must be completed for a given stage (ballot submission or ballot reconciliation) to be complete. Non-bold but black elements are conditional. Refer to the notes on this page for guidance about when these columns must be filled in (and any circumstances when they should be left blank). Blue column headings indicate optional information.
Submitting a ballot: SUBMITTER WORKSHEET: Please complete the Submitter worksheet noting your overall ballot vote. Please note if you have any negative line items the ballot is considered negative overall. For Organizations and International Affiliates, the Submitter must be one of your registered voters to conform with ANSI guidelines. BALLOT WORKSHEET: Several columns utilize drop-down lists of valid values, denoted by a down-arrow to the right of the cell. Submitters, please complete all lavender columns as described below. WG's use the columns in turquoise to document the process of reconciling ballot comments. If you need to add a row, please do so near the bottom of the rows provided to maintain the item numbers. If you encounter issues with the spreadsheet, please contact Karen Van Hentenryck (karenvan@hl7.org) at HL7 Headquarters. Reconciliation; resolving ballot line items: WGs, please complete all turquoise columns as described below to resolve Ballot line item comments. WG's are required to notify the comment submitter, as denoted by the Submitter worksheet or "On behalf of" column, of the resolution of each neagative Ballot line item. Submitting comments on behalf of another person: A submitter may cut and paste other peoples' comments into the spreadsheet and manually update the column titled "On behalf of" or may use a worksheet with the amalgamation macro in it (available from HL7 Inc. or HL7 Canada (standards@infoway-inforoute.ca)). The amalgamation worksheet contains the necessary instructions to automatically populate the 'submitter', 'organization' and 'on behalf of' columns. This is very useful for organizations and International Affiliates who typically have one representative submitting ballot comments from a number of different people.
Column Headers
Ballot Submitter (sections in lavender) |  |  |  | Applies to:
A - Comment Number | This is an identifier used by HL7 WGs. Please do not alter. |  |  | All
B - Ballot | A collection of artifacts including messages, interactions, & storyboards that cover a specific interest area. Examples in HL7 are Pharmacy, Medical Devices, Patient Administration, Lab Order/Resulting, Medical Records, and Claims and Reimbursement. Select from the drop down list the specific ballot that the comment pertains to. An explanation of the 'codes' used to represent the Ballots as well as the Ballot WGs that are are responsible for them is included in the worksheet titled 'CodeReference'. Please refer to the list of available ballots on the HL7 site for more descriptive information on current, open ballots. |  |  | All
C - Chapter | Identifies the chapter or appendix of the ballot specificaiton the comment refers to. |  |  | PDF ballots (incl. V2 and various V3 topics)
D - Section | Section of the ballot, e.g., 3.1.2. Note: This column can be filtered by the committee, for example, to consider all ballot line items reported against section 3.1.2. |  |  | PDF ballots (incl. V2 and various V3 topics), FHIR
E - Page # | Identifies the page of the PDF document the ballot comment relates to. (If multiple pages, separate with commas) |  |  | PDF ballots (incl. V2 and various V3 topics)
F - Line # | Identifies the line number from the left-hand side of the page that the ballot comment relates to. If the comment applies to a range of lines, either just list the starting line or use the form 7-15 to designate the start and ending line. |  |  | PDF ballots (incl. V2 and various V3 topics) with line numbers
G - Artifact | The type of Artifact this Ballot line item affects; used to group like artifacts for resolution. The following are suggested values: |  |  | V3
| AD | Data Type - Abstract
| AR | Application Role
| CT | Common Message Elements (CMET)
| DA | Domain Analysis Model
| DM | Domain Message Information Model
| HD | Hierarchical Message Definition
| IN | Interaction
| MT | Message Type
| RI | Reference Information Model
| RM | Refined Message Information Model
| SC | Schema [typically FYI or Informative]
| SD | Sample Instance - Document [typically FYI or Informative]
| SM | Sample Instance - Message [typically FYI or Informative]
| SN | Schematron [typically FYI or Informative]
| SS | Style Sheet [typically FYI or Informative]
| ST | Storyboard
| TE | Trigger Event
| TP | Transport Protocol
| UD | Data Type UML-ITS
| XD | Data Type XML-ITS
| XS | XML-ITS Structure
| ?? | NOS (Not Otherwise Specified) / Other
| BLANK | Not artifact specific; e.g. description, illustration, definition, etc.
H - Resource(s) | The name of the resource or resources related to the ballot comment - used to categorize the line item and determine disposition work group. Must correspond to list within gForge tracker, space-separated. At least one resource or page must be identified. |  |  | FHIR
I - HTML Page Name(s) | The specification page or pages related to the ballot comment - used to categorize the line item and determine disposition work group. Must correspond to list within gForge tracker, space-separated. At least one resource or page must be identified. |  |  | FHIR
J - Page or Section URL | URL for the page (or where possible the section - right-click on the "globe" icon beside the section heading and select "copy link address") that the comment relates to |  |  | FHIR
K - Vote and Type | Negative Vote: (NEG) Negative Vote with comment. Use this in the situation where the content of the material is non-functional, incomplete or requires correction before final publication. All Neg votes must be accompanied by comments and be resolved by the Work Group. Note: the designation of a Negative with comment as either Major or Minor has been discontinued due to being to subjective in nature. HL7, under ANSI guidelines, does not differentiate a Negative with comment based on the supposed severity assigned by the submitter. All Normative Ballot negative comments must be addressed, if not finally resolved, before the Ballot can move to ANSI for approval. Affirmative Votes: (A-A) Affirmative Vote without qualification (A-S) Affirmative Vote with Suggestion. Use this if you are including a suggestion (comment) for the WG's consideration; such as additional background information or justification for a particular solution. (A-T) Affirmative Vote with Typo. Use this if you are (comment) reporting a typographical error. (A-Q) Affirmative Vote with Question. Use this if you submitted a question (comment) for consideration by the WG. (A-C) Affirmative Vote with Comment - Use this for a generic Affirmative with a comment other than a suggestion, question, or typo . |  |  | All
L - Sub-Category | For negative and Suggestion comments, this column should be included to identify the specific nature of the desired change: Correction: Indicates that there is believed to be an issue with the specification such that it does not reflect the intent of the author or will not achieve the intended objective without adjustment Clarification: Indicates that the wording of the specification, as written, is not sufficiently clear as to how conformant implementations should behave Enhancement: Indicates that an additional feature is desired that is felt to fall within the declared scope of the specification. |  |  | All
M - Tracker # | Identifies an existing tracker item from the FHIR gForge change request tracker that describes the ballot comment. This might be a comment submitted by the balloter or by someone else (but which the balloter agrees with and wishes to assert as part of their own ballot response). Submitters are encouraged to submit comments directly to the tracker as this allows them to easily monitor each line item comment as it is commented on and eventually disposed. Any comments not submitted via the tracker will be migrated to the tracker as part of the ballot reconciliation process. The gForge Change Request tracker is found here: http://gforge.hl7.org/gf/project/fhir/tracker/?action=TrackerItemBrowse&tracker_id=677 This column must be populated if no content is provided in Ballot Comment. If a tracer # is provided, then any specified Ballot Comment will be treated as a comment on the existing tracker. Other information beyond ballot strength and in-person resolution requested will be ignored. |  |  | FHIR
N - Existing Wording | The wording of concern/relevance for this comment. Copy and Paste from ballot materials. |  |  | All
O - Proposed Wording | Using the Existing Wording as a template, denote the desired changes. |  |  | All
P - Ballot Comment | Description of concern, question or reason for change. For purposes of WG review state why this change would be beneficIal. Should the proposed wording require further comment or clarificaton enter it following your rationale. This column must be populated if no Tracker # is provided |  |  | All
Q - Summary | A short (50-150 character) description of the proposed change or issue. This will appear as the tracker title of the gForge tracker item. (The title may be edited for clarity prior to posting to gForge.) This column must be populated if no Tracker # is provided. |  |  | FHIR
R - In Person Resolution Requested? | Submitters can use this field to indicate that they would appreciate discussing particular comments in person during a WGM session or conference call. Reasonable efforts will be made to coordinate discussion such that the commenter can be present, either at a face-to-face meeting or conference call. Please note that due to time constraints not all comments can be reviewed at WGMs. |  |  | All
Work Group Reconciliation (sections in green)
S - Comment Grouping | This is a free text field that WGs can use to track similar or identical ballot comments. For example, if a WG receives 10 identical or similar ballot comments the WG can place a code (e.g. C1) in this column beside each of the 10 ballot comments. The WG can then apply the sort filter to view all of the similar ballot comments at the same time. This can also be used to identify items for block votes, items to be discussed at particular WGM quarters or conference calls, etc. |  |  | All
T - Schedule | Indicates when this item is tentatively planned for review |  |  | All
U - Triage Note | An initial proposed disposition or evaluation of the line item, including assertion of duplication, etc. Asserted during the ballot triage process. |  |  | All
V - Pubs | If the submitter feels that the issue being raised directly relates to the formatting or publication of this document rather than the content of the document, flag this field with a "Y" value, otherwise leave it blank or "N". |  |  | All
W - Disposition WG | Prior to disposition, this is the WG that has been "assigned" the ballot line item. It may be changed if the responsibility moves from one WG to another. Once a vote is made, it indicates the WG that voted on the item's disposition. Must correspond to one of the work groups or other triage categories in the gForge tracker (e.g. publications, reference implementations). Must be assigned for all non-duplicate items. |  |  | All
X - Disposition | The instructions for selecting dispositions were too large for this section and have been moved to the worksheet titled "Instructions Cont.." |  |  | All
Y - Disposition Comment or Retract/Withdrawal Details | Enter a reason for the disposition as well as the context. Can also include work-group notes and/or preliminary dispositions. When not capturing a final disposition, capture the date and context of the comment. E.g.: 20130910 CQ WGM: Require more discussion with submitter. Comment is unclear 20131117 CQ Telecon: Editor recommends that proposed wording be accepted. Note that date and vote of the final disposition are captured in separate columns. This column must be populated unless the disposition is Persuasive, Considered - Tracked for Future Consideration or Considered - No Action Required If a ballot comment is withdrawn or retracted, contextual information about the withdrawal is captured here (e.g. WGM quarter, conference call, etc. May also include the stated reason for retraction/withdrawal) |  |  | All
Z - Disposition/Retract/Withdrawal Date | Indicates the date on which the disposition was approved by the indicated work-group. If the comment is retracted/withdrawn prior to disposition, that date is captured instead. |  |  | All
AA - Mover/Seconder | Indicates who moved the motion to accept the proposed disposition in column X - Disposition and Y - Disposition Comment |  |  | All
AB - For | FOR or AGAINST the proposed resolution, or ABSTAIN from the vote. Note: votes are required for Normative Ballot line items; votes may be taken for Informative and DSTU Ballot line items, but are not required; typically no votes are taken for Comment-only Ballot line items. No votes are necessary on Affirmative line item comments. |  |  | All
AC - Against |  |  |  | All
AD - Abstain |  |  |  | All
AE - Retracted / Withdrawn (Negative Ballot Line Items Only) | Withdrawn This term relates to the decision by a submitter to accept the dispostion of the line item proposed by the WG. Seeking the withdrawal of a Normative Ballot negaive line item is particularly important, since a withdrawn negative becomes an affirmative. Of the other Ballot Types (Informative, DSTU, Comment-only) seeking the withdrawal of a negative may certainly contribute toward the Ballot passing, but it is not required; particularly on a Comment-only Ballot. This field is used when the submitter agrees to "Withdraw" the negative line item particularly a Normative Ballot negative line item. While the HL7 Governance and Operations Manual (GOM) section 13.01.04 mentions withdrawal of negative line items for Informative Ballots; the primary focus of withdrawals relates to Normative Ballots as addressed in the HL7 Essential Requirements (ER) at section 02.09 . To help submitters and co-chairs understand the use of "Withdrawn", the following example scenarios indicate when "Withdrawn" might be used: 1) the WG has agreed to make the requested change; e.g. found the comment "Persuasive" 2) the WG has agreed to make the requested change (Persuasive), but with modification to it or portions therof 3) the WG has found the requested change to be persuasive but out-of scope for the particular ballot cycle and the submiter has agreed to submit the change for the next release 4) the WG has found the requested change to be non-persuasive and has convinced the submitter to accept that decision. If the negative submitter agrees to "Withdraw" a negative line item it must be recorded in the ballot spreadsheet as a "withdrawn". Should the submitter, for whatever reason, not agree to withdraw a negative comment found persuasive, this column should be marked "resolved". In all other cases where the submitter refuses to withdraw the negative comment it should be left blank. The intent of this field is to help manage negative line items, but the WG may elect to manage affirmative comments (suggestions, typos, questions) using this field if they so desire. |  |  | All
This field may be populated based on the ballotter's verbal statement in a WGM, in a teleconference or in a private conversation with a WG co-chair. The intention will be documented in the minutes as appropriate and on the ballot spreadsheet. The entry must be dated if it occurs outside of a WGM. The field will be left unpopulated if the ballotter elects to not withdraw or retract the negative line item. Note that a ballotter often withdraws a line item before a change is actually applied. The WG is obliged to do a cross check of the Disposition field with the Change Applied field to ensure that they have finished dealing with the line item appropriately. Retract The submitter has been convinced by the WG to retract the ballot line item. This may be due to a decision to make the change in a future version or a misunderstanding about the content. This action is not to be confused with a withdrawal which signifies the successful resolution of a negative line item; rather a line item retraction equates to the line item never having been submitted and it is not counted in any Ballot tally. NOTE: If the line item was previously referred, but withdrawn or retracted; once the line item is dealt with in the referral WG update the disposition as appropriate when the line item is resolved.
AF - Disposition External Organizaton | If Disposition requires action from an external organization, such as another standards body or collaborating group, name the organization or group here. |  |  | All
AG - Responsible Person | Identifies a specific person that will ensure that any accepted changes are applied to subsequent materials published by the WG (e.g. updating storyboards, updating DMIMs, etc.). |  |  | All
AH - Change Applied | An indicator to be used by the WG co-chairs to indicate if the proposed changes have indeed been made to the specification's official source material. Values are: Yes - Agreed change has been made No - Agreed change has not yet been made (default) Pre - Change has been pre-applied based on proposed disposition. Once final disposition is agreed, this may be changed to Y if the final disposition is unchanged from the proposed disposition. This column must be populated (and should only be populated) if the disposition is Persuasive, Persuasive with Mod or Not Persuasive with Mod. |  |  | All
AI - Substantive Change | Yes, No, or blank indicator to be used by the WG co-chairs to indicate if the line item involves a change considered to be substantive. This column should only be populated if the disposition is Persuasive, Persuasive with Mod or Not Persuasive with Mod. If any confusion as to status, may be a substantive change. NOTE: Substantive change is only a consideration on Normative Ballot items. The ANSI definition of substantive change is "A substantive change in a proposed American National Standard is one that directly and materially affects the use of the standard. Examples of substantive changes are "shall" to "should" or "should" to "shall"; addition, deletion or revision of requirements, regardless of the number of changes; addition of mandatory compliance with referenced standards." The HL ER mirrors the ANSI definition and adds the following: "A substantive change is any change that materially affects the intent or content of the proposed HL7 ANS as balloted; e.g., alters the information content of a message, the circumstances under which it would be sent, or the interpretation of its content." The ARB, pending endorsement by the TSC, has put forward the following: "A substantive change is one that changes the semantics of a given specification, i.e. representational changes should <<not>> be considered substantive in the context of the source specification itself <<unless>> such representational changes could substantively change down-stream derivative products of the specification, including either/both derivative semantics and/or derivative serializations or other wire-format-sensitive constructs." Any substantive change to a specification under normative shall necessitate a subsequent normative ballot of the same content; allowing the consensus group to respond, reaffirm, or change their vote due to the substantive change. |  |  | All
AJ - Submitted By | This column is auto filled from the Submitter Worksheet. It is used to refer back to the submitter for a given line item when all the ballot line items are combined into a single spreadsheet or database. For Organization and Benefactor members, the designated contact must be one of your registered voters to conform with ANSI guidelines. |  |  | All
AK - Organization | This column is auto filled from the Submitter Worksheet. Submitter's should enter the name of the organization that they represent with respect to voting if different from the organization which employs them. It is used to link the submitter's name with the organization they are voting on behalf of for a given line item when all the ballot line items are combined into a single spreadsheet or database. |  |  | All
AL - On Behalf Of | This column is autofilled from the Submitter Worksheet, but can be overwritten when comments from multiple contributors are combined into one spreadsheet by the submitter. It is used to track the original submitter of the line item. Many International Affiliates and Organizational submitters pool comments from a variety of reviewers, who can then be tracked using this column. |  |  | All
AM - Commenter Email | This column is autofilled from the Submitter Worksheet. It is used to track the email address of the original submitter of the line item. Many International Affiliates and Organizational submitters pool comments from a variety of reviewers, who can then be tracked using this column. |  |  | All
AN - Submitter Tracking ID # | Identifier internal to the organization or Affiliate submitting the ballot. This should be a meaningful number to the organization or Affiliate submitter that allows them to track comments. This can be something as simple as the reviewer’s initials followed by a number for each comment, i.e. JD-1, or even more complex such as ‘001XXhsJul03’ where ‘001’ is the unique item number, ‘XX’ is the reviewer's initials, ‘hs’ is the company initials, and ‘Jul03’ is the date the ballot was released. If additional rows are added, please do so after the last row in the ballot spreadsheet to ensure that the sequential numbers are maintained. |  |  | All
AO - Referred To | Use this column to indicate the WG you have referred this ballot comment to. Not used for gForge-associated ballots. (Simply re-assign the disposition WG to the appropriate WG) |  |  | All except FHIR
AP - Received From | Use this column to indicate the WG or external organization from which the WG received the resolution for this ballot comment, if different from [Disposition] WG or [Disposition] external organization identified previously. Not used for gForge-associated ballots. |  |  | All except FHIR
AQ - Notes | This is a free text field that WGs can use to add comments regarding the current status of referred or received item. Not used for gForge-associated ballots. |  |  | All except FHIR

## Instructions Cont..
Ballot instructions continued... | Back to ballot | Back to instructions
The "Disposition" column must be populated unless the comment is marked as Retracted or Withdrawn or the Disposition Comment column identifies the row as a duplicate of another comment line for which a disposition comment is provided. Note that "Referred and Tracked", "Pending Input from Submitter" and "Pending Input from Work Group" values are not considered final. These values cannot be present in the final disposition spreadsheet for Normative or DSTU ballots. Values for this column must be one of the following:
Negative Ballot line item without Comment
Per HL7 ER §02.09.01.03 "a negative ballot not accompanied by comments shall not be considered. Such ballots ... will be recorded as a “negative without comment” for the purposes of establishing a quorum and reporting to ANSI." Any negative line item without a viable comment or proposed solution shall be ignored.
Applicable to All Ballot Comments (Affirmative and Negative)
1. Persuasive. A majority of the WG has accepted the ballot comment as submitted and will make the appropriate change in the next ballot cycle. At this point the comment is considered resolved and the corresponding cell in the "Withdrawn" column should be marked appropriately.
For Normative Ballot negative line items HL7 Essential Requirements (ER) §02.09.01.03 states that "Where a majority of the Work Group voting on reconciliation agrees that the position expressed by the negative response is persuasive, the changes recommended by the comment shall be incorporated into the specification as reasonable and necessary revisions. The submitter may choose to withdraw their negative in favor of an affirmative; if not, the response shall be recorded and reported to ANSI as a resolved negative given that the submitter’s concern has been satisfied by the adoption of their recommended solution."
2. Persuasive with Mod. A majority of the WG believes the ballot comment has merit, but has changed the submitter's proposed solution.
Example scenarios include, but are not limited to;
-The WG has accepted the intent of the ballot comment, but has changed the proposed solution
-The WG has accepted part of the ballot comment, and will make a change to the standard; the other part was declared not persuasive
-The WG has accepted part of the ballot comment, and will make a change to the standard; the other part may be persuasive but is out of scope
The standard will be changed accordingly in the next ballot cycle. The nature of, or reason for, the modification is reflected in the Disposition Comments. In the case of a Normative Ballot this action does not fully met the requirements of declaring the comment persuasive per HL7 ER §02.09.01.03. Therefore; the decision to support the resolution proposed by the WG by withdrawing the negative is solely at the discretioin of the submitter. For non-Normative Ballots the negative comment may be marked as withdrawn or resolved.
3. Not Persuasive. The WG does not believe the ballot comment has merit or is unclear. For non-Normative Ballots, the decision of the WG is final. The change proposed will not be incorporated into the ballot material. The WG must indicate in Disposition Comments their rationale for declaring the comment Not Persuasive. The HL7 ER §02.09.01.02 states "A negative response should be considered not persuasive if it deals with processes or issues not in the purview of the Work Group responsible for ballot content; suggests the use of alternate methodologies or solutions; or questions the validity of the approach or the expertise of the developers."
Example scenarios include, but are not limited to;
- the submitter has provided a recommendation or comment that the WG deems invalid or unworkable
- the recommendation/solution provided by the submitter is not clear; the submitter is encouraged to submit a proposal on a future ballot
For Normative Ballot negative line items HL7 ER §02.09.01.02 states "Approval of a motion to declare a negative response not persuasive shall require an affirmative majority vote of the combined affirmative and negative votes cast by the Work Group during reconciliation. The submitter of a negative response declared not persuasive shall be advised of the disposition of their response and the reasons therefore. The submitter may choose to withdraw their negative in favor of an affirmative or abstention; otherwise, the response shall be recorded and reported to ANSI as an unresolved negative."
For a Normative Ballot the ballot submitter has the option to appeal this decision: HL7 ER §02.13.
4. Not Persuasive with Mod. The comment was declared not persuasive (see 3. above) by the WG; however, the WG has agreed to make certain modifications to the ballot material based on this comment. For example, adding additional explanatory text. The proposed changes suggested by the comment deemed not persuaive will not be made to the ballot material. For non-Normative Ballots the decision of the WG is final. The WG must indicate in Disposition Comments their rationale for declaring the comment Not Persuasive. For a Normative Ballot the submitter has the option to appeal this decision: HL7 ER §02.13.
5. Not Related. Although this disposition is applicable to all ballot types; in the case of a Normative Ballot HL7 ER §02.09.01.01 states:
"A negative response should be considered not related if it deals with issues or functionality that is beyond the scope of or is, in the considered opinion of the Work Group, clearly not related to the ballot subject matter. Approval of a motion to declare a negative response not related shall require an affirmative majority vote of the combined affirmative and negative votes cast by the Work Group during reconciliation. Negative responses declared not related shall be recorded and reported to ANSI as a “negative without comment” and shall not impede progress of the ballot.
Those items declared not related shall become recommended actions for the development of new or revision of existing HL7 ANS. The submitter of a negative response declared not related shall be advised of the disposition of their response and the reasons therefore. No further action is required."
The decision of the WG is final and requires no vote on non-Normative Ballot items.
Example scenarios include, but are not limited to;
- the submitter is commenting on a portion of the ballot material that is not part of the current ballot
- the submitter's comments may be persuasive but is beyond the scope of the material in the ballot cycle.
- the submitter is commenting on something that is not part of the domain
6. Referred and Tracked. This should be used in circumstances when a comment was submitted to your WG in error and should have been submitted to another WG. If you use this disposition you should also select the name of the WG you referred the comment to under the Column "Referred To". Note: This disposition is not used for ballots making use of the gForge tracker. Simply re-assign the dispositioning work group and leave the disposition unspecified.
7. Pending Input from Submitter. This should be used when the WG has read the comment but didn't quite understand it or needs to get more input from the submitter. By selecting "Pending Input from Submitter" the WG can track and sort their dispositions more accurately. In no case shall a WG seek further input from a submitter of a negative without comment.
8. Pending Input from other WG. The WG has determined that they cannot give the comment a disposition without further input or a final decision from another WG. This should be used for comments that do belong to your WG but require a decision from another WG, such as ARB or MnM. Use "Disposition WG" to designate the WG providing additional input.
Applicable only to Affirmative Ballot Comments
9. Considered for future use. The WG, or a representative of the WG (editor or task force), has reviewed the affirmative suggestion or comment and has determined that it is not applicable to the ballot material at this point in time. It will be considered for a future release of the ballot material. This is in keeping with ANSI requirements. The reviewer should comment on the result of the ballot comment consideration.
10. Considered-Question answered. The WG, or a representative of the WG (editor or task force), has responded to the question affixed to the affirmative line item. In so doing, the WG has determined that no change will be made to the ballot material at this time. This is in keeping with ANSI requirements. If appropriate, the topic raised can be recorded for use in a future release of the ballot material.
11. Considered-No action required. Occasionally people will submit an affirmative comment that does not require an action. For example, some WG's have received comments of praise for a job well done. This comment doesn't require any further action on the WG's part, other than to keep up the good work.

## Format Guidelines
Note on entering large bodies of text:
------------------------------------------------------------------
When entering a large body of text in an Excel spreadsheet cell:
1) The cell is pre-set to word wrap
2) You can expand the column if you would like to see more of the available data
3) There is a limit to the amount of text you can enter into a "comment" text column so keep things brief.
-For verbose text, we recommend a separate word document; reference the file name here and include it (zipped) with your ballot.
4) To create a paragraph break in lengthy text, use Alt + Enter on your keyboard.
5) To create "bullets", simply use a dash "-" space for each item you want to
"bullet" and use two paragraph marks between them (Alt + Enter as described
above).
------------------------------------------------------------------

## Co-Chair Guidelines
Note: This section is a placeholder for Q&A/Helpful Hints for ballot resolution.
Marked ballots
Issue: On second and subsequent Normative ballots only the substantive changes that were added since the last ballot are marked as ballot material, with the instructions that ballots returned on unmarked items will be found “not related”. How do you handle obvious errors that were not marked, for example, the address for an external reference (e.g. DICOM) is incorrect?
Response: You can correct the obvious typographical errors as long as it is not a substantive change, even if it is unmarked. We recommend a conservative interpretation of “obvious error” as you do not want to make a change that will be questioned or perceived to show favoritism. If you are unclear if the item is an “obvious error” consult the TSC Chair or ARB.
Comment: With the progression of ballots from Review - > Normative the closer you get to the final ballot, the more conservative you should be in adding content. In the early stages of Review ballot, it may be acceptable to add new content (if endorsed by the WG) as wider audiences will review/critique on a Normative ballot.
Not Persuasive
Issue: Must use with discretion·
Response: In all cases, the voter must be informed of the WG’s action. The preferred outcome is for the voter to withdraw a negative ballot. It is within a chair’s prerogative, with the concurrence of a majority of the WG, to declare an item non-persuasive. If you correct a typo or clarify wording, the item may no longer (in effect) be not persuasive once you have adopted their recommended change; however, the voter should then willingly withdraw their negative as you have accepted their proposed correction.. In all cases, you must inform the voter of the outcome of WG deliberations.
Not Related
Issue: Must use with discretion·
Response: Used, for example, if the ballot item is out of scope, e.g. on a marked ballot the voter has submitted a comment on an area not subject to vote.· Out of scope items are treated the same as Negative Votes without comment
Comment:
Non-standard ballot responses are received
Issue: The ballot spreadsheet allows invalid combination, such as negative typo.
Response: Revise the ballot spreadsheets to support only the ANSI defined votes, plus “minor” and “major” negative as requested by the WG's for use as a management tool. Question will be removed. Suggestion will be retained
Comment: Separate Affirmative/Abstain and Negative ballots will be created. Affirmative ballots will support: affirmative, affirmative with comment, affirmative with comment – typo, affirmative with comment – suggestion, abstain. Negative ballots will support: negative with reason – major, negative with reason – minor. Note: “major” and “minor”, being subjective, mayu need definition.
Substantive changes must be noted in ballot reconciliation
Issue: Who determines whether a ballot goes forward?
Response: Substantive changes in a Normative Ballot will result in a subsequent ballot. Substantive changes should be identified on the ballot reconciliation form. (Refer to HL7 ER 02.09.04). The TSC will determine whether an Informative or DSTU ballot should be submitted for another Review ballot or move to publication.
Comment: · Co-chairs and Editors need a working knowledge of “substantive change” as defined in the HL7 ER and extended on the ARB website.·
What Reconciliation Documentation Should Be Retained?
Issue:
Response: The Ballot Desktop provides all the information necessary to support the ballot process and ensure that the appropriate documentation if retained. As for affirmative comments, ANSI requires that all comments accompanying affirmative ballots be considered as possible future projects or revisions. You may use the disposition "considered" to mark affirmative comments that have been reviewed. WG's are encouraged to include in the comment section what they think of the affirmative comment and whether or not they think action should be taken, and by who.
Comment:
How do you handle negatives without comment?
Issue:
Response: Per ANSI and the HL7 ER, "A negative ballot not accompanied by comments SHALL NOT be considered. Such ballots will be recorded as a “negative without comment” for the purposes of establishing a quorum and reporting to ANSI. However, these ballots shall not be factored into the numerical requirements for approval. No effort shall be made to solicit comments from the submitter of a negative ballot submitted without comment."
Comment:
Appeals
Issue: How are appeals handled?
Response: Refer to the HL7 ER 02.13 regards appeals of WG reconciliation of Normative Ballots. There is no appeal process realated to Review Ballots.
Comment:
Some information is not being retained
Issue: The disposition of the line item as to whether or not a change request has been accepted needs to be retained. ·
Response:The status of the line item as it pertains to whether or not the respondent has withdrawn the line item is a separate matter and needs to be recorded in the column titled "Withdrawn'
Comment:
Some information is not being retained
Issue: There is divided opinion as to whether or not WGs need to review all line items in a ballot. Should there be a statement on the reconciliation document noting what the WG decided?
Response: While the WG doesn't necessarily need to take a vote on each line item, all comments must be reviewed. However, a record needs to be kept of the review and disposition. There are other ways to review, e.g. send to the WG for review offline, and then discuss in conference call. The review could be asynchronous, then coordinated in a conference call. The ballot has to get to a level where the WG could vote on the disposition of the comment, particularily on a Normative Ballor. The WG might utilize a triage process to manage line items.
Comment: Action Item: Add a checkoff for “considered" to the ballot spreadsheet; this would not require, but does not prohibit, documentation of the relative discussion.
Withdrawing Negatives
Issue:
Response: The Ballot Desktop supports notification of reconciliation to negative voters and to capture their decision to with draw their negative. The submitter marking the negative as withdrawn fulfills the requirement to notify HL7 of their action. If, however, the submitter has verbally expressed the intention to withdraw the negative during the WG meeting, this intent must be documented in the minutes. The Ballot Desktop can be used to e-mail to the negative voter with a note indicating that he/she should withdraw their negative via the Ballot Desktop and that their vote will be considered withdrawn unless they respond otherwise within five (5) days.
Changes applied are not mapped to a specific response
Issue: Changes are sometimes applied to the standard that are not mapped directly to a specific ballot response due to editing requirements
Response: Columns to indicate that comment is a substantive change and to track whether the change has been applied were added.
Comment:
Tracking duplicate ballot issues is a challenge
Issue: Multiple voters submit the same ballot item.
Response: A column is provided for the WG to assign identifiers to like comments. The column can then be used to group all like comments for review. However, the review and disposition must be recorded for each individual comment.
Comment:
Divided opinion on what requires a vote
Issue: Do all negative line items require inspection/vote of the WG?
Response: For a Normative Ballot – Yes, but you can group like items· All substantive line items, especially, require the review/vote of the WG. Non-substantive changes may be review/resolved by either the WG, or some subset thereof, or the WG co-chairs. All disposition actions must be documented.
Comment:
Ballet Reconciliation Process Suggestion
Issue: It might be useful to map the proposed change to the ARB Substantive Change document. This would involve encoding the ARB document and making allowances for “Guideline Not Found”.
Response: ARB is updating their Substantive Change document; this process might elicit additional changes.
Comment: Action Item? Would require an additional column on the spreadsheet
How are line item dispositions handled?
Issue: Line items are not handled consistently
Response: · A Withdrawn negative is counted as an affirmative (this is preferable to not persuasive.)· A ballot item declared not related shall be considered for inclusion in some version of the standard and reported as a "negative without comment" causing it to not be included in the ballot tally. A ballot comment declared not persuasive remains negative and will be reported as an unresolved negative unless withdrawn.· Every negative needs a response; not every negative needs to be withdrawn. The goal is to get enough negatives resolved and withdrawn in order to get the ballot to pass, while producing a quality standard.
Comment:
How should negative line items in an “Affirmative Ballot” be handled?
Issue: Affirmative Ballots are received that contain negative line items. The current practice is to err on the side of caution and treat the negative line item as a true negative (i.e. negative ballot).
Response: It is not just a current practice; by ANSI and HL7 rules any negative line item renders the total ballot response Negative. The Ballot Submitter Instructions inculude this statement.
Comment:
Difference Between Withdrawn and Retract
Issue:
Respnose: A negative line item withdrawn by the submitter becomes an affirmative with the caveat that, if the comment is substantive, there will be subsequent ballot of the same material. If the submitter decides to retract their negative comment with the understanding that it will be considered for a future project or update to the standard, then it is, in essence, removed from the ballot without furhter consideration and does not figure in the ballot tally..
Comment:
The following sections contain known outstanding issues. These have not been resolved because they require a 'ruling' on interpretations of the HL7 ER or GOM as well as possibly updating those documents. If you are ever in doubt on how to proceed on an item, take a proposal for a method of action, then take a vote on that proposal of action and record it in the spreadsheet and in the WG minutes.
Editorial license
Issue: There is divided opinion as to the boundaries of "editorial license".
Response:
Comment:

## Setup
This page reserved for HL7 HQ. DO NOT EDIT.
| Affirmative | Negative
If you submit an overall affirmative vote, please make sure you have not included negative line items on the Ballot worksheet
Please be sure that your overall negative vote has supporting negative comments with explanations on the Ballot worksheet
You have indicated that you will be attending the Working Group Meeting and that you would like to discuss at least one of your comments with the responsible Committee during that time. Please note that due to time constraints not all comments can be reviewed at WGMs and that it is your responsibility to find out when this ballot comment can be scheduled for discussion.
Yes | No
Persuasive | Persuasive with mod | Not persuasive | Not persuasive with mod | Not related | Considered for future use | Considered - No action required | Considered - Question Answered | Referred and tracked | Pending input from submitter | Pending input from other WG