| HL7 V2.9 |  |
| --- | --- |
| Change Request ID: | OO CR137-760 |
| File Name: | OO CR137-760 |
| Description: | Change HL70078 table to HL7 controlled vocab and update codes after v3 harmonization |
| Status: | New Proposal |
| Sponsoring Person | Riki Merrick |
| Sponsoring Business Unit | iConnect Consulting |
| Date Originated: | #### 2013-07-30 |
| Date HL7 approved: |  |
| Backward Compatible: | #### yes |
| Forward Compatible: | #### yes |
| HL7 Status & Date |  |

# Justification Detail:

In order to advance interoperability we suggest to make the HL7 table 78 – test interpretation an HL7 defined table and harmonize v2.x terms and codes with those used in v3 artifacts.

# Open Issues:

- none

# Change Request Impact:

These new fields are required to facilitate interoperability and increase standardization in test interpretation code usage. Adding a definition field to the table in order to further clarify the use of the concept.

# Documentation Changes:

In Chapter 7 and Appendix A update HL70078 to the following format:

| Concept Code | Concept Name | Definition |
| --- | --- | --- |
| < | Below absolute low-off instrument scale Off scale low | The result is below the minimum detection limit (the test procedure or equipment is the limiting factor). Synonyms: Below analytical limit, low off scale |
| > | Above absolute high-off instrument scale Off scale high | The result is above the maximum quantifiable limit (the test procedure or equipment is the limiting factor). Synonyms: Above analytical limit, high off scale |
| D | Significant change down | The current result has decreased from the previous result for a quantitative observation (the change is significant as defined in the respective test procedure). |
| L | Below low normal Low | The result for a quantitative observation is below the lower limit of the reference range (as defined for the respective test procedure). Synonym: Below low normal |
| L< | Very low | The result for a quantitative observation is below a reference level at which action may be considered in the interest of the patient's health (as defined for the respective test procedure). [Note: This level is situated between 'L' and 'LL'.] |
| LL | Below lower panic limits Critically low | The result for a quantitative observation is below a reference level at which immediate action should be considered for patient safety (as defined for the respective test procedure). Synonym: Below lower panic limits |
| H | Above high normal High | The result for a quantitative observation is above the upper limit of the reference range (as defined for the respective test procedure). Synonym: Above high normal |
| H> | Very high | The result for a quantitative observation is above a reference level at which action may be considered in the interest of the patient's health (as defined for the respective test procedure). [Note: This level is situated between 'H' and 'HH'.] |
| HH | Above upper panic limits Critically high | The result for a quantitative observation is above a reference level at which immediate action should be considered for patient safety (as defined for the respective test procedure). Synonym: Above upper panic limits |
| U | Significant change up | The current result has increased from the previous result for a quantitative observation (the change is significant as defined in the respective test procedure). |
| B | Better | The current result or observation value has improved compared to the previous result or observation value (the change is significant as defined in the respective test procedure). [Note: This can be applied to quantitative or qualitative observations.] |
| W | Worse - use when direction not relevant | The current result or observation value has degraded compared to the previous result or observation value (the change is significant as defined in the respective test procedure). [Note: This can be applied to quantitative or qualitative observations.] |
| A | Abnormal (applies to non-numeric results) | The result or observation value is outside the reference range or expected norm (as defined for the respective test procedure). [Note: Typically applies to non-numeric results.] |
| AA | VeryCritically abnormal (applies to non-numeric units, analogous to panic limits for numeric units) | The result or observation value is outside a reference range or expected norm at a level at which immediate action should be considered for patient safety (as defined for the respective test procedure). [Note: Typically applies to non-numeric results. Analogous to critical/panic limits for numeric results.] |
| N | Normal | The result or observation value is within the reference range or expected norm (as defined for the respective test procedure). [Note: Applies to numeric or non-numeric results.] |
| R | Resistant | Bacterial strain inhibited in vitro by a concentration of an antimicrobial agent that is associated with a high likelihood of therapeutic failure. Reference: CLSI (http://www.clsi.org/Content/NavigationMenu/Resources/HarmonizedTerminologyDatabase/Harmonized_Terminolo.htm) Projects: ISO 20776-1, ISO 20776-2 [Note 1: Bacterial strains are categorized as resistant by applying the appropriate breakpoints in a defined phenotypic test system.] [Note 2: This breakpoint can be altered due to changes in circumstances (e.g., changes in commonly used drug dosages, emergence of new resistance mechanisms).] |
| I | Intermediate. Indicates for microbiology susceptibilities only. | Bacterial strain inhibited in vitro by a concentration of an antimicrobial agent that is associated with uncertain therapeutic effect. Reference: CLSI (http://www.clsi.org/Content/NavigationMenu/Resources/HarmonizedTerminologyDatabase/Harmonized_Terminolo.htm) Projects: ISO 20776-1, ISO 20776-2 [Note 1: Bacterial strains are categorized as intermediate by applying the appropriate breakpoints in a defined phenotypic test system.] [Note 2: This class of susceptibility implies that an infection due to the isolate can be appropriately treated in body sites where the drugs are physiologically concentrated or when a high dosage of drug can be used.] [Note 3: This class also indicates a "buffer zone," to prevent small, uncontrolled, technical factors from causing major discrepancies in interpretations.] [Note 4: These breakpoints can be altered due to changes in circumstances (e.g., changes in commonly used drug dosages, emergence of new resistance mechanisms).] |
| S | Susceptible. Indicates for microbiology susceptibilities only. | Bacterial strain inhibited by in vitro concentration of an antimicrobial agent that is associated with a high likelihood of therapeutic success. Reference: CLSI (http://www.clsi.org/Content/NavigationMenu/Resources/HarmonizedTerminologyDatabase/Harmonized_Terminolo.htm) Synonym (earlier term): Sensitive Projects: ISO 20776-1, ISO 20776-2 [Note 1: Bacterial strains are categorized as susceptible by applying the appropriate breakpoints in a defined phenotypic system.] [Note 2: This breakpoint can be altered due to changes in circumstances (e.g., changes in commonly used drug dosages, emergence of new resistance mechanisms).] |
| NS | Non-susceptible | A category used for isolates for which only a susceptible interpretive criterion has been designated because of the absence or rare occurrence of resistant strains. Isolates that have MICs above or zone diameters below the value indicated for the susceptible breakpoint should be reported as non-susceptible. Synonym: decreased susceptibility [Note 1: An isolate that is interpreted as non-susceptible does not necessarily mean that the isolate has a resistance mechanism. It is possible that isolates with MICs above the susceptible breakpoint that lack resistance mechanisms may be encountered within the wild-type distribution subsequent to the time the susceptible-only breakpoint is set.] [Note 2: For strains yielding results in the “non-susceptible” category, organism identification and antimicrobial susceptibility test results should be confirmed.] |
| SDD | Susceptible-dose dependent | A category that includes isolates with antimicrobial agent minimum inhibitory concentrations (MICs) that approach usually attainable blood and tissue levels and for which response rates may be lower than for susceptible isolates. Reference: CLSI document M44-A2 2009 “Method for antifungal disk diffusion susceptibility testing of yeasts; approved guideline – second edition” – page 2. |
| IE | Insufficient evidence | There is insufficient evidence that the species in question is a good target for therapy with the drug. A categorical interpretation is not possible. [Note: A MIC with "IE" and/or a comment may be reported (without an accompanying S, I or R-categorization).] |
| MS | Moderately susceptible. Indicates for microbiology susceptibilities only. | [Note: No longer used in CLSI defintions, so decision was made to deprecate] |
| VS | Very susceptible. Indicates for microbiology susceptibilities only. | [Note: No longer used in CLSI defintions, so decision was made to deprecate] |
| null | No range defined, or normal ranges don't apply | [Note: The actual meaning appears to be "an empty field", there are rules elsewhere for this and it is not a code so decision was made to deprecate] |
| DET | Detected | The measurement of the specified component / analyte, organism or clinical sign above the limit of detection of the performed test or procedure. |
| POS | Positive | A presence finding of the specified component / analyte, organism or clinical sign based on the established threshold of the performed test or procedure. |
| IND | Indeterminate | The specified component / analyte, organism or clinical sign could neither be declared positive / negative or detected / not detected by the performed test or procedure. |
| ND | Not Ddetected | The presence of the specified component / analyte, organism or clinical sign could not be determined within the limit of detection of the performed test or procedure. |
| NEG | Negative | An absence finding of the specified component / analyte, organism or clinical sign based on the established threshold of the performed test or procedure. [Note: Negative does not necessarily imply the complete absence of the specified item.] |
| RR | Reactive | A presence finding used to indicate that the specified component / analyte reacted with the reagent above the reliably measurable limit of the performed test. |
| WR | Weakly reactive | A weighted presence finding used to indicate that the specified component / analyte reacted with the reagent, but below the reliably measurable limit of the performed test. |
| NR | Non-reactive | An absence finding used to indicate that the specified component / analyte did not react measurably with the reagent. |
| AC | Anti-complementary substances present | A valid result cannot be obtained for the specified component / analyte due to the presence of anti-complementary substances in the sample. |
| QCF | Quality Ccontrol Ffailure | A result cannot be considered valid for the specified component / analyte or organism due to failure in the quality control testing component. |
| TOX | Cytotoxic substance present | A valid result cannot be obtained for the specified organism or cell line due to the presence of cytotoxic substances in the sample or culture. |
| CAR | Carrier | The patient is considered as a carrier based on the testing results. A carrier is an individual who carries an altered form of a gene which can lead to having a child or offspring in future generations with a genetic disorder. |
| EX | Outside threshold | The observation/test result is interpreted as being outside the inclusion range for a particular protocol within which the result is being reported. Example: A positive result on a Hepatitis screening test. [Note: THIS IS INTENDED FOR USE IN CLINICAL TRIALS ONLY] |
| HX | Above high threshold | The numeric observation/test result is interpreted as being above the high threshold value for a particular protocol within which the result is being reported. Example: An ALT (SGOT) result above a protocol-defined threshold value of 2.5 times the upper limit of normal based on the subject's sex and age. [Note: THIS IS USED IN CLINICAL TRIALS ONLY!] |
| LX | Below low threshold | The numeric observation/test result is interpreted as being below the low threshold value for a particular protocol within which the result is being reported. Example: A Total White Blood Cell Count falling below a protocol-defined threshold value of 3000/mm^3 [Note: THIS IS USED IN CLINICAL TRIALS ONLY!] |