## Slide 1: LIVD on FHIR
Draft Discussion
JANENE: WE ARE ON A SEPARATE PHONE LINE:
+1 770 6579270 passcode: 398652#

## Slide 2: Concept Mapping
LIVD
Publication
  --
    Equipment
      IVD Test Result Code
      LOINC Code
FHIR Resources
LIVDCatalogProfile (Composition)
  LIVDCatalogEntryProfile (CatalogEntry - R4)
    DeviceDefinitionProfile (Device)
      Choices:
        “ActivityDefinition” codeable concept (one entry with multiple codes)
        “ActivityDefinition” multiple instances and mapped
        Catalog Entry mapping
        ConceptMap

## Slide 3: FHIR Resources
LIVDCatalogProfile
LIVDCatalog EntryProfile
DeviceDefinitionProfile
IVD Test Result
1:*
1:*
0:*
1:1
Publication
Equipment
Analyte Mapping
IVD Test Code may
not have a LOINC code (yet)
Need to support nullflavor
of “unknown”
Need to support that an IVD Test Code can be represented by multiple LOINC codes.
Where there are multiple LOINCs for one IVD Test Code, individual guidance etc.
IVD Test Code
LOINC Code
0:*
Only test device that it is performed on
Does not take into account reagent – future scope perhaps

## Slide 4: Publication: Catalog
LIVD
Publication
  --
  --
  Publisher
  Publication Version ID
  LOINC Version ID
  LOINC Copyright
  Localization
  Region
FHIR Profile on Composition
LIVDCatalogProfile
  Catalog.identifier (1..1)
  Catalog.name (0..1)
  Catalog.publisher (1..1)
  Catalog.version (1..1)
    format to be defined by publisher.
    Ask for Composition.version
  Catalog.LOINCVersionIdentifier (1..1)
    Consider ConceptMap
    Would yield a change in Catalog.identifier
  Catalog.LOINCCopyright (1..1)
    Consider ConceptMap
    Text + URL to terms of use
  Catalog.language (1..1)
    RFC 5646 (doublecheck)
    Extension. Ask for one on Catalog
  Catalog.region (0..1)
    Ask for Composition.context

## Slide 5: “Package” Composition
Composition.status
Composition.type - Could request a LOINC for LIVD Catalog, although we can make up our own.
Composition.subject = LIVDCatalogProfile
Composition.date
Composition.author – Requires Organization to be an allowable reference.
Composition.title – Name of the file?
Composition.section.title = Perhaps: CatalogEntry, Device, ConceptMap, CodingSystem - We can have nested sections, so have some choices.
Composition.section.entry = CatalogEntry instances, Device instances, ConceptMap instances, CodingSystem instances

## Slide 6: Publication Line Item: Catalog Entry
LIVD
--
FHIR Resource – Proposal Pending
CatalogEntry
  CatalogEntry.identifier
Need to find out how far we can go with balloting without this being in R4. Is presence in a build o.k. for a Comment ballot?

## Slide 7: Equipment: Device
LIVD
Equipment
  Manufacturer
  Model
  UID (device identifier component)
  UID Type
FHIR Resource
DeviceDefinitionProfile
  Device.manufacturer (1..1)
  Device.model (1..1)
  Device.udi.deviceIdentifier (0..1)
  Device.udi.issuer (0..1)
    Condition: if Device.udi.deviceIdentifier is present.
While it looks like it is o.k. to have just one device identifier for a publication
For other use cases it may be necessary to have multiple UDIs for one Device. To be
Considered separately. Not in our scope for now.

## Slide 8: What concept for mapping?
ObservationDefinition
  Sounds reasonable, but need to be strictly definition of course
  How do you related observation A with observation B? Component construct?
  Concern that LOINC pre-coordinates various resources it is not great to use of those to represent this.
ActivityDefinition
  To some this sounds more like process steps rather than core tests. For others it could cover tests as well.
  Still a problem how to map.
  Missing data for IVD Test codes and LOINC codes.
ProcedureDefinition
  Could work, but similar challenges as Observation.
  Term is not used within Lab settings, so does not sound right. Perhaps on the order side.
DataElement => StructureDefinition
ConceptMap
  Neutral and has mapping.
  Does not appear to have everything need.
  Need to understand where what goes.

## Slide 9: FHIR Resources
LIVDCatalogProfile
LIVDCatalog EntryProfile
LIVDDeviceDefinitionProfile
1:*
1:1
Publication
Equipment
Analyte Mapping
LIVCConceptMapProfile
1:1
Source: IVD Test Code
Target: LOINC Code
LIVDCodeSystemProfile
Bundle or Composition or both?

## Slide 10: Map Data Model
IVD Test Code
LOINC
      LOINC Code
      LOINC Long Name
      Component
      Property
      Time
      System
      Scale
      Method
    Vendor Analyte Code
    Vendor Analyte Name
    Vendor Reference ID
      Vendor Specimen Description
      Vendor Result Description
      Vendor Comment
0:N

## Slide 11: ConceptMap - LIVD
ConceptMap.identifier
ConceptMap.status
ConceptMap.source
ConceptMap.target
ConceptMap.group.source
ConceptMap.group.sourceVersion
ConceptMap.group.target
ConceptMap.group.targetVersion
ConceptMap.group.element.code
ConceptMap.group.element.target.code
EXT:ConceptMap.group.element.target.dependsOn.criterionType
EXT:ConceptMap.group.element.target.dependsOn.criterion
Not necessary at the moment, maybe future.
Set to active.
Not necessary at the moment since it is contained for the foreseeable future. Maybe in the future.
Not necessary at the moment since it is contained for the foreseeable future. Maybe in the future.
URI to the code system that contains the vendor’s IVD Test Codes
Version of the vendor’s code system
URI to the LOINC code system
Version of LOINC
Vendor Analyte Code
LOINC Code
Values: Vendor Specimen Description, Vendor Result Description, Vendor Comment
The actual value

## Slide 12: Code System
IVD Analyte
  CodeSystem.uri
  CodeSystem.version
  CodeSystem….Various others perhaps
  CodeSystem.concept.code = Vendor Analyte Code
  CodeSystem.concept.display = Vendor Analyte Name
  CodeSystem.concept.designation.use = “Vendor Reference ID”
  CodeSystem.concept.designation.value = the value of the vendor reference ID
LOINC (Get this from elsewhere as probably already done – just need to profile if down further)
  CodeSystem.uri
  CodeSystem.version
  CodeSystem…Various others perhaps
  CodeSystem.concept.code = LOINC Code
  CodeSystem.concept.display = LOINC Long Name
  CodeSystem.concept.property (this likely already is profiled for LOINC)
    Component
    Property
    Time
    System
    Scale
    Method
    http://build.fhir.org/loinc.html

## Slide 13: Profile Considerations
Apply constraints from whitepaper where 0..1 or 0..* become “RE”.
Bind ActivityDefinition.mappingReference (ActivityDefinition.identifier) to LOINC
Do we need a bundle/composition/something to tie the entire “catalog” together?

## Slide 14: Implementation Guide Considerations

## Slide 15: Other Slides not used for now

## Slide 16: IVD Test Result
LIVD
IVD Test Result
  Vendor Analyte Code
  Vendor Analyte Name
  Vendor Specimen Description
  Vendor Result Description
  Vendor Reference ID
  Vendor Comment
FHIR Resource
ActivityDefinition
  ActivityDefinition.identifier
  ActivityDefinition.name
  ActivityDefinition.specimenDefinitionReference(SpecimenDefinition.description)
  ActivityDefinition.description
  ActivityDefinition.relatedArtifact
  ActivityDefinition.description
  ActivityDefinition.mappingReference(ActivityDefinition)

## Slide 17: LOINC Codes
LIVD
LOINC
  LOINC Code
  LOINC Long Name
  Component
  Property
  Time
  System
  Scale
  Method
FHIR Resource - Proposed
ActivityDefinition
  ActivityDefinition.identifier
  ActivityDefinition.LOINC.longName
  ActivityDefinition.LOINC.component
  ActivityDefinition.LOINC.Property
  ActivityDefinition.LOINC.Time
  ActivityDefinition.LOINC.System
  ActivityDefinition.LOINC.Scale
  ActivityDefinition.LOINC.Method
  ActivityDefinition.mappingReference(ActivityDefinition)

## Slide 18: IVD Test Result
LIVD
IVD Test Result
  Vendor Analyte Code
  Vendor Analyte Name
  Vendor Specimen Description
  Vendor Result Description
  Vendor Reference ID
  Vendor Comment
FHIR Resource
ConceptMap

## Slide 19: LOINC Codes
LIVD
LOINC
  LOINC Code
  LOINC Long Name
  Component
  Property
  Time
  System
  Scale
  Method
FHIR Resource - Proposed
ConceptMap

## Slide 20: Bundle
Bundle.type = document
Bundle.entry.resource – The resource instances
Seems to terse and no opportunity to organize the instances into section, nor give the overall package a title.