Proposal: Add Negation Indicator field to OBX

Author: Riki Merrick, MPH

Created: December 21, 2010

Proposal Review Status

| Committee | Relationship | Status | Date |
| --- | --- | --- | --- |
| OO | Interested | Pending |  |
| Vocab | Interested | Pending |  |

Short description:  Add negation indicator to OBX segment

Background:

Clinical practice sometimes requires to explicitly state in a result to a laboratory test, that a specific agent was tested for and not found. For example when testing stool for enteric pathogens, clinicians will expect to know that the laboratory looked for at least Salmonella, Shigella, E.coli and Campylobacter. If none of these organisms were identified in the sample that fact should be clearly state as part of the report going back to the clinician.

Options considered for handling explicit negation:

- SNOMED CT: Over time there are a few terms that have been submitted and accepted into the SNOMED CT international edition, however IHTSDO has indicated, that it will no longer create this type of pre-coordinated terms. In SNOMED one could use post-coordination, however the current state of LIMS/LIS and EHRsystems in the US are a long way away from being able to support proper post-coordination based on SNOMED syntax.

- LOINC: LOINC, in OBX.3, can identify the component very specifically and allows thus, when considered in combination with the absence finding in OBX.5 to state a specific agent was not found. However it is not very likely nor practical to request specific component codes for all possible organisms, when that is not justified because of methodology of detection (organism specific cultures for example).

- OBX-segment: The current OBX segment has the test interpretation field, but using it for explicit negation solicited negative feedback on the OO listserve and the suggestion to add a negation field to the OBX instead.

Proposal:

Append a field to OBX segment that can be used as a negation indicator

Detailed Proposal

OBX.s segment in v2.9:

### OBX - Observation/Result Segment

Same text…

HL7 Attribute Table – OBX – Observation/Result

| SEQ | LEN | C.LEN | DT | OPT | RP/# | TBL# | ITEM# | ELEMENT NAME |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1..4 |  | SI | O |  |  | 00569 | Set ID – OBX |
| 2 | 2..3 |  | ID | C |  | 0125 | 00570 | Value Type |
| 3 |  |  | CWE | R |  | 9999 | 00571 | Observation Identifier |
| 4 |  | 20= | ST | C |  |  | 00572 | Observation Sub-ID |
| 5 |  |  | varies | C | Y |  | 00573 | Observation Value |
| 6 |  |  | CWE | O |  | 9999 | 00574 | Units |
| 7 |  | 60= | ST | O |  |  | 00575 | References Range |
| 8 |  |  | CWE | O | Y | 0078 | 00576 | Interpretation Codes |
| 9 |  | 5# | NM | O |  |  | 00577 | Probability |
| 10 | 1..2 |  | ID | O | Y | 0080 | 00578 | Nature of Abnormal Test |
| 11 | 1..1 |  | ID | R |  | 0085 | 00579 | Observation Result Status |
| 12 |  |  | DTM | O |  |  | 00580 | Effective Date of Reference Range |
| 13 |  | 20= | ST | O |  |  | 00581 | User Defined Access Checks |
| 14 |  |  | DTM | O |  |  | 00582 | Date/Time of the Observation |
| 15 |  |  | CWE | B |  | 9999 | 00583 | Producer's ID |
| 16 |  |  | XCN | B | Y |  | 00584 | Responsible Observer |
| 17 |  |  | CWE | O | Y | 9999 | 00936 | Observation Method |
| 18 |  |  | EI | B | Y |  | 01479 | Equipment Instance Identifier |
| 19 |  |  | DTM | O |  |  | 01480 | Date/Time of the Analysis |
| 20 |  |  | CWE | O | Y | 0163 | 02179 | Observation Site |
| 21 |  |  | EI | O |  |  | 02180 | Observation Instance Identifier |
| 22 |  |  | CNE | C |  | 0725 | 02182 | Mood Code |
| 23 |  |  | XON | B | N |  | 02283 | Performing Organization Name |
| 24 |  |  | XAD | B | N |  | 02284 | Performing Organization Address |
| 25 |  |  | XCN | B | N |  | 02285 | Performing Organization Medical Director |
| 26 | 1..10 |  | ID | O | N | 0909 | 02313 | Patient Results Release Category |
| 27 | 0..1 |  | ID | O | N | 0136 | ????? | Observation Value Negation Indicator |

#### OBX-27   Observation Value Negation Indicator (ID)   ?????

Definition:  The Observation Value Negation Indicator is used to explicitly identify that a particular observation described in OBX.5 has NOT occurred. For example for a stool culture this can be used to explicitly state that we attempted, but did NOT isolate Salmonella Species.

T = Observation did NOT occur

F = Observation did occur – should this be considered default?

# Footnotes

May repeat for multipart, single answer results with appropriate data types, e.g., CE, TX, and FT data types.