| HL7 V2.8.1 and HL7 Version 2 Implementation Guide: Laboratory Test Compendium Framework (eDOS) |
| --- |
| Change Request ID: | OO CR134-754 |
| File Name: | OO CR134-754 |
| Description: | OM1 segment revisions |
| Status: | New Proposal |
| Sponsoring Person | Freida Hall |
| Sponsoring Business Unit | Quest Diagnostics/ONC S&I Framework eDOS WG Co-Chair |
| Date Originated: | 2013-06-04 |
| Date HL7 approved: |  |
| Backward Compatible: | Yes adding new fields to segment in new version |
| Forward Compatible: | Yes adding new fields to segment in new version |
| HL7 Status & Date |  |

# Justification Detail:

In the process of developing Release 2 of the eDOS (electronic directory of service) Implementation Guide (IG), participants have identified new fields needed.  To accommodate addition to the IG, the fields will be added to V2.8.1 and pre-adopted in the eDOS IG.

# Open Issues:

- Add field (OM1-52) to indicate the replacement test code when an “old” test code is deactivated.  (Source Office of National Coordinator [ONC] eDOS Work Group[WG])

- Add fields to OM1 segment to indicate when prior results or special instructions are needed for a particular test. (Source ONC Laboratory Order Interface [LOI] Vocabulary WG)

# Change Request Impact:

These new fields are required to facilitate interoperability and reduce manual processing.

# Documentation Changes:

Add new fields to the OM1 segment in HL7 V2.8.1 and pre-adopt in eDOS IG Release 2.  Both are scheduled to ballot in June, 2013.

V2.8.1 (Excerpt below from January 2013 ballot copy of V2.8)

### OM1 - General Segment (Fields That Apply to Most Observations

The Technical Steward for the OM1 segment is Orders and Observations.

The OM1 segment contains the attributes that apply to the definition of most observations.  This segment  contains the field attributes that specify what additional segments might also be defined for this observation.

HL7 Attribute Table - OM1 - General Segment

| SEQ | LEN | C.LEN | DT | OPT | RP/# | TBL# | ITEM# | ELEMENT NAME |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | 4= | NM | R |  |  | 00586 | Sequence Number - Test/Observation Master File |
| 2 |  |  | CWE | R |  | 9999 | 00587 | Producer's Service/Test/Observation ID |
| 3 | 2..3 |  | ID | O | Y | 0125 | 00588 | Permitted Data Types |
| 4 | 1..1 |  | ID | R |  | 0136 | 00589 | Specimen Required |
| 5 |  |  | CWE | R |  | 9999 | 00590 | Producer ID |
| 6 |  | 200# | TX | O |  |  | 00591 | Observation Description |
| 7 |  |  | CWE | O |  | 9999 | 00592 | Other Service/Test/Observation IDs for the Observation |
| 8 |  | 200# | ST | B | Y |  | 00593 | Other Names |
| 9 |  | 30# | ST | O |  |  | 00594 | Preferred Report Name for the Observation |
| 10 | 1..8 |  | ST | O |  |  | 00595 | Preferred Short Name or Mnemonic for the Observation |
| 11 |  | 200= | ST | O |  |  | 00596 | Preferred Long Name for the Observation |
| 12 | 1..1 |  | ID | O |  | 0136 | 00597 | Orderability |
| 13 |  |  | CWE | O | Y | 9999 | 00598 | Identity of Instrument Used to Perform this Study |
| 14 |  |  | CWE | O | Y | 9999 | 00599 | Coded Representation of Method |
| 15 | 1..1 |  | ID | O |  | 0136 | 00600 | Portable Device Indicator |
| 16 |  |  | CWE | B | Y | 9999 | 00601 | Observation Producing Department/Section |
| 17 |  |  | XTN | B |  |  | 00602 | Telephone Number of Section |
| 18 | 1..1 |  | CWE | R |  | 0174 | 00603 | Nature of Service/Test/Observation |
| 19 |  |  | CWE | O |  | 9999 | 00604 | Report Subheader |
| 20 |  | 20= | ST | O |  |  | 00605 | Report Display Order |
| 21 |  |  | DTM | O |  |  | 00606 | Date/Time Stamp for Any Change in Definition for the Observation |
| 22 |  |  | DTM | O |  |  | 00607 | Effective Date/Time of Change |
| 23 |  |  | NM | O |  |  | 00608 | Typical Turn-Around Time |
| 24 |  |  | NM | O |  |  | 00609 | Processing Time |
| 25 | 1..1 |  | ID | O | Y | 0168 | 00610 | Processing Priority |
| 26 | 1..1 |  | ID | O |  | 0169 | 00611 | Reporting Priority |
| 27 |  |  | CWE | B | Y | 9999 | 00612 | Outside Site(s) Where Observation May Be Performed |
| 28 |  |  | XAD | B | Y |  | 00613 | Address of Outside Site(s) |
| 29 |  |  | XTN | B |  |  | 00614 | Phone Number of Outside Site |
| 30 |  |  | CWE | O |  | 0177 | 00615 | Confidentiality Code |
| 31 |  |  | CWE | O | Y | 9999 | 00616 | Observations Required to Interpret this Observation |
| 32 |  |  | TX | O |  |  | 00617 | Interpretation of Observations |
| 33 |  |  | CWE | O |  | 9999 | 00618 | Contraindications to Observations |
| 34 |  |  | CWE | O | Y | 9999 | 00619 | Reflex Tests/Observations |
| 35 |  |  | TX | O |  |  | 00620 | Rules that Trigger Reflex Testing |
| 36 |  |  | CWE | O |  | 9999 | 00621 | Fixed Canned Message |
| 37 |  | 200= | TX | O |  |  | 00622 | Patient Preparation |
| 38 |  |  | CWE | O |  | 9999 | 00623 | Procedure Medication |
| 39 |  | 200= | TX | O |  |  | 00624 | Factors that may Affect the Observation |
| 40 |  | 60= | ST | O | Y |  | 00625 | Service/Test/Observation Performance Schedule |
| 41 |  |  | TX | O |  |  | 00626 | Description of Test Methods |
| 42 |  |  | CWE | O |  | 0254 | 00937 | Kind of Quantity Observed |
| 43 |  |  | CWE | O |  | 0255 | 00938 | Point Versus Interval |
| 44 |  | 200= | TX | O |  | 0256/ 0257 | 00939 | Challenge Information |
| 45 |  |  | CWE | O |  | 0258 | 00940 | Relationship Modifier |
| 46 |  |  | CWE | O |  | 9999 | 00941 | Target Anatomic Site Of Test |
| 47 |  |  | CWE | O |  | 0910 | 00942 | Modality of Imaging Measurement |
| 48 | 1..1 |  | ID | O |  | 0919 | 03310 | Exclusive Test |
| 49 | 2..3 |  | ID | O |  | 0074 | 00257 | Diagnostic Service Sector ID |
| 50 |  |  | CWE | O |  | 0446 | 01539 | Taxonomic Classification Code |
| 51 | 200 |  | ST | O | Y |  | 03399 | Other Names |
| 52 |  |  | CWE | O | Y | 9999 | ????? | Replacement Producer's Service/Test/Observation ID |
| 53 |  |  | TX | O | Y |  | ????? | Prior Resuts Instructions |
| 54 |  |  | TX | O | Y |  | ????? | Special Instructions |

#### OM1-52 Replaced Producer’s Service/Test Observation ID    (CWE)   ?????

Definition:  This field is used in conjunction with a MFE-1 Record-Level Event Code ‘MDC’ defined as:  “Deactivate:  discontinue using record in master file, but do not delete from database”, in conjunction with an OM1 segment providing detail for the deactivate code.  When the OM1-2 Producer’s Service/Test/Observation ID is being deactivated, use OM1-52 to indicate the producer’s replacement test or observationcode(s), as it was defined in the OM1-2 Producer’s Service/Test/Observation ID when the new/replacement code was added.

Note: Replacement codes referenced by OM1-52 must be added to the receiver’s system before sending a deactivate record for the code being obsoleted.

Table below for information in change request proposal process and not intended for inclusion in the base standard:

| File-Level Event MFI-3 | Record-Level Event MFE-1 | Comment |
| --- | --- | --- |
| REP | MAD – Add record to master file | Note: If the MFI-3 - File-Level Event Code is "REP" (replace file), then each MFE segment must have an MFE-1 - Record-Level Event Code of "MAD" (add record to master file). |
| UPD | MAD – Add record to master file | (MFI-3) UPD means that the events are defined according to the record-level event code contained in each MFE segment in that message. |
| UPD | MDC – Deactivate: discontinue using record in master file, but do not delete from database | (MFI-3) UPD means that the events are defined according to the record-level event code contained in each MFE segment in that message. |
| UPD | MAC – Reactivate deactivated record | (MFI-3) UPD means that the events are defined according to the record-level event code contained in each MFE segment in that message. |

#### OM1-53 Prior Results Instructions   (TX)   ?????

Definition:  This field is used to indicate when the test in OM1-2 Producer’s Service/Test/Observation ID is ordered, prior results  should accompany the order (OML^O21^OML_O21: Laboratory Order Message).  For example, when ordering a Thyroid FNA (Fine Needle Aspiration) Evaluation, send the  prior results of Ultrasound Findings.  The instructions may also indicate a timeframe, for example, send the prior results of CBC in past 60 days.

#### OM1-54 Special Instructions   (TX)   ?????

Definition:  This field is used to convey special instructions for the test, for example, when ordering  <insert test name>  Please list drugs to be tested.

eDOS IG R2 Revisions

### OM1 – General Segment

| Table 4-11. General Segment (OM1) |
| --- |
| SEQ | Element Name | DT | Usage | Cardinality | Value Set | Comment |
| 1 | Sequence Number - Test/Observation Master File | NM | R | [1..1] |  | This field should always be sent when an OM1 segment is sent. For the first occurrence of this segment, the sequence shall be 1. |
| 2 | Producer's Service/Test/Observation ID | CWE_CR | R | [1..1] | HL79999 |  |
| 3 | Permitted Data Types |  | O |  |  |  |
| 4 | Specimen Required | ID | R | [1..1] | HL70136 | This will be Y(es) for orderable tests. This may be N(o) for non-orderable components, like laboratory-performed calculations, administrative tests (24 hr urine volume). |
| 5 | Producer ID | CWE | R | [1..1] | HL79999 |  |
| 6 | Observation Description |  | O |  |  |  |
| 7 | Other Service/Test/Observation IDs for the Observation |  | O |  |  |  |
| 8 | Other Names |  | X |  |  | Excluded for this Implementation Guide, see Section 1.3.1 Pre-adopt V2.8 field deprecation in favor of OM1-51. |
| 9 | Preferred Report Name for the Observation | ST | C(R/O) | [0..1] |  | Must be valued if OM1-10 and 11 are not valued |
| 10 | Preferred Short Name or Mnemonic for Observation | ST | C(R/O) | [0..1] |  | Must be valued if OM1-9 and 11 are not valued |
| 11 | Preferred Long Name for the Observation | ST | C(R/O) | [0..1] |  | Must be valued if OM1-9 and 10 are not valued |
| 12 | Orderability | ID | R | [1..1] | HL70136 |  |
| 13 | Identity of Instrument Used to Perform this Study |  | O |  |  |  |
| 14 | Coded Representation of Method |  | O |  |  |  |
| 15 | Portable Device Indicator |  | O |  |  |  |
| 16 | Observation Producing Department/Section |  | X |  |  | Excluded for this Implementation Guide, see Section 1.3.1 Pre-adopt V2.8 field deprecation in favor of OM1-49 |
| 17 | Telephone Number of Section |  | O |  |  |  |
| 18 | Nature of Service/Test/Observation | IS | R | [1..1] | HL70174 |  |
| 19 | Report Subheader |  | O |  |  |  |
| 20 | Report Display Order |  | O |  |  |  |
| 21 | Date/Time Stamp for any change in Definition for the Observation |  | O |  |  | Date of last update for the observation |
| 22 | Effective Date/Time of Change | DTM | RE | [0..1] |  | The Effective Time shall be 00:00:01 (midnight) of the Effective Date unless otherwise specified. If this field is empty, assume effective immediately. |
| 23 | Typical Turn-Around Time | NM | RE | [0..1] |  | Presented in minutes, upon receipt of specimen |
| 24 | Processing Time |  | O |  |  |  |
| 25 | Processing Priority |  | O |  |  |  |
| 26 | Reporting Priority |  | O |  |  |  |
| 27 | Outside Site(s) Where Observation may be Performed | CWE | C(RE/O) | [0..*] | HL79999 | CE (Conditional but it may be empty) in V2.5.1 |
| 28 | Address of Outside Site(s) | XAD | C(R/O) | [0..*] |  | Condition Predicate: If OM1-27 is valued. If the lab providing the Directory of Service is not the performing laboratory and sends the work to an outside facility this information shall be provided |
| 29 | Phone Number of Outside Site |  | O |  |  |  |
| 30 | Confidentiality Code |  | O |  |  |  |
| 31 | Observations Required to Interpret the Observation | CWE_CR | RE | [0..*] | HL79999 | This field will contain the Ask at Order Entry (AOE) question(s). CWE data type pre-adopted from V2.7.1; cardinality ( unlimited repeats) pre-adopted from V2.8. Refer to Appendix A – Ask at Order Entry for additional information. |
| 32 | Interpretation of Observations | TX | RE | [0..*] |  | Examples of information included in this field are Clinical Significance, Additional Notes, and Compliance Remarks. |
| 33 | Contraindications to Observations | CWE | RE | [0..*] | HL79999 | Examples of information included in this field are Limitations or Contraindications that may affect the observations. |
| 34 | Reflex Tests/Observations | CWE_CR | RE | [0..*] | HL79999 | This field contains all potential reflex tests for this test/observation. |
| 35 | Rules that Trigger Reflex Testing | TX | RE | [0..*] |  | This repeating field refers to the corresponding position within OM1-34 (Reflex Tests/Observations). For example, the third member of this field identifies the conditions for the third reflex test listed in OM1-34. |
| 36 | Fixed Canned Message |  | O |  |  |  |
| 37 | Patient Preparation | TX | RE | [0..1] |  | This field indicates any patient preparation required prior to collecting the specimen(s) for this observation. For example, Patient fasting required for 12 hours. |
| 38 | Procedure Medication |  | O |  |  |  |
| 39 | Factors that may Affect the Observation | TX | RE | [0..1] |  | This field shall contain information such as Causes for Rejection (i.e…Hemolyzed sample, Quantity not sufficient, Clotted sample, etc.). |
| 40 | Service/Test/Observation Performance Schedule | ST | RE | [0..*] |  | An example of a performance schedule may be “every Monday, Wednesday, Friday”. Other ways that this might be displayed are “Mon, Wed, Fri” or “M, W, F.” |
| 41 | Description of Test Methods |  | O |  |  |  |
| 42 | Kind of Quantity Observed |  | O |  |  |  |
| 43 | Point Versus Interval |  | O |  |  |  |
| 44 | Challenge Information |  | O |  |  |  |
| 45 | Relationship Modifier |  | O |  |  |  |
| 46 | Target Anatomic Site Of Test |  | O |  |  |  |
| 47 | Modality Of Imaging Measurement |  | O |  |  |  |
| 48 | Exclusive Test | ID | RE | [0..1] | HL70919 | Pre-adopted V2.8 HL7 Definition: This field defines if this test should be a specific event with no other tests to be proformed with this test. Refer to HL7 Table 0919 – Exclusive Test for valid values. If not populated, the default value of “N” is assumed and that this test can be included with any number of other tests. When D is specified for this field, using field OM1-49 determines how tests must be grouped together. Tests within the same Diagnostic Service Sector may be on the same requisition, and therefore in the same message |
| 49 | Diagnostic Service Sector ID | ID | RE | [0..1] | HL70074 | Pre-adopted V2.8 HL7 Definition: This field is the section of the diagnostic service where the observation was performed. If the study was performed by an outside service, the identification of that service should be recorded here. Refer to Chapter 4, Section 4.5.3.24, HL7 Table 0074 - Diagnostic service section ID for valid entries. The laboratory Performing Department; used in conjunction with OM1-48 to determine if the requisition/specimen must be packaged / sent separately from other tests on this order. This function is commonly known as “Split Requisitions” within the laboratory industry. ACLA recommends referring to HL7 Table 0074 Diagnostic Service Sector ID. This is consistent with messaging in OBR-24 for orders and results. |
| 50 | Taxonomic Classification Code |  | O |  |  |  |
| 51 | Other Names | ST | RE | [0..*] |  | Pre-adopted V2.8 revision that depreciates OM1-8 in favor of this field List alll alias names for the test. HL7 Definition: This field contains any test aliases or synonyms for the name in the context of the ordering service. These are alternative names, not associated with a particular coding system, by which the battery, test, or observation (e.g., measurement, test, diagnostic study, treatment, etc.) is known to users of the system. Multiple names in this list are separated by repeat delimiters. |
| 52 | Replacement Producer’s Service/Test/Observation ID | CWE | C(RE/O) | [0..*] | 9999 | Condition Predicate: If MFE-1 = MDC Pre-adopted V2.8.1 Definition: This field is used in conjunction with a MFE-1 Record-Level Event Code ‘MDC’ defined as: “Deactivate: discontinue using record in master file, but do not delete from database”, in conjunction with an OM1 segment providing detail for the deactivate code. When the OM1-2 Producer’s Service/Test/Observation ID is being deactivated, use OM1-52 to indicate the producer’s replacement test or observationcode(s), as it was defined in the OM1-2 Producer’s Service/Test/Observation ID when the new/replacement code was added. |
| 53 | Prior Resuts Instructions | TX | RE | [0..*] |  | Pre-adopted V2.8.1 Definition: This field is used to indicate when the test in OM1-2 Producer’s Service/Test/Observation ID is ordered, prior results should accompany the order (OML^O21^OML_O21: Laboratory Order Message). For example, when ordering a Thyroid FNA (Fine Needle Aspiration) Evaluation, send the prior results of Ultrasound Findings. The instructions may also indicate a timeframe; for example, send the prior results of CBC in past 60 days. |
| 54 | Special Instructions | TX | RE | [0..*] |  | Pre-adopted V2.8.1 Definition: This field is used to convey special instructions for the test, for example, when ordering <insert test name> Please list drugs to be tested. |

Information below for reference only:

From HL7 Version 2.5.1, Chapter 2, Section 2.5.3.6 c) re: TBL #‘9999’

If the field is of data type CE, CF, CNE or CWE and one or more externally or locally defined tables may be used, the symbolic number 9999 will appear in the column. This is to indicate that table values are used, but no HL7/User-defined table can be allocated. The narrative may constrain which external tables can be used.

From Lab Orders Interface (LOI) V40)

### Keywords

The key words "MUST", "MUST NOT", "REQUIRED", "SHALL", "SHALL NOT", "SHOULD", "SHOULD NOT", "RECOMMENDED", "MAY", and "OPTIONAL" in this document are to be interpreted as described in RFC 2119. The following definitions are excerpted from the RFC:

MUST or the terms "REQUIRED" or "SHALL", mean that the definition is an absolute requirement of the specification.

MUST NOT or the phrase "SHALL NOT", mean that the definition is an absolute prohibition of the specification.

SHOULD or the adjective "RECOMMENDED", mean that there may exist valid reasons in particular circumstances to ignore a particular item, but the full implications must be understood and carefully weighed before choosing a different course.

SHOULD NOT or the phrase "NOT RECOMMENDED" mean that there may exist valid reasons in particular circumstances when the particular behavior is acceptable or even useful, but the full implications should be understood and the case carefully weighed before implementing any behavior described with this label.

MAY or the adjective "OPTIONAL", mean that an item is truly optional. One software supplier may choose to include the item to enable certain capabilities while another software supplier may omit the same item. In either case, the communication partner cannot be expected to either provide it (sender) or process it (receiver) without clear and voluntary agreement between the partners.

# Footnotes

Pending examples from LOI Vocabulary

Pending examples from LOI Vocabulary

http://www.ietf.org/rfc/rfc2119.txt

# Comments

Comment to explain logic for change request proposal/to be deleted:

This was defined as text vs. coded to allow flexibility.  For example, lab may ask for CBC, but provider has prior result of CBC with differential that could be provided; or lab asks for basic metabolic panel but provider has complete metabolic panel that could provide desired information.

Information only, excerpt  from LOI IG:

### Communication of OTHER CLINICAL INFORMATION OR Prior Results

Should the need arise to send results not obtained at the time of order entry or specimen collection and/or those requiring full results report structure such as culture/sensitivity reports, the Prior Results segment group in the message structure should be used.