## Slide 1: FHIR – DICOMweb use cases
F. Behlen
IIWG/WG20 Tuesday Q3

## Slide 2: Up-Front Conclusions/Biases
DICOM image display requires knowledge of the Standard
Viewers for DICOM images already exist
DIMSE and DICOMweb services already standardized
Some EHRs assume only one viewer. Others may allow multiple viewers. This is the more sustainable solution
For Display of DICOM data, FHIR is not needed
  DICOM vendors won’t implement it for nothing
  FHIR users won’t pay what it costs
Best use of FHIR will be for retrieval of DICOM-encapsulated documents and non-dicom images STOWed in DICOM

## Slide 3
EHR with accnum as exam context
RegEx
Viewer
AccNum
URL
PACS (or VNA)
DIMSE or DICOMweb
Traditional Picture
EHR with accnum as exam context
RegEx
Universal Viewer
AccNum
URL
PACS (or VNA)
DIMSE or DICOMweb
“Universal” Viewer
Other image storage
EHR with URL as exam context
DICOM 2D Viewer
URL
PACS (or VNA)
DIMSE or DICOMweb
Multiple viewers
Specialty Viewer
Picture viewer
Other image storage

## Slide 4: What about “informal” imaging?
Tablets
Mobile devices
General Market imaging & Video tools
Others who just don’t want to learn about DICOM
STOW avoids DIMSE, but still has DICOM content constraints
FHIR Resources may be a way to ease these constraints for informal imaging. But then we don’t need to spend a lot of time fleshing out the DICOM mapping for FHIR

## Slide 5: A Cautionary Tale
CDA R2 contains a set of graphical resources, regionOfInterest, for annotation of DICOM images
Developing these required a lot of time, negotiating with other TCs about such things as reconciling DICOM’s pixel-edge based coordinate system with (pixel-centered) row-column addressing in general imaging tools.
When it came to profiling the CDA Diagnostic Imaging Report, regionOfInterest was never used, instead using GSPS because we concluded that the rendering process was more safely handled by DICOM-aware rendering applications.

## Slide 6: Study Query
FHIR Imaging Study
Datatypes consistent with other FHIR resources
Documentation consistent with other FHIR resources
Implementation: Future. Business cases uncertain.
QIDO
Datataypes match DICOM
Documentation more DICOMy. Documentation for FHIR users would be needed
Implementation: Near future, near certain. Needed for VNA interfaces to viewers.

## Slide 7: Imaging Object Selection
Imaging Object Selection
Format consistent with FHIR
Better for communication of Study Metadata to EHR and EHR-based systems
Implementation: future
DICOM KOS Manifest
DICOM binary format
No format conversion if to be used to retrieve instances
Implementation: now, in XDS-I

## Slide 8: Workflow
FHIR Workflow
Potential to replace PACS-Driven Interpretation Workflow?
  Hazards of using PACS as report repository fro reading
  Additional EHR data useful
UPS-RS / MWL / MPPS
UPS-RS
  Easier reporting integration
MWL near-universal
  Supported by all modality devices
  SCP hosted by PACS
MPPS
  Supported by many CT & MR
  Little used, little tested
  Potential for use in high throughput protocolling

## Slide 9: RIS-Driven Workflow
RIS
PACS
Voice Rec / Reporting System
EHR
Launches
Orders
Modality
Images
Copy of Report
Report
Radiologist reads prior reports from RIS
MWL Query
DSS
Launches
Display

## Slide 10: PACS-Driven Workflow
RIS
PACS
EHR
Launches
Orders
Modality
Images
Copy of Report
Report
MWL Query
DSS
Copy of
Report
Voice Rec / Reporting System
Radiologist reads prior reports from copy on PACS

## Slide 11: Retrieve Instance
FHIR
FHIR may be important for retrieval of DICOM-encapsulated documents. EHR users do not expect to have to launch a DICOM viewer to view dicom-encapsulated documents.
WADO-RS
Is removal of DICOM “packaging” supported?