## Assessment GL_Use Case
USE CASE
The Assessement was on the Microsoft Health App.
This consists of the app on the phone (circled in red) and the dashboard view of that app.
The use case was picked for no other reason than that I'm familiar with this app - using it myself - and it has possible connection with an EHR
Remarks from the audience based on the draft guidelines and the trial assessment:
- minimal level of security: do we provide standards on that
- Way too many GL in it's current form: should be subdivided in such a way it's easy to see at a glance which of the GL are relevant for assessement of a particular app
- Why assessment on usability?

## Initial Assessment Qs
mHealth Assessement Guidelines: Initial information gathering & validation
Type of Assessment | Assessment question | Answer
Initial information gathering & validation | App name | Microsoft Health
| Supplier | Microsoft
| Developer (if different from (2)) | Microsoft
| Is the app CE certified as a medical device? | ?
| Is app primarily health or social care? | Health
Which of the following categories does the app fit into (indicate all that apply):
| Patient/carer decision aids & self-management tools | N
| Clinical decision support tools for diagnosis/treatment recommendation | N
| Behaviour change apps – simple self-management tools | Y
| Point-of-care diagnosis, monitoring or treatment aids | N
| Access & editing of EHRs | N
| Apps that control medical devices | N
| Communication apps – e.g. teleconsultation | N
| Apps providing documentation functionality &/or display a simple measurement | N
| Registries & vital events tracking – public health surveillance | N
| Simple calculators of on-personal information (e.g. BMI) | Y
| Generic medical calculators | N
| Please give brief functional description: | Healthier living by tracking sleep,steps, exercises. This is supported by the following sensors: constant heart monitoring, stepcounter, GPS, ...
Please provide academic references for the principles underlying the functioning of the app:
Who are the principal beneficiary/ies? (indicate all that apply)
| Citizen | Y
| Patient Novice | N
| Patient Expert | N
| Professional user | N
| Healthcare provider | N
| How much does it cost? (please put 0 if free) £ | 0
| Are there subsequent payments required – please describe cost & frequency | 0
| Who has funded the app? Please give details | Microsoft
| Is any advertising carried? If so is there a conflict of interest with the app purpose? | N
| How many users have tested the app? (if >one type of user, please give breakdown) | ?
| Is the app covered by the EU voluntary code on mHealth app privacy? | ?
| What platforms is the app available on? | IOS, Android, Windows
Please give a brief technical description:
What steps have been taken to validate the operation of the app on each platform?
What measures does the app take to provide security of user input and to authenticate the user?
Initial Test: Install/uninstall app on each available platform
For each platform:
Are the screens easy for the intended user to navigate?
Check basic operation: does it work as stated?
Note on B10: R. Frank Ploeg: If this is a medical app and none of the categories apply, terminate assessment

## Risk Assessment
mHealth Assessement Guidelines: Risk Assessment
Type of Assessment | Assessment question | Answer
Risk Assessment | Patient safety
Data protection/technological risk

## Usability Assessment
mHealth Assessement Guidelines: Usability Assessment
Type of Assessment | Assessment question | Answer
Risk Assessment | I think that I would like to use this system frequently
I found the system unnecessarily complex
I thought the system was easy to use
I think that I would need the support of a technical person to be able to use this system
I found the various functions in this system were well integrated
I thought there was too much inconsistency in this system
I would imagine that most people would learn to use this system very quickly
I found the system very cumbersome to use
I felt very confident using the system
I needed to learn a lot of things before I could get going with this system

## Assessment Questionnaire
mHealth Assessement Guidelines: Assessment Questionaire (Scrutiny Questions) |  |  |  | app = | Microsoft Health
Type of Assessment | Assessment question | Answer |  | Scoring |  |  | Score | Remarks
|  |  | Y/N | Low Risk | Medium Risk | High Risk
Is the app usable & accessible? | 1. Is the registration form easy to complete quickly? |  | Y
| 2. Is the registration form format simple and open (unrestricted characters, numbers, uppercase, etc.)? |  | Y
| 3. Do the registration fields incorporate support mechanisms to facilitate the process (pre-determined schedules, scroll down menu, descriptions, etc.)? |  | Y
| 4. Are all the separate elements of the app (text, images, icons, buttons, etc.) identifiable and easy to use? |  | Y
| 5. Are the colours of the elements appropriately contrasted with the background, (e.g. avoid similar red/green/brown colour intensities)? |  | Y
| 6. Is the text easily readable (size, colour, font) & understandable? |  | Y
| 7. Do controls, objects, icons and images have text tags to indicate their function or meaning? |  | N/A
| 8. If relevant, are there visual or vibration alternatives to warning sounds? |  | N/A
| 9. Does it accept & show all appropriate international characters correctly? |  | ?
| 10. Does accessing the service (sending an email confirmation, validation of data access, etc.) happen quickly? |  | Y
| 11. Does it fit within the standard interface of a typical mobile device? |  | Y
| 12. Are the steps to follow clear; do they make sense? |  | Y
13. Is there a navigation menu that provides direct access to all functionalities of the app?
14. Is navigation within the app easy & is it clear where in the app the user is?
15. Is it easy to go back to Home directly, and to return to the previous screen?
16. Can the user access any function in the app within three steps?
17. When inputting information, is it clear which fields remain to be completed, or are incorrect?
18. Is there access to self-help, video tutorials, guides and FAQ sections to help users?
19. Are there helplines (email, phone, contact form) readily available to resolve questions, problems or incidents?
20. Does the app developer provide appropriate guidance/training to healthcare professionals where necessary?
| 21. Do the required direct inputs (GPS, sensors, peripherals etc.) work properly? |  | ?
22. Do the separate functions incorporated in the app load quickly, within a reasonable time?
23. Is the function of each element of the app obvious (clickable, static, drop down, selector, video, etc.)?
24. Are these elements in (22) appropriately positioned & sized to be intuitive, readable and effective to use?
25. Are the visual icons understandable; do they clearly reflect their associated functionality?
26. Is the keyboard used suitable for each type of entry?
27. Where there is a short timeout for screens, is the reading time sufficient?
28. Where the same app is available on different platforms, is the usability experience similar?
Is the app desirable/appealing | 29. Is the visual identity of the logo in harmony with the visual pattern of the application?
30. Is colour coding uniform and aesthetically pleasing?
31. Are all the graphic elements (pictures, icons, buttons, etc.) used in the same way in all views, consistently?
32. Do the visual icons make the app attractive?
33. Are there any obvious usability problems? (e.g. a button on a device too small to be pressed)
34. Is audio-visual and textual content combined in a balanced & appealing way?
35. Is the colour scheme is balanced, not using any particular colour excessively?
36. Is the application properly localised for each country in which it is to be used; is the language/choice of languages appropriate, the currency correct etc.?
37. Is each language used correctly, with no spelling or grammatical errors?
38. Does it follow the interface user guidelines of the operating system?
39. Does the app avoid stereotypes & stigmatization?
Is the app credible | 40. Has the app been validated by an appropriate group of specialised professionals, health organisation or scientific society?
41. Has the app content been similarly validated?
42. Does it Indicate the sources of information of the contents listed?
43. Does it provide references to the scientific evidence used to ensure content quality?
44. Is there appropriate information provided about the authors of the app content to generate credibility and provide quality assurance?
45. Does it indicate how often the app’s content is reviewed/updated?
46. Does it indicate the last review date?
47. Does it notify changes/modifications made at the last update?
Is the app transparent | 48. Does it use simple and understandable language, with clear and short messages, adapted to the target user profile in terms of style and comprehension level?
49. Does it clearly identify who holds any personal data?
50. Does it clearly identify any organisations other than the supplier who have collaborated on the development of the app?
51. Is there concise information on the procedures used to select the app’s contents?
52. Does it clearly identify who is/are responsible for the contents of the app?
53. Is there sufficient information on the funding sources, promotion and sponsorship of the app?
54. Is the supplier’s cookie policy stated, and clear?
Is the app reliable | 55. If relevant, does the language change work and is adjusted properly to the interface and contents?
56. Is it able to properly handle problems with the device and errors of precision, hardware, or from an inadequate use?
57. Does it Inform the user if it requires a long boot up time (default < than 5 seconds)?
58. Dies it notify the user where there is a lengthy operation?
59. Does it allow the user to cancel lengthy operations?
60. Does it notify the user in the case of an external interruption (e.g. loss of network connectivity, database problem)?
61. Does it notify the user in the case of a low bandwidth network?
62. Does it indicate which mobile platform it will work with satisfactorily (according to the operating system, screen resolution, etc.)?
63. Does the screen refresh work properly on the device, including orientation changes, pop-up menus, pop-ups, etc.?
64. Is the information architecture of the application symmetrical, harmonious and proportionate?
65. If the user accepts an incoming call while the application is running, is it possible to return to the same point at the end of the call?
66. Does it behave appropriately in real conditions outside the laboratory?
Is the app technically stable | 67. Does it reject & warn of clearly erroneous data inputs (formats, ranges, etc.)?
68. Is it resilient to abrupt failure during use (locks, etc.)?
69. Is it resilient to changes in other apps, and to external interrupts (incoming call, receiving a message, etc.)?
70. Does it always only consume acceptable levels of resource: battery, CPU, memory, etc.?
71. Does it avoid ever using excessive network resources?
72. Does the app install and uninstall properly?
73. Does it performance remain at the same level in spite of prolonged usage?
74. When the application runs in the background does it do so without affecting other applications or system functions, unless it is specifically designed to do so?
75. Are the database resources appropriately shared between the application and the operating system?
76. Is the application speed acceptable for the purpose required without modifying the user experience or becoming uncontrollable?
77. Does it fail under high load or demand service?
78. Is it able to continue working correctly if repeatedly suspended and resumed?
79. Is it able to continue working correctly if network availability is intermittent?
80. Can it operate (albeit at reduced functionality) in airplane mode, or otherwise with loss of network connectivity?
81. If it requires regular interaction with the user, does it resume successfully from a suspended state at the agreed time/date of each diaried interaction?
Is the app safe | 82. Does it advise that the app is not intended to replace relevant professional services? 83. Does it warn of the possible risks if the app is misused?
84. Does it warn of possible adverse risks caused by the use of the app?
85. Does it provide appropriate guidance if it handles information/data about minors?
86. Does it provide appropriate guidance if it handles information/data about a dependent person who is not the user?
87. Are there persistent relevant warnings, until the user provides important information or accepts output information?
Is the app effective | 88. Does the promoter of the app offer good justification that the functions incorporated provide value to users, in terms of saving time/money, improving information or better health/care?
89. Is it clear who the targeted users are for the app?
90. Is it clear what the intended benefits are to those users?
91. Are the contents and functions offered of potential interest for the user profile to which the app is addressed?
92. Is it clear how those users will need to change the care pathway they participate in (if professional), or lifestyle, in order best to benefit from the app?
93. Is this change (in (4)) realistically achievable?
94. Does it evidence real benefit to users?
95. Has that benefit been evidenced acceptably?
Is the app private & secure | 96. Is it clear if user registration is necessary for full operation?
97. Is it clear to the user what user data is collected by the app and is specific consent to do this requested?
98. Is it clear to the user why consent is being requested for the data that is being collected, by whom and for what purpose?
99. Is it clear to the user whether the data collector will do anything else with the user’s personally identifiable data?
100. Is it clear to the user whether the data collector will do anything else with the user’s data appropriately anonymised?
101. If third parties have access to data, is this in an acceptable manner, with user approval only?
102. Does it describe the app’s maintenance policy for storage & deletion of data provided by the user?
103. Are user data authentication processes acceptable?
104. Does it describe the rights of access, rectification, cancellation or removal of personal data?
105. Can it be confirmed that passwords are not stored directly on the device?
106. Does it manage access to the user’s personal information appropriately, with user approval?
107. Are the permissions requested to access the different services of the device clearly described?
108. Are the communication channels used appropriately encrypted?
109. Are the mechanisms of authorisation and authentication adequate?
110. Is the app source code inaccessible & unalterable by the user?
111. Does the app comply with the GDPR principle of data minimisation?
112. Does the app comply with the GDPR principle of data protection by default?
113. Does the app comply with the GDPR principle of data protection by design?
| 114. If the app is able to write personal information to a patient’s electronic health record does it comply fully with the EHR provider’s interoperability and security requirements and does it request specific consent from the EHR owner to do this ? | [6 empty] | The EHR does not define the standards of interoperability. International accepted and accredited standards should be used. In the Netherlands a sort of generic broker system is under development - MedMij - that uses widely acknowledged standards like FHIR and SNOMED CT for vocabulairy binding.
Note on E3: R. Frank Ploeg: How do we determine whether an app falls in one of the categories?

## Names
Scoring Indicator | Y_N
Mandatory | Y
Desirable | N
Additional | ?
N/A | N/A